Residues, degradation behavior of cyproconazole in Sichuan pepper and its dietary risk assessment

Feng Xu†,*, Wenhao Ren†, Duo Xu†, Ying Qu†, Juanfei Qi†, Xiaobo Yan†,

† Analysis Center, Residue laboratory, Jiangsu Evertest Co., Ltd, Nanjing 210046, China

* Corresponding author: Feng Xu

E-mail address: jset_sci@163.com

Supporting information

Figure S1. Typical UHPLC-MS/MS MRM chromatograms of cyproconazole: (a) blank fresh Sichuan pepper sample; (b) blank dried Sichuan pepper sample; (c) lowest fresh Sichuan pepper matrix-matched standard solution (0.002 mg/kg); (d) lowest dried Sichuan pepper matrix-matched standard solution (0.002 mg/kg); (e) spiked levels at 0.02 mg/kg in the fresh Sichuan pepper sample; (f) spiked levels at 0.02 mg/kg in the dried Sichuan pepper sample.

Table S1. The matrix-matched calibration, solvent-matched calibration (0.002-1 mg L-1) and recoveries (n = 15, percent), RSDr and RSDR of cyproconazole in the different Sichuan pepper matrices at three spiked levels.

Table S2. Terminal residues of cyproconazole in Sichuan pepper samples with different dosage, application times, and pre-harvest intervals (PHI).

b

a

c

d

f

e

(Fig. S1)

Table S1. The matrix-matched calibration, solvent-matched calibration (0.002-1 mg L-1) and recoveries (n = 15, percent), RSDr and RSDR of cyproconazole in the different Sichuan pepper matrices at three spiked levels.

| Matrices | Regression equation | R2 | Matrix effect (%) | LODs | Spiked levels (mg kg-1) | Intra-day experiment |  | Inter-day experiment |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Recovery (%) | RSDr (%) | Recovery (%) | RSDR (%) |
| Fresh Sichuan pepper | y = 48993.1x+120.341 | 0.998076 | -74.0 | 0.001 | 0.02 | 96.2 | 4.4 | 98.7 | 6.7 |
|  |  |  |  |  | 0.2 | 99.5 | 2.6 | 94.6 | 5.9 |
|  |  |  |  |  | 1 | 101.7 | 3.4 | 96.1 | 4.1 |
| Dried Sichuan pepper | y = 49611.8x+127.495 | 0.998823 | -73.6 | 0.001 | 0.02 | 98.7 | 5.3 | 94.8 | 3.8 |
|  |  |  |  |  | 0.2 | 99.6 | 4.9 | 98.5 | 6.3 |
|  |  |  |  |  | 1 | 104.5 | 7.6 | 99.3 | 5.7 |
| Acetonitrile | y = 188202x+65.2379 | 0.999679 |  |  |  |  |  |  |  |

Table S2. Terminal residues of cyproconazole in Sichuan pepper samples with different dosage, application times, and pre-harvest intervals (PHI).

| Location | Dosage (g a.i./hm2) | Application times | PHI (d) | Fresh Sichuan pepper |  |  | Dried Sichuan pepper |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1 | 2 | Average | 1 | 2 | Average |
| Mengzhou, Henan | 133 | 2 | 28 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  |  |  | 35 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  |  | 3 | 28 | 0.034 | 0.031 | 0.033 | 0.027 | 0.030 | 0.029 |
|  |  |  | 35 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  | 200 | 2 | 28 | 0.085 | 0.087 | 0.086 | 0.052 | 0.055 | 0.054 |
|  |  |  | 35 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  |  | 3 | 28 | 0.15 | 0.14 | 0.13 | 0.077 | 0.079 | 0.078 |
|  |  |  | 35 | 0.047 | 0.044 | 0.046 | < LOQ | < LOQ | < LOQ |
| Xuzhou, Jiangsu | 133 | 2 | 28 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  |  |  | 35 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  |  | 3 | 28 | 0.049 | 0.047 | 0.048 | 0.028 | 0.026 | 0.027 |
|  |  |  | 35 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  | 200 | 2 | 28 | 0.10 | 0.093 | 0.097 | 0.063 | 0.067 | 0.065 |
|  |  |  | 35 | < LOQ | < LOQ | < LOQ | 0.026 | 0.027 | 0.027 |
|  |  | 3 | 28 | 0.13 | 0.15 | 0.14 | 0.069 | 0.072 | 0.071 |
|  |  |  | 35 | 0.058 | 0.057 | 0.058 | < LOQ | < LOQ | < LOQ |
| Chendu, Sichuan | 133 | 2 | 28 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  |  |  | 35 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  |  | 3 | 28 | 0.068 | 0.064 | 0.066 | 0.051 | 0.054 | 0.053 |
|  |  |  | 35 | 0.031 | 0.028 | 0.030 | < LOQ | < LOQ | < LOQ |
|  | 200 | 2 | 28 | 0.074 | 0.079 | 0.077 | 0.044 | 0.043 | 0.044 |
|  |  |  | 35 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  |  | 3 | 28 | 0.16 | 0.17 | 0.17 | 0.094 | 0.096 | 0.095 |
|  |  |  | 35 | 0.052 | 0.056 | 0.054 | < LOQ | < LOQ | < LOQ |
| Qianxinan, Guizhou | 133 | 2 | 28 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  |  |  | 35 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  |  | 3 | 28 | 0.087 | 0.086 | 0.087 | 0.062 | 0.066 | 0.064 |
|  |  |  | 35 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  | 200 | 2 | 28 | 0.074 | 0.071 | 0.073 | 0.038 | 0.040 | 0.039 |
|  |  |  | 35 | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ | < LOQ |
|  |  | 3 | 28 | 0.16 | 0.18 | 0.17 | 0.11 | 0.098 | 0.10 |
|  |  |  | 35 | 0.055 | 0.059 | 0.057 | < LOQ | < LOQ | < LOQ |