Highlights

- An improved actuator surface model is developed based on the three-dimensional plate-element method.

- The shear flow and tower shadow effects on the fluid-solid interaction are explored.

- The improved actuator surface model is more precise and efficient in predicting aerodynamic responses.

- The shear flow reduces average thrust, power output, blade tip displacement, and maximum strain.

- Nearer blade root, larger pressure distribution difference, and stronger tower interference effect.