Supplement Information

- Experimental procedures:

  - A volume of 2 ml of acetonitrile was introduced to induce protein precipitation in a 1 ml urine sample, which was subsequently subjected to centrifugation at a speed of 12000 revolutions per minute for a duration of 3 minutes. The resulting supernatant was combined with an acetic acid-sodium acetate buffer, and the pH level was adjusted to 5.4.

  - To specifically degrade Glucuronic acid or sulfonated substances present in the urine, a quantity of 5 μl of Β-glucuronidase aryl sulphate esterase was added.

  - Additionally, 2.5 mg of Vitamin C was included, and the mixture was incubated overnight at room temperature to accomplish enzymatic hydrolysis.

  - Following enzymolysis, the sample underwent nitrogen drying and subsequent redissolution in a 100 μL acetonitrile solution supplemented with 0.1% formic acid.

  - Ultimately, the analyte was filtered using a 0.22 μm filter membrane.

  - A mixed standard working solution was prepared by diluting the mixture with the urine matrix diluent, and an appropriate amount of standard solution (1 μg/ml) was separated from it. The mixed standards (50 ng/ml, 20 ng/ml, 10 ng/ml, 2 ng/ml, 0.5 ng/ml, 0.1 ng/ml) were obtained through this dilution process.

  - In order to ensure quality control during the determination process, a mixed standard of either 10 ng/ml or 0.5 ng/ml was added to every 20 samples.

- Ultra-performance liquid chromatography-tandem mass spectrometry:

    - Test conditions

    - Chromatographic conditions：

The mobile phase: Phase A, an aqueous solution containing 0.1% formic acid.

Phase B, an acetonitrile solution containing 0.1% formic acid.

The chromatographic column: a Shim-pack XR-ODS III with dimensions of 2.0 mm inner diameter and 50 mm length, and a particle size of 1.6 μm (SHIMADZU-GL; 228-59922-91-sc). A 5 μl injection was made, and elution was performed using a gradient elution method.

Elution: Gradient Elution

Gradient procedure:

| Time（min） | Phase A（%） | Phase B（%） |
| --- | --- | --- |
| 2.00 | 35 | 65 |
| 2.01 | 10 | 90 |
| 2.30 | 10 | 90 |
| 2.31 | 60 | 40 |
| 4.00 | Stop |  |

    - Mass spectrometry conditions：

| Ion Source: ESI, positive ion | Scan mode: MRM | Atomization gas: nitrogen, 3.0 L/min |
| --- | --- | --- |
| Dry gas: nitrogen, 15.0 L/min | DL Temperature: 250 °C | Heating module temperature: 400 °C |

Figure S1. The urinary residual level of some EEDs was positively correlated with the pathogenesis of HSPN. (a) BPA; (b) Benzo(a)pyrene; (c) Zearalenone and (d) Lead were positively correlated with the incidence of HSPN.