Analytical method validation and quantitation of 3-fucosyllactose in Korean maternal milk by mass spectrometry

My Tuyen T. Nguyen1,2, Nari Seo3, Khanh Hong Thi Hoang1, Toan Nguyen Song Dinh1, Phu Cuong Nguyen4, Yong-Ki Kim5, Ji A Jung5, Jung-Min Kim6, Young-Ha Song6, Hyun Joo An3, Jaehan Kim1#, Jong-Won Yoon5#

Supplementary table

Supplementary Table 1. Linearity, range, and coefficient of determination

| Calibration curve | r2 | Range (ppb) | Equation number |
| --- | --- | --- | --- |
| y = 63.421x + 49.216 | 0.9998 | 2-500 | (1) |
| y = 80.57x - 13,764.00 | 0.9989 | 500-5,000 | (2) |

where: y = peak area, x = concentration of the analyte (ng/mL), a = slope of the calibration curve, b = intercept of the calibration curve

Supplementary Table 2. Backward calculated from the standard curve and relative error (RE %) which applies the equation (1)

| Nominal concentration (ppb) | Measured concentration (ppb) |  |  | RE (%) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Run 1 | Run 2 | Run 3 | Run 1 | Run 2 | Run 3 |
| 2.0 | 1.7 | 1.8 | 2.0 | -14.0 | -9.9 | 2.4 |
| 5.0 | 4.5 | 4.4 | 4.5 | -10.7 | -12.5 | -9.5 |
| 10.0 | 10.0 | 9.3 | 9.6 | -0.1 | -6.8 | -4.1 |
| 50.0 | 54.0 | 49.9 | 52.0 | 8.0 | -0.3 | 4.0 |
| 100.0 | 96.5 | 93.2 | 94.8 | -3.5 | -6.8 | -5.2 |
| 500.0 | 500.3 | 461.5 | 502.8 | 0.1 | -7.7 | 0.6 |

Supplementary Table 3. Backward calculated from the standard curve and relative error (RE %) which apply the equation (2)

| Nominal concentration (ppb) | Measured concentration (ppb) |  |  | RE (%) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Run 1 | Run 2 | Run 3 | Run 1 | Run 2 | Run 3 |
| 500 | 565.3 | 534.7 | 567.2 | 13.1 | 6.9 | 13.4 |
| 1,000 | 993.3 | 911.6 | 918.2 | -0.7 | -8.8 | -8.2 |
| 2,000 | 1,911.1 | 1,901.5 | 1,906.5 | -4.4 | -4.9 | -4.7 |
| 5,000 | 5,030.4 | 4,710.8 | 4,720.6 | 0.6 | -5.8 | -5.6 |

Supplementary Table 4. Limit of detection and quantitation

| Replication | Peak area |
| --- | --- |
| 1 | 651.4 |
| 2 | 717.5 |
| 3 | 603.4 |
| 4 | 635.0 |
| 5 | 657.3 |
| 6 | 678.8 |
| 7 | 660.8 |
| SD | 32.8 |
| Slope | 63.4 |
| LOD (ng/mL) | 1.6 |
| LOQ (ng/mL) | 5.2 |

Supplementary Table 5. Intra-/Interday precision (%CV) and accuracy (%RE, relative error) of 3-FL analysis by LC/MS/MS

| Concentration (ppm) |  | 0.1 | 1.0 | 5.0 |
| --- | --- | --- | --- | --- |
| Intraday 1 | Mean | 95.5 | 997.3 | 5,123.9 |
|  | SD | 2.2 | 6.2 | 43.7 |
|  | CV (%) | 2.3 | 0.6 | 0.9 |
|  | RE (%) | -4.5 | -0.3 | 2.5 |
| Intraday 2 | Mean | 99.7 | 1,012.8 | 5,223.2 |
|  | SD | 2.1 | 2.8 | 46.9 |
|  | CV (%) | 2.1 | 0.3 | 0.9 |
|  | RE (%) | -0.3 | 1.3 | 4.5 |
| Intraday 3 | Mean | 109.8 | 1,017.1 | 5,366.7 |
|  | SD | 1.4 | 4.5 | 81.3 |
|  | CV (%) | 1.3 | 0.4 | 1.5 |
|  | RE (%) | 9.8 | 1.7 | 7.3 |
| Interday | Mean | 101.7 | 1,009.1 | 5,237.9 |
|  | SD | 6.3 | 9.7 | 116.2 |
|  | CV (%) | 6.2 | 1.0 | 2.2 |
|  | RE (%) | 1.7 | 0.9 | 4.8 |

Supplementary Table 6. The matrix effect on 3-FL quantitation was expressed as a percent variation from the concentration obtained from a standard injection

| Replicate | Concentration (ppm) |  |
| --- | --- | --- |
|  | 0.1 | 2.0 |
| 1 | -6.5 | -7.4 |
| 2 | -7.9 | -4.1 |
| 3 | -10.6 | -8.7 |
| 4 | -9.6 | -10.0 |
| 5 | -9.4 | -10.8 |
| Percent variation (%) | -8.8 | -8.2 |
| SD | 1.3 | 2.2 |

Percent variation=Cspiked sample-Cstandard Cspiked sample X 100 (%)

Supplementary Table 7 The recovery and the reproducibility of 3-FL sample preparation.

| Spiked | Recovery |  |  | Mean (%) | SD | CV (%) |
| --- | --- | --- | --- | --- | --- | --- |
| concentration (ppb) | Repeat 1 | Repeat 2 | Repeat 3 |  |  |  |
| 25 | 102.1 | 99.9 | 101.0 | 101.0 | 0.9 | 0.9 |
| 250 | 95.3 | 99.3 | 92.3 | 95.6 | 2.9 | 3.0 |

Supplementary Table 8. Stability of 3-FL in human milk during storage in the auto-sampler (4°C, 24 hour) and after long-term storage (-60°C for 4 weeks)

| Concentration (ppm) | Auto-sampler (24 hours) |  | Storage (-60oC, 4 weeks) |  |
| --- | --- | --- | --- | --- |
|  | 7.0 | 137.5 | 7.0 | 137.5 |
| Average | 6.9 | 137.5 | 6.8 | 140.2 |
| SD | 0.7 | 1.4 | 0.3 | 1.4 |
| CV (%) | 9.8 | 1.0 | 4.2 | 1.0 |