Introduction

Drosophila larval NMJ boutons are scattered in the shallow layers of muscle, and the type I boutons in the 6th/7th and 4th muscles are very suitable for the analysis of quantity and morphology by laser scanning confocal microscopy. However, the diffuse NMJ boutons are not easy to observe via TEM, in which the visual range is extremely narrow. Therefore, due to their quantity, most studies consider the analysis of the ultrastructure of type I boutons in the 6th/7th muscles at segments A2 or A3 for an efficient strategy.

The classic Drosophila experimental guidelines recommend positioning type I boutons with half-thin slices and ultrathin sections. Because type Ib boutons are 3-5 μm thick (Atwood et al., 1993; Jia et al., 1993), it is easy to lose part of the type Ib bouton after half-thin slice positioning, and it is not easy to observe the complete type Ib bouton in TEM. Therefore, data from more than 8 complete type Ib boutons in 3 animals should be considered valuable; notably, the total number of type Ib boutons in the 6th/7th muscles at segment A2 or A3 was greater than 40. Type I boutons are distributed along the length of the muscle, and longitudinal sections have been widely used for reducing the workload, except for the few early studies that used crosscutting (Budnik et al., 1990).

However, the fixed muscular sample of Drosophila larvae was very thin and easily curled in the process of alcohol dehydration, which is more unfavorable for the positioning of NMJ bouton. Some papers used the shortened samples to reduce curl (Banerjee et al.,2017).

. Here, we report a sample processing procedure to obtain a complete and smooth muscular sample for easy positioning of NMJ bouton.

Materials and methods

The materials for sample preparation via dehydration and embedding include the following: flat-bottomed glass test tubes of 2.5 cm in diameter, 18 mesh copper or stainless steel net, bottle stopper or sponge plug with a flat test tube, and polyvinyl film (0.2 mm thick).

Dissection, fixation and pretreatment of the samples

Dissection and fixation were based on standard procedures. In brief, the wandering late-3rd-instar larvae were dissected with standard techniques in Jan solution (128 mM NaCl, 2 mM KCl, 4 mM MgCl2, 35 mM sucrose, 5 mM HEPES, pH 7.4) and fixed at 4°C overnight in a mixture of 2% glutaraldehyde and 2% formaldehyde in 0.1 M sodium cacodylate buffer (pH 7.4), followed by several rinses with cacodylate buffer (Fig. 1A). The samples were then postfixed for 2 hours with 1% OsO4 in cacodylate buffer and rinsed twice with distilled water. The preparations were stained for 2 hours with 2% saturated uranyl acetate in distilled water and rinsed twice with distilled water.

Transfer, dehydration and infiltration

The following procedure was used for epoxy resin embedding. A wire net was placed in the bottom of a flat-bottomed glass test tube, samples for TEM were transferred onto the wire net with the muscle side up, and then the wire net was covered to prevent the samples from curling (Fig. 1B). The specimens were dehydrated in an ethanol series (50%, 70%, 85%, 95%, 100%, 100%; 20 min per concentration, at 4°C) and washed twice with propylene oxide (5 min each time, at room temperature). The samples were subsequently treated with mixtures of propylene oxide and epoxy resin (1:1, 1 hour; 1:2, 1 hour) and then with pure epoxy resin twice for 2 hours at room temperature (Fig. 1C).

The procedure for Lowicryl K4M resin embedding is as follows. Pre-embedding specimens for immunogold electron microscopy and other samples for TEM were dehydrated in an ethanol series (50% (1 hour, -20°C), 70% (1 hour, -35°C), 85% (1 hour, -35°C), 95% (1 hour, -35°C), and 100% (1 hour, -35°C), treated with a mixture of ethanol and Lowicryl K4M resin (1:1, 1 hour, -35°C; 1:2, 1 hour, -35°C), and then treated with Lowicryl K4M resin twice for 24 hours at -35°C.

Embedding and polymerizing of samples

The samples for epoxy resin embedding were prepared as follows. Polyvinyl film (approximately 0.2 mm thick) was cut into a large rectangle of approximately 5 cm×5 cm and a small, hollow rectangular spacer of approximately 2 cm×2 cm and 0.5 mm thick was cut for the bracket. The spacer was then adhered to the large rectangle with A/B glue (Fig. 1D), a drop of epoxy resin was placed inside the spacer, and the sample was placed on the large rectangle with the muscle side up (Fig. 1E). Next, several drops of epoxy resin were placed on the sample, and the spacer and the sample were then covered with polyvinyl film (approximately 3 cm×3 cm, 0.2 mm thick) (Fig. 1F). Then, the sample was polymerized at 37°C (24 hours), 42°C (24 hours) and 60°C (24 hours).

The samples for Lowicryl K4M resin were polymerized in UV light with 365 nm wavelength for 3 days at -35°C, followed by polymerization for 3 days at 25°C.

Trimming and thin sectioning NMJ boutons in the 6th/7th muscles

After removing the large rectangle, the spacer, and the polyvinyl cover, the polymerized sample was a thin slice of approximately 0.5 mm thick, and all the muscles could be observed and located under a light microscope.

Next, an isosceles trapezoid was carved on the sample with a sharp blade (not scissors), retaining the topline including the A2-A3 segment and 6th/7th muscles, the topline near the 13th muscle, and the baseline near the 9th muscle, approximately 5-8 mm (Fig. 1G). The isosceles trapezoid was then removed from the remainder of the sample and placed between a cylinder of cured resin along the baseline, and approximately 1/3 of the trapezoid was adhered with sticky A/B glue (Fig. 1H-I).

The locations of the A3 segment (or A2 segment) and 6th/7th muscles (Fig. 2A-E) were confirmed, and the tangent plane was maintained parallel to the 6th muscles (Fig. 2E). Then, 1/5 of the sample was cut away along the two sides of the A3 segment, most of the 6th muscle was removed, and 1/3 of the width of the 7th muscle was retained (Fig. 2D); thus, the ultrathin slice would start at the 6th muscle.

The excess resin was progressively removed to further reduce the workload (Fig. 2F-J), and the cuticle layer in which there were no NMJ boutons was cut away (Fig. 2K) but the outsides of muscles were not cut (Fig. 2K). Serial sectioning of a total of 80 microns was performed using a diamond knife on a Leica UC7 ultrathin microtome; each slice was 90 nm thick, and 30-40 slices were gathered into a group and attached to a grid.

Staining and observation

The grids were poststained with 2% saturated uranyl acetate in 50% ethanol and 1% lead citrate (pH 12) and examined under a transmission electron microscope, Hitachi H-7650.

Result

The body muscles of the larvae were embedded into a thin sheet with Lowicryl K4M resin or epoxy resin, and it was easy to accurately locate and trim the body muscles under light microscopy and stereoscopy (Figs. 1-2).

The NMJ boutons were distributed in a narrow area of approximately 200 μm × 80 μm between the 6th and 7th muscles (Fig. 2A), so slitting along the muscle could greatly reduce the workload compared with crosscutting (Atwood et al., 1993; Jia et al., 1993). The samples were dark brown after fixation with OsO4, and the Lowicryl K4M resin was transparent (Fig. 2B), while the epoxy resin, including Spurr resin (data not shown) and Epon812, was canary yellow (Fig. 2C). The body muscles were sharper and easier to observe with Lowicryl K4M resin at -35°C (Fig. 2B) than with epoxy resin (Fig. 2C). However, it was easier to perform the procedures with epoxy resin at room temperature, and epoxy resin also permitted precise positioning (Fig. 2C-K).

Drosophila larval NMJs were classified as type I, type II, and type III boutons according to their size, SSR characteristics, and synaptic vesicle composition (Atwood et al., 1993; Jia et al., 1993). Using the sheet embedding procedure, it was easy to search for type I boutons in the 6th/7th muscles (Fig. 3A-D) and type II (Fig. 3E) and type III (Fig. 3F) boutons in the 12th or 13th muscles (Atwood et al., 1993; Jia et al., 1993) in TEM, according to the distribution pattern of different NMJ boutons under light microscopy (Fig. 2A-D).

Discussion

The sheet method is helpful for locating muscles and NMJ boutons in Drosophila

The sheet method was helpful for locating muscles and NMJ boutons in Drosophila larvae (Banerjee et al.,2017). The larval specimens often curl during the dehydration process of TEM, which would seriously interfere with the positioning of the NMJ boutons and would increase the number of ultrathin sections necessary.

In our method, the larvae specimens remained flattened between pieces of copper mesh in a flat-bottomed test tube throughout the dehydration process, whether in ethanol or acetone. With our method, it was easy to clearly position the different muscles and to remove as much of the excess resin as possible under light microscopy. The type Ib boutons were distributed over approximately 80 μm × 200 μm, which is a very large range for ultrathin sections and TEM. Furthermore, this method could significantly reduce the abrasion by diamond knives, the use of copper mesh, and the application of TEM by removing both ends of the 6th/7th muscles, the stratum corneum and its adjacent muscles.

Moreover, this method could be extended to the electron microscopy procedure of stained brain slices or other thin tissue.

References

Atwood HL, Govind CK, Wu CF: Differential ultrastructure of synaptic terminals on ventral longitudinal abdominal muscles in Drosophila larvae. J Neurobiol 1993, 24(8):1008-1024.

Budnik V, Zhong Y, Wu CF: Morphological plasticity of motor axons in Drosophila mutants with altered excitability. J Neurosci 1990, 10(11):3754-3768.

Jia XX, Gorczyca M, Budnik V: Ultrastructure of neuromuscular junctions in Drosophila: comparison of wild type and mutants with increased excitability. J Neurobiol 1993, 24(8):1025-1044.

Banerjee S, Venkatesan A, Bhat MA: Neurexin, Neuroligin and Wishful Thinking coordinate synaptic cytoarchitecture and growth at neuromuscular junctions. Mol Cell Neurosci 2017, 78:9-24.