Supplementary Information

Application of Machine Learning Algorithms for Accurate Determination of Bilirubin Level on Medically Relevant Tissue Phantom Images

Yijia Yuan1, 2, Jiayao Huang1, Jiachen Yu1, 3, Justin Kok Soon Tan1, 2, Kevin Ziyang Chng4, Jiun Lee5, Sangho Kim1, 2, *

1Department of Biomedical Engineering, National University of Singapore (NUS), 119276, Singapore
2N.1 Institute for Health, National University of Singapore (NUS), 119276, Singapore

3College of Biomedical Engineering and Instrument, Zhejiang University (ZJU), 310027, China

4AI Singapore, 117602, Singapore

5Department of Neonatology, National University Children's Medical Institute, National University Hospital, 119228, Singapore

*Corresponding author

Sangho Kim, PhD

Department of Biomedical Engineering, National University of Singapore

9 Engineering Drive 1, Singapore 117575, Block E2 #03-20

Singapore 117583

Phone: 65-6516 6713

Fax: 65-6872 3069

Email: bieks@nus.edu.sg

Supplementary Figure 1: Spectral Characterization of Different Illumination Tones. Different illumination tones (white, off-white and yellow) were tested, white illumination has demonstrated the highest peak at 449nm, while the off-white illumination and yellow illumination peak at 451nm and 457nm respectively.

Supplementary Figure 2: Scatter plot of the pixel value of bilirubin concentrations in PDMS-TiO2 tissue phantom samples with different image capture distances. No statistically significant difference was observed in images with varying capture distances (P > 0.05).