Supplemental Tables

TABLE S1. MRI Acquisition Parameters

| Vendors | SIGNA Architect |  | Ingenia Elition |  |  |
| --- | --- | --- | --- | --- | --- |
| Techniques | Ultrafast | Conventional |  | Ultrafast | Conventional |
| Sequences | 3D T1 GE with DIXON and a view-sharing technique (DISCO) | 3D T1 GE |  | mDixon XD FFE | 3D T1 FFE |
| TR/TE (msec) | 5.1/1.7 | 4.4/1.7 |  | 4.2/1.5 | 5.2/2.0 |
| Flip angle (°) | 10 | 10 |  | 12 | 12 |
| Field of view (mm) | 340 x 340 | 340 x 340 |  | 320 x 320 | 320 x 320 |
| Spatial resolution (mm) | 1.6 x 1.6 x 1.6 | 1.1 x 1.2 x 1.6 |  | 1.1 × 1.2 × 1.5 | 1.0 × 1.0 × 1.5 |
| Matrix size | 212 x 212 | 320 x 288 |  | 280 x 264 | 320 x 320 |
| Temporal resolution (sec) | 6.7 | 80 |  | 4 | 92.5 |
| Number of phases | 1 pre- and 9 post-contrast | 1 pre- and 6 post-contrast |  | 1 pre- and 14 post-contrast | 1 pre- and 6 post-contrast |
| Fat suppression | Dixon | Dixon |  | Modified Dixon | Modified Dixon |

Preconstrast ultrafast DCE-MRI needed 4 or 20 seconds, and subsequent post-contrast series took 4.0 or 6.7 seconds per each phase. DISCO, Differential Subsampling with Cartesian Ordering; GE, gradient echo; FFE, fast field echo

TABLE S2. Prediction of pCR and Residual Tumor Size on the Conventional DCE-MRI

|  | Diagnostic performance (AUC) | Residual invasive tumor (ICC) | Residual total tumor size (ICC) |
| --- | --- | --- | --- |
| The first post-contrast phase | 0.884 | 0.293 | 0.747 |
| The last post-contrast phase | 0.871 | 0.389 | 0.762 |
| MIP image | 0.896 | 0.397 | 0.763 |

Data are area under the receiver operative characteristics curve (AUC) or intraclass correlation coefficients (ICC). pCR, pathologic complete response; DCE, dynamic contrast enhanced; MIP, maximum intensity projection