Supplementary File A. Immunolabelling and microscopy parameters.

Supplementary Table A1. Immunofluorescence staining parameters, including specific details on each experiment’s incubation steps and antibodies used. All primary antibody incubations were performed at 4°C. All secondary antibody incubations were performed at RT for 3 hours, and streptavidin incubations at RT for 2 hours. BDNF: brain-derived neurotrophic factor; CD206: cluster of differentiation 206 (mannose receptor); GFAP: glial fibrillary acidic protein; IBA1: ionised calcium binding adaptor molecule 1; IL-1B: interleukin 1-beta; NeuN: mAb A60 (neuronal nuclei); pp38 MAPK: phosphorylated p38 mitogen-activated protein kinase.

| Experiment | First Primary Antibody Incubation | First Secondary Antibody Incubation | Tertiary Streptavidin Amplification | Second Primary Antibody Incubation | Second Secondary Antibody Incubation |
| --- | --- | --- | --- | --- | --- |
| FosB-NeuN | 1:300 rabbit anti-rat FosB/ΔFosB [Invitrogen MA5-15056, RRID:AB_10983364] and 1:500 mouse anti-rat NeuN [Millipore MAB377, RRID:AB_2298772], 3 nights (~72 hours) | 1:100 donkey anti-rabbit Fab fragment-biotin [Jackson 711-067-003, RRID:AB_2340595] and 1:200 donkey anti-mouse Fab fragment-Alexa Fluor 647 [Jackson 715-607-003, RRID:AB_2340867] | 1:500 streptavidin-Alexa Fluor 568 [Invitrogen S11226] | n/a | n/a |
| pp38 MAPK-IBA1-NeuN | 1:300 rabbit anti-rat phospho-p38 MAPK [Cell Signalling Technologies, #4511, RRID:AB_2139682], 3 nights (~72 hours) | 1:100 donkey anti-rabbit Fab fragment-biotin [Jackson 711-067-003, RRID:AB_2340595] | 1:500 streptavidin-Alexa Fluor 568 [Invitrogen S11226] | 1:1000 rabbit anti-rat IBA1 [Abcam ab178846, RRID:AB_2636859] and 1:500 mouse anti-rat NeuN [Millipore MAB377, RRID:AB_2298772], 2 nights (~48 hours) | 1:200 donkey anti-rabbit IgG-Alexa Fluor 488 [Jackson 711-545-152, RRID:AB_2313584] and 1:200 donkey anti-mouse Fab fragment-Alexa Fluor 647 [Jackson 715-607-003, RRID:AB_2340867] |
| IL-1B-IBA1-NeuN | 1:400 rabbit anti-rat IL-1B [Abcam ab9722, RRID:AB_308765], 3 nights (~72 hours) | 1:100 donkey anti-rabbit Fab fragment-Alexa Fluor 488 [Jackson 711-547-003, RRID:AB_2340620] | n/a | 1:1000 rabbit anti-rat IBA1 [Abcam ab178846, RRID:AB_2636859] and 1:500 mouse anti-rat NeuN [Millipore MAB377, RRID:AB_2298772], 2 nights (~48 hours) | 1:500 donkey anti-rabbit IgG-Alexa Fluor 568 [Invitrogen A10042, RRID:AB_2534017] and 1:200 donkey anti-mouse Fab fragment-Alexa Fluor 647 [Jackson 715-607-003, RRID:AB_2340867] |
| CD206-IBA1-NeuN | 1:750 rabbit anti-rat CD206 [Abcam ab64693, RRID:AB_1523910], 1 night (~24 hours) | 1:100 donkey anti-rabbit Fab fragment-Alexa Fluor 488 [Jackson 711-547-003, RRID:AB_2340620] | n/a | 1:1000 rabbit anti-rat IBA1 [Abcam ab178846, RRID:AB_2636859] and 1:500 mouse anti-rat NeuN [Millipore MAB377, RRID:AB_2298772], 2 nights (~48 hours) | 1:500 donkey anti-rabbit IgG-Alexa Fluor 568 [Invitrogen A10042, RRID:AB_2534017] and 1:200 donkey anti-mouse Fab fragment-Alexa Fluor 647 [Jackson 715-607-003, RRID:AB_2340867] |
| BDNF-GFAP-NeuN | 1:300 rabbit anti-rat BDNF [Abcam ab108319 RRID:AB_10862052], 2 nights (~48hrs) | 1:100 donkey anti-rabbit Fab fragment-Alexa Fluor 488 [Jackson 711-547-003, RRID:AB_2340620] | n/a | 1:2000 rabbit anti-rat GFAP [Abcam ab7260, RRID:AB_305808] and 1:500 mouse anti-rat NeuN [Millipore MAB377, RRID:AB_2298772], 2 nights (~48 hours) | 1:500 donkey anti-rabbit IgG-Alexa Fluor 568 [Invitrogen A10042, RRID:AB_2534017] and 1:200 donkey anti-mouse Fab fragment-Alexa Fluor 647 [Jackson 715-607-003, RRID:AB_2340867] |

Supplementary Table A2. Confocal immunofluorescence image acquisition parameters for frozen fixed coronal rat brain. Images taken at 60× magnification oil immersion objective as a 2×2 tile of adjacent fields of view, which were stitched with 5% overlap by optimal path to a final area of 408µm  408µm ~0.17mm2 per region of interest. 20× magnification images were of a single field of view with an area of 512µm  512µm (~0.26mm2). All images were acquired with a DAPI channel on the 405nm laser line. Two Nikon C2+ microscopes were used for different experiments (indicated by A and B). mPFC: medial prefrontal cortex; Hipp: hippocampus; Thal: ventroposterolateral nucleus of the thalamus; AF: Alexa Fluor.

| Stain | Region | Objective | Digital Zoom (×) | Image Resolution (px) | Pixel Dwell | Average Factor | Microscope | Antigen | Fluorophore | Laser Intensity | Digital Gain (HV) | Offset |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FosB-NeuN | Hipp, mPFC | 20× | 1.23 | 1024 | 2.4 | 1 | A | FosB | AF568 | 3.5 | 92 | -30 |
|  |  |  |  |  |  |  |  | NeuN | AF647 | 2.5 | 82 | -5 |
| IL-1β-IBA1-NeuN | Hipp | 60× | 1.0 | 1024 | 2.4 | 1 | B | IL-1β | AF488 | 2.5 | 83 | -10 |
|  |  |  |  |  |  |  |  | IBA1 | AF568 | 2.5 | 81 | 0 |
|  |  |  |  |  |  |  |  | NeuN | AF647 | 1.2 | 78 | 3 |
|  | mPFC | 20× | 1.0 | 1024 | 2.4 | 1 | B | IL-1β | AF488 | 3.0 | 85 | -55 |
|  |  |  |  |  |  |  |  | IBA1 | AF568 | 2.5 | 82 | -10 |
|  |  |  |  |  |  |  |  | NeuN | AF647 | 1.2 | 76 | 0 |
|  | Thal | 20× | 1.0 | 1024 | 2.4 | 1 | B | IL-1β | AF488 | 2.0 | 77 | -20 |
|  |  |  |  |  |  |  |  | IBA1 | AF568 | 2.5 | 80 | -15 |
|  |  |  |  |  |  |  |  | NeuN | AF647 | 2.0 | 80 | -10 |
| p38-IBA1-NeuN | Hipp | 20× | 1.23 | 1024 | 2.4 | 2 | A | p38 MAPK | AF568 | 5.0 | 90 | -30 |
|  |  |  |  |  |  |  |  | IBA1 | AF488 | 1.3 | 70 | -2 |
|  |  |  |  |  |  |  |  | NeuN | AF647 | 2.0 | 85 | 0 |
|  | mPFC | 20× | 1.23 | 1024 | 2.4 | 2 | A | p38 MAPK | AF568 | 5.0 | 90 | -40 |
|  |  |  |  |  |  |  |  | IBA1 | AF488 | 1.3 | 70 | -2 |
|  |  |  |  |  |  |  |  | NeuN | AF647 | 2.0 | 85 | 0 |
|  | Thal | 20× | 1.0 | 1024 | 2.4 | 2 | B | p38 MAPK | AF568 | 4.5 | 90 | -45 |
|  |  |  |  |  |  |  |  | IBA1 | AF488 | 1.5 | 74 | -10 |
|  |  |  |  |  |  |  |  | NeuN | AF647 | 1.8 | 77 | -2 |
| CD206-IBA1-NeuN | Hipp | 60× | 1.0 | 1024 | 2.4 | 1 | A | CD206 | AF488 | 2.0 | 80 | -40 |
|  |  |  |  |  |  |  |  | IBA1 | AF568 | 2.0 | 80 | -5 |
|  |  |  |  |  |  |  |  | NeuN | AF647 | 2.0 | 87 | 0 |
|  | Thal | 20× | 1.23 | 1024 | 2.4 | 1 | A | CD206 | AF488 | 2.2 | 70 | -25 |
|  |  |  |  |  |  |  |  | IBA1 | AF568 | 2.5 | 77 | -10 |
|  |  |  |  |  |  |  |  | NeuN | AF647 | 2.5 | 88 | -7 |
| BDNF-GFAP-NeuN | Hipp | 20× | 1.23 | 1024 | 2.4 | 1 | A | BDNF | AF488 | 1.5 | 70 | -20 |
|  |  |  |  |  |  |  |  | GFAP | AF568 | 2.2 | 80 | -12 |
|  |  |  |  |  |  |  |  | NeuN | AF647 | 1.5 | 82 | 0 |
|  | mPFC | 20× | 1.23 | 2048 | 2.6 | 1 | A | BDNF | AF488 | 1.2 | 66 | -12 |
|  |  |  |  |  |  |  |  | GFAP | AF568 | 2.2 | 80 | -20 |
|  |  |  |  |  |  |  |  | NeuN | AF647 | 1.5 | 82 | 0 |
|  | Thal | 20× | 1.23 | 2048 | 1.2 | 1 | A | BDNF | AF488 | 2.0 | 70 | -25 |
|  |  |  |  |  |  |  |  | GFAP | AF568 | 3.0 | 87 | -55 |
|  |  |  |  |  |  |  |  | NeuN | AF647 | 2.5 | 90 | -10 |