SM Table 2. Methods of analysis, detection limits (DL),  analytical results and  recovery of certified reference material

| Element | DL | Andesite. AGV-2 (United States Geological Survey) |  |  | Basalt. Hawaiian Volcanic Obsevatory BHVO-2 (US Geological Survey) |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Found average | Certified value | Recovery.% | Found average | Certified value | Recovery.% |
| Li | 0.02 | 10.1 | 11 | 109 | 4.5 | 4.6 | 100 |
| Be | 0.01 | 2.0 | 2.3 | 118 | 0.92 | 1.0 | 104 |
| Na | 27 | 30202 | 31037 | 103 | 16625 | 17294 | 104 |
| Mg | 29 | 10156 | 10783 | 106 | 41335 | 42760 | 103 |
| Al | 16 | 86931 | 89471 | 103 | 72714 | 69075 | 95 |
| P* | 16 | 1942 | 2096 | 108 | 1127 | 1230 | 109 |
| S* | 23 | <DL | - | ND | 157 | 150 | 96 |
| K | 25 | 22891 | 23802 | 104 | 4347 | 4248 | 98 |
| Ca | 45 | 36373 | 37143 | 102 | 80283 | 82271 | 102 |
| Sc | 0.1 | 12.0 | 13 | 108 | 31.3 | 33.9 | 108 |
| Ti | 5 | 5975 | 6287 | 105 | 15106 | 16547 | 110 |
| V | 0.8 | 118 | 120 | 102 | 315 | 319 | 102 |
| Cr | 0.7 | 15.3 | 17 | 111 | 269 | 284 | 105 |
| Mn | 3 | 714 | 775 | 109 | 1245 | 1353 | 109 |
| Fe | 47 | 45619 | 46783 | 103 | 83793 | 86133 | 103 |
| Co | 0.1 | 15.2 | 16 | 106 | 45.7 | 45.3 | 99 |
| Ni | 0.6 | 17.0 | 19 | 112 | 118 | 121 | 103 |
| Cu | 0.6 | 50.1 | 53 | 106 | 124 | 125 | 101 |
| Zn | 0.3 | 87.5 | 86 | 98 | 103 | 104 | 100 |
| Ga | 0.02 | 20.1 | 20 | 99 | 22.1 | 20.5 | 93 |
| As | 0.06 | 0.15 | - | ND | <DL | <DL | ND |
| Se | 0.7 | <DL | - | ND | <DL | <DL | ND |
| Rb | 0.04 | 68.3 | 69 | 100 | 9.3 | 9.1 | 98 |
| Sr | 0.05 | 648 | 658 | 102 | 409 | 389 | 95 |
| Y | 0.05 | 19.4 | 20 | 103 | 27.3 | 25.9 | 95 |
| Zr | 0.02 | 229 | 230 | 100 | 172 | 177 | 103 |
| Nb | 0.02 | 13.2 | 15.0 | 113 | 17.8 | 18.3 | 103 |
| Mo | 0.05 | 1.9 | - | ND | 4.5 | 4.1 | 91 |
| Rh | 0.06 | <DL | - | ND | <DL | <DL | ND |
| Pd | 0.05 | <DL | - | ND | <DL | <DL | ND |
| Ag | 0.02 | 0.046 | - | ND | <DL | 0.051 | ND |
| Cd | 0.04 | <DL | - | ND | 0.055 | 0.089 | 164 |
| Sn | 0.06 | 1.4 | 2.3 | 159 | 1.2 | 1.0 | 83 |
| Sb | 0.03 | 0.54 | 0.6 | ND | 0.15 | 0.17 | 113 |
| Te | 0.06 | <DL |  | ND | <DL | <DL | ND |
| Cs | 0.01 | 1.1 | 1.2 | 103 | 0.093 | 0.11 | 113 |
| Ba | 0.07 | 1111 | 1140 | 103 | 135 | 136 | 101 |
| La | 0.01 | 36.4 | 38 | 104 | 16.0 | 15.4 | 96 |
| Ce | 0.02 | 62.4 | 68 | 109 | 37.2 | 38.6 | 104 |
| Pr | 0.004 | 7.3 | 8.3 | 114 | 5.2 | 5.3 | 103 |
| Nd | 0.008 | 28.1 | 30.0 | 107 | 24.0 | 24.9 | 103 |
| Sm | 0.007 | 5.2 | 5.7 | 109 | 6.4 | 6.3 | 99 |
| Eu | 0.007 | 1.4 | 1.5 | 106 | 2.2 | 2.2 | 99 |
| Gd | 0.005 | 4.2 | 4.7 | 112 | 6.2 | 6.5 | 104 |
| Tb | 0.006 | 0.58 | 0.6 | 111 | 0.88 | 0.93 | 106 |
| Dy | 0.005 | 3.2 | 3.6 | 111 | 5.4 | 5.3 | 100 |
| Ho | 0.006 | 0.61 | 0.7 | 116 | 0.96 | 0.99 | 103 |
| Er | 0.003 | 1.7 | 1.8 | 105 | 2.6 | 2.6 | 101 |
| Tm | 0.004 | 0.23 | 0.26 | 112 | 0.33 | 0.34 | 104 |
| Yb | 0.004 | 1.5 | 1.6 | 103 | 2.1 | 2.1 | 100 |
| Lu | 0.004 | 0.22 | 0.25 | 112 | 0.28 | 0.29 | 104 |
| Hf | 0.01 | 4.4 | 5.1 | 117 | 4.1 | 4.4 | 107 |
| Ta | 0.01 | 0.72 | 0.9 | 124 | 1.1 | 1.3 | 117 |
| W | 0.02 | 0.42 | - | ND | 0.19 | 0.22 | 118 |
| Re | 0.007 | <DL | - | ND | <DL | <DL | ND |
| Ir | 0.005 | <DL | - | ND | <DL | <DL | ND |
| Pt | 0.007 | <DL | - | ND | <DL | <DL | ND |
| Au | 0.03 | <DL | - | ND | <DL | <DL | ND |
| Hg | 0.01 | - | - | ND | - | - | ND |
| Tl | 0.005 | 0.22 | 0.27 | ND | 0.018 | 0.019 | 108 |
| Pb | 0.07 | 12.4 | 13.0 | 104 | 1.8 | 1.8 | 101 |
| Bi | 0.01 | 0.033 | - | ND | <DL | <DL | ND |
| Th | 0.006 | 5.9 | 6.1 | 104 | 1.2 | 1.2 | 108 |
| U | 0.005 | 1.7 | 1.9 | 108 | 0.42 | 0.43 | 104 |

DL for  Na2O, MgO, Al2O3, P2O5, S, K2O, CaO, TiO2, MnO, Fe2O3  in mass %,  for  trace  and rare earth elements in mg·kg-1