Supplementary Information

Decentralized pilot-scale biofilm-based system integrated with microbial electrolysis cell for household wastewater treatment: Enhanced pollutant removal and hydrogen production

Edson Baltazar Estrada-Arriaga1*, Raúl Montero-Farías2, Cornelio Morales-Morales3*, Liliana García-Sánchez1, Axel Falcón-Rojas4, Marco A. Garzón-Zúñiga5, Tania Gutierrez-Macias6

1Subcoordinación de Sistemas de Saneamiento y Reutilización de Aguas Residuales, Instituto Mexicano de Tecnología del Agua, Paseo Cuauhnáhuac 8532, Progreso, Jiutepec, Morelos C.P. 62550, México.

2Facultad de Ingeniería, Universidad Nacional Autónoma de México, Paseo Cuauhnáhuac 8532, Progreso, Jiutepec, Morelos C.P. 62550, México.

3Instituto Tecnológico de San Juan del Río, Tecnológico Nacional de México, Av. Tecnológico No. 2, Quintas de Guadalupe, San Juan del Río, Querétaro, C.P. 76800, México

4Subcoodinación de Monitoreo y Evaluación de Calidad del Agua, Instituto Mexicano de Tecnología del Agua, Paseo Cuauhnáhuac 8532, Progreso, Jiutepec, Morelos C.P. 62550, México

5Laboratorio de Evaluación, Desarrollo e Innovación de Tecnología del Agua, Instituto Politécnico Nacional, CIIDIR-Durango,  Sigma 119, 20 de Noviembre II, Durango, C.P. 34220, México.

6Consejo Nacional de Humanidades, Ciencias y Tecnologías, Instituto Mexicano de Tecnología del Agua, Paseo Cuauhnáhuac 8532, Progreso, Jiutepec, Morelos C.P. 62550, México.

*Corresponding author

Tel.: +52 777 3293600 ext 297. Email: edson_estrada@tlaloc.imta.mx

Tel.: +52 777 4501009.   Email: cornelio.mm@sjuanrio.tecnm.mx

Fig. S1. Electrode configuration. 1- Anode. 2- CEM. 3- Cathode

Fig. S2. Cassette filtration module

Fig. S3. Biocarriers

Fig. S4  Organic matter removal evolution during biofilm formation in the DEWATS pilot-scale biofilm-based system coupled with MEC fed with household wastewater

Fig. S5. Effect of pollutant loading over the performace of DEWATS pilot-scale biofilm-based technology coupled with MEC for household wastewater treatment

Fig. S6. Chromatogram of biogas release from MEC during household wastewater treatment

Table S1. Attached solids obtained in the DEWATS pilot-scale biofilm-based system integrated with MEC during  household wastewater treatment

| Parameter | MEC |  | APBBR | aeMBBR |
| --- | --- | --- | --- | --- |
|  | Anode | Cathode |  |  |
| TSS (g/m2) | 231.3 | 226.6 | 0.0087 | 7.2 |
| VSS (g/m2) | 140.6 | 137.5 | 0.0023 | 3.3 |
| MLVSS | 20 |  | - | 35 |

| Table S2. Pollutan removal in stable conditions from DEWATS pilot-scale biofilm-based technology coupled with MEC during household wastewater treatment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Stage | Sample point | Organic loading (kg COD/m3.d) HRT (d) Voltage (Volts) | COD (mg/L) | Removal (%) | BOD (mg/L) | Removal (%) | TN (mg/L) | Removal (%) | NH4+ (mg/L) | Removal (%) | NO3- (mg/L) | TP (mg/L) | Removal (%) | TSS (mg/L) | Removal (%) |
| 1 | Influent | 0.23 1.5 0.7 | 293 |  | 169 |  | 26.3 |  | 22 |  | 0 | 7.5 |  | 377 |  |
|  | MEC effluent |  | 198 | 32 | 110 | 35 |  |  | 17 | 16 | 1 | 7.1 | 4 | 47 | 63 |
|  | APBBR effluent |  | 89 | 55 | 42 | 62 |  |  | 16 | 5 | 0 | 6.7 | 7 | 36 | 22 |
|  | aeMBBR effluent |  | 55 | 38 | 25 | 40.4 | 10 |  | 3 | 85 | 8.5 | 6.6 | 0.7 | 19 | 46 |
|  | Global removal |  |  | 81 |  | 85.2 |  | 62 |  | 88 |  |  | 11.4 |  | 85 |
| 2 | Influent | 0.25 1.5 1 | 300 |  | 162 |  | 31 |  | 23 |  | 0 | 8.4 |  | 128 |  |
|  | MEC effluent |  | 180 | 40 | 100 | 37 |  |  | 16 | 31 | 2 | 7.5 | 10 | 61 | 54 |
|  | APBBR effluent |  | 89.1 | 51 | 47 | 53 |  |  | 15 | 3 | 0 | 6.6 | 12.1 | 41 | 33 |
|  | aeMBBR effluent |  | 48 | 46 | 26 | 45 | 10 |  | 0.5 | 97 | 10 | 6.2 | 6 | 16 | 61 |
|  | Global removal |  |  | 84 |  | 84 |  | 68 |  | 98 |  |  | 25.7 |  | 88 |
| 3 | Influent | 0.44 0.75 1 | 336 |  | 178 |  | 40 |  | 28 |  | 0 | 8.3 |  | 306 |  |
|  | MEC effluent |  | 242 | 28 | 131 | 30 |  |  | 24 | 16 | 1 | 7.5 | 8.7 | 128 | 57 |
|  | APBBR effluent |  | 132 | 46 | 69 | 47 |  |  | 23 | 3 | 0 | 6 | 19.5 | 90 | 28 |
|  | aeMBBR effluent |  | 57 | 57 | 26 | 63 | 19 |  | 1 | 95 | 17 | 5.8 | 4.2 | 72 | 20 |
|  | Global removal |  |  | 83 |  | 85 |  | 53 |  | 96 |  |  | 29.7 |  | 76 |
| 4 | Influent | 0.4 0.75 0.7 | 299 |  | 181 |  | 37 |  | 28 |  | 0 | 9.6 |  | 133 |  |
|  | MEC effluent |  | 211 | 29 | 110 | 39 |  |  | 25 | 10 | 1 | 8.8 | 8.8 | 61 | 55 |
|  | APBBR effluent |  | 115 | 46 | 74 | 33 |  |  | 24 | 3 | 0 | 8.2 | 6.3 | 43 | 29 |
|  | aeMBBR effluent |  | 54 | 54 | 28 | 63 | 18 |  | 2 | 93 | 15 | 8 | 2.6 | 33 | 24 |
|  | Global removal |  |  | 83 |  | 85 |  | 53 |  | 94 |  |  | 16.7 |  | 76 |
| 5 | Influent |  | 302 |  | 162 |  | 25 |  | 20 |  | 0 | 9.4 |  | 136 |  |
|  | MEC effluent | 0.2 1.5 Without input voltage | 229 | 26 | 118 | 26 |  |  | 19 | 5 | 0 | 9.1 | 2.6 | 45 | 66 |
|  | APBBR effluent |  | 88 | 62 | 49 | 59 |  |  | 18 | 3 | 0 | 8.7 | 8.7 | 35 | 22 |
|  | aeMBBR effluent |  | 66 | 25 | 30 | 39 | 12 |  | 1 | 95 | 11 | 8.5 | 2.5 | 17 | 51 |
|  | Global removal |  |  | 79 |  | 81 |  | 52 |  | 95 |  |  | 9.6 |  | 87 |