Supplementary Information

Neonicotinoid Insecticides and Their Characteristic Metabolites May Induce High Fasting Blood Glucose and Obesity in Humans

Mingyue Zhang2#, Jing Zhu2#, Pei Zheng2, Cailv Wei2,5, Dehai Li3,4*, Qian Wang2*, Hua Zhang1*

1 Department of Metabolic and Bariatric Surgery, The First Affiliated Hospital of Jinan University, Guangzhou, China.

2 The Biomedical Translational Research Institute, Health Science Center (School of Medicine), Jinan University, Guangzhou, 510632, Guangdong, China;

3 Zhuhai Institute of Translational Medicine, Zhuhai People's Hospital (Zhuhai Hospital Affiliated with Jinan University), Jinan University, Zhuhai, Guangdong, 519000, China;

4 The Biomedical Translational Research Institute, Faculty of Medical Science, Jinan University, Guangzhou, Guangdong, 510632, China;

5 Guangdong JiAnTeBo Biotechnology Co.,Ltd , Zhongshan, Guangdong, 528451, China.

*Correspondence: Dehai Li e-mail: dehaili2018@gmail.com; Qian Wang e-mail: wangqian@jnu.edu.cn; Hua Zhang, e-mail: zhanghua9201@jnu.edu.cn

#These authors contributed equally to this work.

Submission to Exposure and Health

- Materials and methods

  - Chemicals and reagents

The standards of six p-NEOs [i.e., DIN (CAS: 165252-70-0), IMI (CAS: 138261-41-3), CLO (CAS: 210880-92-5), THI (CAS: 111988-49-9), THIX (CAS: 153719-23-4) and ACE (CAS: 135410-20-7)] and four m-NEOs [i.e., ACE-dm (CAS: 190604-92-3), DN (CAS:457614-32-3), UF (CAS: 457614-34-5), and Of-IMI (CAS: 115086-54-9)]; purity of over 98.4%, were purchased from Dr. Ehrenstorfer (Augsburg, Germany). The standard of 5-OH-IMI (CAS: 155802-61-2); purity of 98.6%, was obtained from Bayer Conscience (Research Triangle Park, NC, USA). The corresponding internal standards, [i.e., ACE-d3 (CAS: 1353869-35-8), THIX-d3 (CAS: 1294048-82-0), DIN-d3 (CAS: no available), CLO-d3 (CAS: 1262776-24-8), THI-d3 (CAS: 1793071-39-2), and IMI-d3 (CAS: 1015855-75-0)], > 98.1% purity, were purchased from Sigma-Aldrich (St. Louis, MO, USA). Formic acid, ammonium acetate, and β-glucuronidase were also purchased from Sigma- Aldrich (St. Louis, MO, USA). High-performance liquid chromatography (HPLC)-grade methanol was obtained from Merck (Darmstadt, Germany). Milli-Q water was received from a Milli-pore system (Billerica, MA, USA).

1.2 Calculation of IMIRPF based on the relative potency factors (RPF) of NEOs and their metabolites

The RPF method was applied to value the risks to human health (Lu et al., 2018; Chen et al., 2020b; Wang et al., 2020). As shown in Equation (1), the RPFs were calculated on the basis of the chronic reference dose (cRfD) (Table S5).

RPF=cRfDIMIcRfDi  (1)

Furthermore, the IMIeq were also calculated by Equation (2).

IMIeq(ng/mL)(NEOi×REFi)= IMI×1.00+THIX×9.50+ACE×0.80+CLO×5.82+DIN×2.85+THI×14.3+ACE-dm×0.80+of-IMI×1.00+5-OH-IMI×1.00+UF×2.85+DN×2.85 (2)

The i was the individual NEO. Given that the cRfDs of ACE-dm, Of-IMI, 5-OH-IMI, DN, and UF were lacking, the same values of RPFs were applied for ACE, IMI and DIN.

| Table S1 Detailed information of donors in this study. |  |  |
| --- | --- | --- |
| Characteristic | Normal (n = 130) | obestiy (n = 130) |
|  | mean (range) | mean (range) |
| Age (years) | 39 (18-68) | 41 (25-67) |
| Gender |  |  |
| Male | 72 | 68 |
| Female | 58 | 62 |
| Body weight (kg) | 55.2 (46-74) | 72.6 (59-100) |
| Height (cm) | 162 (152-183) | 163 (144-175) |
| BMI (kg/m2) | 21.0 (19.3-23.84) | 27.3 (24.1-35.4) |
| Systolic pressure (mmHg) | 115 (100-138) | 128 (110-138) |
| Diastolic pressure (mmHg) | 72.4 (60-88) | 80.2 (70-89) |
| Blood glucose (mmol/L) | 5.4 (4.5-6.9) | 6.4 (5.1-6.9) |
| Waistline (cm) | 75.8 (68-86) | 94.1 (82-103) |

| Table S2 MRM transitions and other LC-MS/MS conditions of NEOs and their metabolites. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Pesticides | Q1 Mass (Da) | Q3 Mass (Da) | DP (v) a | CE (v) b |
| Native standards |  |  |  |  |
| ACE | 223 | 126 | 110 | 28 |
| IMI | 256 | 209 | 120 | 22 |
| CLO | 250 | 169 | 94 | 17 |
| THI | 253 | 126 | 117 | 27 |
| THIX | 292 | 211 | 65 | 18 |
| DIN | 203 | 129 | 56 | 21 |
| 5-OH-IMI | 272 | 225 | 67 | 23 |
| DN | 158 | 102 | 56 | 27 |
| UF | 159 | 85 | 99 | 26 |
| Of-IMI | 254 | 171 | 40 | 30 |
| ACE-dm | 209 | 126 | 119 | 32 |
| Internal standards |  |  |  |  |
| ACE-d3 | 226 | 126 | 120 | 24 |
| IMI-d4 | 260 | 213 | 60 | 27 |
| CLO-d3 | 253 | 172 | 103 | 21 |
| THI-d4 | 257 | 126 | 140 | 37 |
| THIX-d3 | 295 | 214 | 73 | 24 |
| DIN-d3 | 206 | 132 | 77 | 28 |
| a DP represents declustering potential; b CE represents collision energy. |  |  |  |  |

| Table S3 Gradient flow of the separation of NEOs and their metabolites a |  |  |  |
| --- | --- | --- | --- |
| Time (min) | Flow rate (mL/min) | Mobile Phase A (%) | Mobile Phase B (%) |
| 0 | 0.3 | 5 | 95 |
| 3 | 0.3 | 35 | 65 |
| 6 | 0.3 | 55 | 45 |
| 9 | 0.3 | 35 | 65 |
| 10 | 0.3 | 5 | 95 |
| 12 | 0.3 | 5 | 95 |
| a acetonitrile and 0.1% formic acid in ultrapure water were used as the mobile phase A and B, respectively. |  |  |  |

| Table S4 Recovery (%), correlation coefficient (R2), intraday and inter-day precision, LOD and LOQ for the NEOs and their metabolites in blood samples. |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analytes | Intraday precision (n = 5) |  |  |  | Inter-day precision (n = 15) |  |  | R2 | LOQ (ng/mL) | LOD (ng/mL) |
|  | Mean recovery, % (RSD, %) |  |  |  | Mean recovery, % (RSD, %) |  |  |  |  |  |
|  | 0.1 ng/mL | 1 ng/mL | 10 ng/mL |  | 0.1 ng/mL | 1 ng/mL | 10 ng/mL |  |  |  |
| IMI | 88 (2) | 88 (3) | 93 (7) |  | 84 (4) | 94 (13) | 92 (6) | 0.992 | 0.05 | 0.015 |
| ACE | 79 (4) | 74 (14) | 96 (10) |  | 77 (12) | 87 (5) | 85 (7) | 0.995 | 0.01 | 0.003 |
| CLO | 72 (7) | 76 (5) | 79 (5) |  | 95 (11) | 78 (11) | 87 (8) | 0.991 | 0.05 | 0.015 |
| THI | 71 (1) | 78 (13) | 89 (4) |  | 93 (7) | 93 (12) | 86 (9) | 0.992 | 0.001 | 0.0003 |
| THIX | 78 (4) | 73 (6) | 79 (5) |  | 96 (4) | 77 (7) | 85 (16) | 0.994 | 0.001 | 0.0003 |
| DIN | 101 (10) | 76 (2) | 89 (7) |  | 101 (12) | 79 (3) | 94 (5) | 0.996 | 0.05 | 0.015 |
| DN | 92 (4) | 82 (6) | 79 (6) |  | 91 (5) | 89 (10) | 74 (13) | 0.993 | 0.05 | 0.015 |
| UF | 88 (12) | 94 (14) | 84 (12) |  | 87 (5) | 79 (12) | 102 (4) | 0.998 | 0.05 | 0.015 |
| Of-IMI | 92 (3) | 79 (12) | 105 (3) |  | 77 (4) | 93 (17) | 89 (6) | 0.993 | 0.01 | 0.003 |
| 5-OH-IMI | 70 (4) | 77 (6) | 80 (5) |  | 82 (19) | 88 (16) | 83 (9) | 0.997 | 0.05 | 0.015 |
| ACE-dm | 89 (5) | 78 (10) | 86 (6) |  | 81 (3) | 79 (15) | 92 (2) | 0.995 | 0.01 | 0.003 |

| Table S5 Acceptable dietary intake (ADI), chronic reference dose (cRfD), and relative potency factors (RPF) for NEOs |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | THI | THIX | CLO | ACE | ACE-dm | IMI | 5-OH-IMI | Of-IMI | DIN | DN | UF |
| ADI (mg/kg/day) | 0.01 | 0.08 | 0.1 | 0.07 | - | 0.06 | - | - | 0.2 | - | - |
| cRfD (mg/kg/day) | 0.004 | 0.006 | 0.01 | 0.071 | - | 0.057 | - | - | 0.02 | - | - |
| RPF | 14.25 | 9.5 | 5.816 | 0.803 | 0.803 | 1 | 1 | 1 | 2.85 | 2.85 | 2.85 |
| a - represents no available data |  |  |  |  |  |  |  |  |  |  |  |

References

Chen, D., Zhang, Y., Lv, B., Liu, Z., Han, J., Li, J., Zhao, Y., Wu, Y., 2020b. Dietary exposure to neonicotinoid insecticides and health risks in the Chinese general population through two consecutive total diet studies. Environ Int 135, 105399.

Lu, C., Chang, C.H., Palmer, C., Zhao, M., Zhang, Q., 2018. Neonicotinoid Residues in Fruits and Vegetables: An Integrated Dietary Exposure Assessment Approach. Environ Sci Technol 52, 3175-3184.

Wang, A., Mahai, G., Wan, Y., Yang, Z., He, Z., Xu, S., Xia, W., 2020a. Assessment of imidacloprid related exposure using imidacloprid-olefin and desnitro-imidacloprid: Neonicotinoid insecticides in human urine in Wuhan, China. Environ Int 141, 105785