Supplementary material

Table S1 The mobile phase conditions for antibiotic analysis

| Mobile phase conditions for CAPs (mobile A: 0.05% ammonia solution; B: ACN ) |  | Mobile phase conditions for QNs and TCs (mobile A: 0.1% FA solution; B: MeOH ) |  |
| --- | --- | --- | --- |
| Time (min) | Mobile B (ACN) | Time (min) | Mobile B (MeOH) |
| 0~0.5 | 10% | 0~1.0 | 10% |
| 0.5~2.0 | 90% | 1.0~4.5 | 30% |
| 2.0~3.0 | 90% | 4.5~7.0 | 99% |
| 3.0~3.5 | 10% | 7.0~9.0 | 99% |
| 3.5~5.0 | 10% | 9.0~9.1 | 10% |
|  |  | 9.1~10.0 | 10% |

The colomn is Waters BEH C18（1.7μm，2.1mm×100mm）

Table S2 The parameters of mass spectrometry for targeted analytes

| Antibiotic |  | Molecular formula | Ion source | Precursor Ion (m/z) | Product Ion (m/z) | Collision Energy (eV) | Cone voltage (V) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| QNs | Ciprofloxacin | C17H18FN3O3 | ESI+ | 332.2 | 314.3/288.3 | 19/17 | 36 |
|  | Enrofloxacin | C19H22FN3O3 | ESI+ | 360.3 | 316.4/342.3 | 19/23 | 38 |
|  | Lomefloxacin | C17H19F2N3O3 | ESI+ | 352.3 | 265.2/308.3 | 23/17 | 36 |
|  | Norfloxacin | C16H18FN3O3 | ESI+ | 320.3 | 302.3/276.3 | 19/17 | 50 |
|  | Norfloxacin-d5 | C16H13D5FN3O3 | ESI+ | 325.1 | 281.1 | 12 | 50 |
|  | Ofloxacin | C18H20FN3O4 | ESI+ | 362.2 | 318.3/261.2 | 18/27 | 38 |
|  | Pefloxacin | C17H20FN3O3 | ESI+ | 334.3 | 290.3/233.2 | 17/25 | 38 |
| TCs | Chlortetracycline | C22H23ClN2O8 | ESI+ | 479.2 | 426/444 | 18/10 | 40 |
|  | Doxycycline | C22H24N2O8 | ESI+ | 445 | 428/153.9 | 14/20 | 30 |
|  | Oxytetracycline | C22H24N2O9 | ESI+ | 461 | 426/443 | 18/10 | 40 |
|  | Tetracycline | C22H24N2O8 | ESI+ | 445 | 410/427 | 25/15 | 35 |
| CAPs | Chloramphenicol | C11H12Cl2N2O5 | ESI- | 321 | 152/257 | 18/16 | 22 |
|  | Chloramphenicol-d5 | C11H7D5Cl2N2O5 | ESI- | 326 | 157 | 15 | 25 |
|  | Thiamphenicol | C12H15Cl2NO5S | ESI- | 354 | 185/290 | 18/10 | 14 |
|  | Florfenicol | C12H14Cl2FNO4S | ESI- | 356 | 336/185 | 10/10 | 25 |
|  | Florfenicol Amine | C10H14FNO3S | ESI+ | 248 | 230/130 | 10/10 | 25 |

Table S4 The formula and structure of analyzed antibiotics

| Antibiotic |  | Chemical formula | Log Kow | Structural formula |
| --- | --- | --- | --- | --- |
| QNs | Ciprofloxacin | C17H18FN3O3 | 0.28 |  |
|  | Enrofloxacin | C19H22FN3O3 | 1.1, 2.31 |  |
|  | Lomefloxacin | C17H19F2N3O3 | 0.31 |  |
|  | Norfloxacin | C16H18FN3O3 | -1.03 |  |
|  | Ofloxacin | C18H20FN3O4 | -2.0 |  |
|  | Pefloxacin | C17H20FN3O3 | -0.27 |  |
| TCs | Chlortetracycline | C22H23ClN2O8 | -0.62 |  |
|  | Doxycycline | C22H24N2O8 | -1.36, -0.02 |  |
|  | Oxytetracycline | C22H24N2O9 | -2.87, -0.9 |  |
|  | Tetracycline | C22H24N2O8 | -1.33 |  |
| CAPs | Chloramphenicol | C11H12Cl2N2O5 | 0.94, 1.14 |  |
|  | Thiamphenicol | C12H15Cl2NO5S | -0.33, -0.27 |  |
|  | Florfenicol | C12H14Cl2FNO4S | -0.04 |  |
|  | Florfenicol amine | C10H14FNO3S | -1.27 |  |