Appendix

Methods

Virus Propagation

The initial virus aliquot of SARS-CoV-2 (cultured from patient sample; viral passage 1; hCoV-19/Canada/ON-VIDO-01/2020, GISAID accession# EPI_ISL_425177) was provided by the Vaccine and Infectious Disease Organization (VIDO; Saskatoon, Saskatchewan, Canada). Vero E6 cells were grown in 150 cm2 tissue-cultured treated flasks to 80-90% confluence in Dulbeco’s Minimum Essential Medium (DMEM) supplemented with 5% bovine calf serum (BCS). Within a biosafety level (BSL)-3 laboratory, the medium was removed and the cells washed with DMEM containing 0.1% bovine serum albumin (BSA). The cells were then infected with the SARS-CoV-2 aliquot (5 l) in DMEM (5 ml) containing 0.5 g/ml TPCK-Trypsin and 0.1% BSA and incubated at 37°C and 5% CO2. After 30 min of absorption with intermittent rocking every 5-10 min, additional maintenance medium (30 ml) was added and the cells were again incubated at 37°C and 5% CO2. Any resulting cytopathic effect (CPE) was monitored daily, with the supernatant harvested 5 days post-infection (dpi). The initial virus inoculum was quantified by end-point titration on Vero E6 cells and determined to be 4.6x106 TCID50/ml (i.e. 50% tissue culture infectious dose per milliliter).

Organic Matrix

The organic matrix used in this study is the standard tripartite soil load described in ASTM E2197-17 e1 (1). Exceptionally, the mucin suspension in 0.85% NaCl was gamma-irradiated at 2 MRads on wet ice as an alternative to filter-sterilization to avoid clogging of the filter.

Solar Simulator

The artificial sunlight used in this study was produced by the SunLite Solar Simulator Model 11002 from Abet Technologies. Solar output was set to 1 sun. (i.e. 1.28 W/m2 UVB), approximately equivalent to the irradiance measured at noon on the 2020 spring and fall equinoxes at 40°N latitude and sea level [National Center for Atmospheric Research Tropospheric Ultraviolet and Visible Radiation Model (TUV)]. An atmospheric edge filter was used to block all wavelengths below 300 nm, as radiation below this level is absorbed by the atmosphere in the natural environment.

Carrier Tests

Although SARS-CoV-2 was initially propagated in Vero E6 cells (described above), subsequent cell culture assays were performed in Vero cells, as a more observable cytopathic effect was observed in the latter cell line. Vero cells were seeded into clear, flat-bottomed, tissue-culture treated 96-well plates  in Minimum Essential Medium (MEM; 100 l) supplemented with 5% BCS and 1% L-glutamine, and grown to approximately 90% confluence overnight at 37°C and 5% CO2. All subsequent procedures were performed in a BSL-4 laboratory in a class II biological safety cabinet by workers wearing positive-pressure ILC Dover suits. One stock vial of SARS-CoV-2 was thawed at room temperature and 340 l added to 160 l of either maintenance medium (MEM containing 1% BCS and 1% L-glutamine) which emulates the virus in a laboratory environment, or organic matrix which emulates the virus in its natural environment20. Positive controls were prepared in triplicate by adding the viral suspension (10 l) to maintenance medium (1 ml). Carriers were prepared by adding the viral suspension (10 l) to the centre of sterilized stainless steel disks (1 cm in diameter and 0.7 mm thick) and allowed to dry for 45 min. Carriers were prepared in triplicate for test and control conditions at each designated time point. Once dry (i.e. TP0), maintenance medium (1 ml) was pipetted up and down on each of 3carriers to re-suspend the virus, and used to infect Vero cells (see following paragraph). In experiments designed to control for the confounding variable of heat, half of the carriers were placed directly under the solar simulator light source set to 1 sun in a digital block heater/cooler set to 14°C, which ensured the carriers remained at room temperature (22.5°C). Corresponding carriers were placed in a petri dish within the BSC. For experiments where infrared heat was permitted, control carriers were placed in the block heater/cooler and heated to the same temperature the disks reached under the solar simulator, which was periodically measured with a thermometer and wire probe. Ambient temperature and relative humidity were measured with a thermo-hygrometer (TFA KlimaLogg Pro).

Shortly after collection, each sample and positive control were used to infect the nearly confluent Vero cells in triplicate: after removal of the growth medium, neat virus (100 l) was added to the top row of the 96-well plate and a series of virus dilutions (10-1 to 10-6) prepared in maintenance medium were added to the 6 consecutive rows below. The wells in the bottom row of the plate contained maintenance medium only and served as negative controls. The plates were incubated at 37°C and 5% CO2 for 4 days, at which time individual wells were examined for CPE. The Reed and Muench calculation (2) was used to calculate TCID50/ml values and the LOQ. Log10 TCID50/ml values were then calculated and plotted to examine virus viability in all treatment groups over time.

References

- ASTM E2197-17e1: standard quantitative disk carrier test method for determining bactericidal, virucidal, fungicidal, mycobactericidal, and sporicidal activities of chemicals. ASTM International, West Conshohocken, PA. 2017; doi:10.1520/E2197–17E01.

- Reed LJ, Muench H. A simple method of estimating fifty per cent endpoints. Am J Epidemiol. 1938;27:493–7.