Supplementary Table 5.  dFLASH Bimodal high throughput screen details

| Category | Parameter | Description |
| --- | --- | --- |
| Assay | Type of assay | High Content, Live cell screen of a genetic reporter measuring nuclear TF-dependent Tomato expression and constitutive EGFP expression |
|  | Target | HIF-1-dependent Tomato expression |
|  | Primary measurement | Ratio of Tomato expression to EGFP expression. |
|  | Key reagents | HEK293T mcdFLASH-HIF reporter cells and 1mM DMOG in DMSO. |
|  | Assay protocol | Assay protocol can be found in detail in the methods in the sections “High Content Imaging (HCI)” and “Bimodal small molecule screen to identify activators or inhibitors of the hypoxic response pathway.” |
|  | Additional comments | Figure 1 provides a schematic for the genetic reporter. |
| Library | Library size | 1595 compounds supplied at 5mM in 1uL of DMSO that were dried onto the plates. |
|  | Library composition | Library was a mixture of synthetic and natural product compounds curated by Prof. Ronald Quinn. |
|  | Source | Compounds were sourced from Compounds Australia (www.compoundsaustralia.com) |
|  | Additional comments |  |
| Screen | Format | 96-well plates. Plates supplied were 20 96-well Costar CLS3603 black plates with clear bottoms. |
|  | Concentration(s) tested | For Activation screening, 50M for each compound was investigated. For inhibition screening 25M was investigated. |
|  | Plate controls | At each timepoint, compound-free well with equivalent 0.1% DMSO (negative control) and 1mM DMOG (positive control) were included. |
|  | Reagent/ compound dispensing system | Compounds were dispensed into the 96 well format by Compounds Australia. Cells and DMSO or DMOG were added manually. |
|  | Detection instrument and software | Thermofisher ArrayScan XTI was the imagining instrument. HCS Studio 3.0 was the primary analysis software for detection and quantification of nuclear fluorescence. |
|  | Assay validation/QC | Z’ > 0.5 for each screen were confirmed, as was ensuring hits met >2SD parameter for Tomato in Supplementary Figure 7. |
|  | Correction factors | N/A |
|  | Normalization | Data was Z score normalized. |
|  | Additional comments |  |
| Post-HTS analysis | Hit criteria | Hit criteria is described in method section “Bimodal small molecule screen to identify activators or inhibitors of the hypoxic response pathway”. For activator screens hits had to be >2SD for Tomato/EGFP and Tomato MFI while EGFP expression did not change more than 2SD relative to negative (DMSO) controls. For inhibitor hits criteria was <2SD for Tomato/EGFP and Tomato MFI, while again EGFP did not change more than 2SD relative to the positive (DMOG) treated control. |
|  | Hit rate | 36 hour activator screen: 21 compounds (1.3%) 24 hour activator screen: 21 compounds (1.3%) Overall activator screen: 3 compound replicated between screens (0.18%) 36 hour inhibitor screen: 26 compounds (1.6%) 24 hour inhibitor screen: 13 compounds (0.8%) Overall inhibitor screen: 3 compounds replicated between screens (0.18%). |
|  | Additional assay(s) | Replicate dFLASH High content assays were done at 24 hours on a subset of hits for activator and inhibitor compounds to confirm their activity (Supplementary Figure 8, 9). |
|  | Confirmation of hit purity and structure | Compounds were reordered through Compounds Australia (www.compoundsaustralia.com) to confirm identity prior to re-assay and downstream investigations. |
|  | Additional comments |  |