Supplementary Appendix

Indicators of Usability

The total number of calls among the 18 participants in the Heel2toe group over the whole intervention period was 117, ranging from 1 to 29 calls, averaging 7 per person and the total time was 344 minutes, ranging from 2 to 70 minutes for an average of 22 per person.  Each person experienced some challenges with the sensor which were corrected either immediately or for the next participant.  Challenges related to functionality of the app were addressed immediately; hardware challenges were addressed in revisions including ease of charging, Bluetooth connectivity, and attachment.

Supplementary Figure 2 presents the distribution of Heel2Toe use for each participant in the intervention group over the 2-week training period (blue bars) and over the 3-month home practice (orange bars). All participants were instructed to use the Heel2Toe sensor daily.  The proportion of days of use during the training period ranged from 0% (person A) to >180% (person P). The median usage value was 54%, located between person H and I. The orange bars show the usage for the period of home practice. Usage in the training period was not carried over into the home training period: the range was from 0% to >100% and the median value was 37%, located at person M.

Supplementary Figure 3 shows that, while there were technical challenges with the sensor and there was a learning curve, the majority of people were satisfied and would recommend it to others.