Table 1 : Composition, retention time, LOD, LOQ, R2, RSD and recovery of pesticides

| Pesticide | Composition | tR (min) | LOD(mg kg-1) | LOQ(mg kg-1) | R2 | RSD (%) | Recovery (%) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Dimethoate | C5H12NO3PS2 | 22.87 | 0.005 | 0.015 | 0.9979 | 6-8 | 86.60-89.45 |
| Chlorpyrifos | C9H11Cl3NO3PS | 29.33 | 0.005 | 0.015 | 0.9949 | 5-7 | 92.20-95.14 |
| Profenofos | C11H15BrClO3PS | 34.94 | 0.005 | 0.015 | 0.9987 | 8-10 | 90.14-93.25 |

tR : Retention time; LOD : Limit of detection; LOQ : Limit of quantification; R2 : correlation coefficient ; RSD : Relative Standard Deviation