Supplementary materials for

Figure and Table of Contents

Supplementary Figure 1. The validation of the OPLS-DA models.

Supplementary Table 1. The standard compounds of bile acids in our project.

Supplementary Table 2. Gradient program of the liquid chromatography mobile phase.

Supplementary Table 3. The optimized mass spectrometry conditions for the detection of bile acids.

Supplementary Table 4. The mass spectrometry parameters of the bile acids.

Supplementary Table 5. The mass spectrometry parameters of the isotoped-labelled bile acids.

Supplementary Table 6. General characteristics of the study population.

Supplementary Table 7. Plasma levels of the 27 bile acids in study participants.

Supplementary Table 8. Fecal levels of the 30 bile acids in study participants.

Supplementary Table 9. Urine levels of the 21 bile acids in study participants.

Supplementary Figure 1. The validation of the OPLS-DA models. The ROC analyses of the binary classifier of the OPLS-DA models in the (A) plasma, (B) feces and (C) urine. The permutation plots of the OPLS-DA models in the (D) plasma, (E) feces and (F) urine. The permutation indicates the correlation coefficient between the original R2(green dots), Q2 (blue dots), and cumulative R2, Y2; the dashed lines represent the corresponding regression lines. The number of random permutation tests for each plot was 200. OPLS-DA: Orthogonal partial-least-squares discriminant analysis; ROC: receiver operator characteristic; AUC: area under the ROC curve; TPR: ture positive rate; FPR: false positive rate.

Supplementary Table 1. The standard compounds of bile acids in our project.

| MS No.* | BAs | Abbr. | HMDB ID | CAS No. |
| --- | --- | --- | --- | --- |
| 1 | Cholic acid | CA | HMDB00619 | 81-25-4 |
| 2 | Chenodeoxycholic acid-3-β-D-glucuronide | CDCA-3Gln | HMDB02430 | 58814-71-4 |
| 3 | Glycochenodeoxycholic acid | GCDCA | HMDB00637 | 640-79-9 |
| 4 | Glycoursodeoxycholic acid | GUDCA | HMDB00708 | 64480-66-6 |
| 5 | Glycocholic acid | GCA | HMDB00138 | 475-31-0 |
| 6 | Glycolithocholic acid | GLCA | HMDB00698 | 474-74-8 |
| 7 | Taurochenodeoxycholic acid | TCDCA | HMDB00951 | 516-35-8 |
| 8 | Chenodeoxycholic acid | CDCA | HMDB00518 | 474-25-9 |
| 9 | Lithocholic acid | LCA | HMDB00761 | 434-13-9 |
| 10 | Taurocholic acid | TCA | HMDB00036 | 81-24-3 |
| 11 | 3β-Ursodeoxycholic Acid | 3β-UDCA | HMDB00686 | 78919-26-3 |
| 12 | 3β-deoxycholic acid | 3β-DCA | HMDB00438 | 570-63-8 |
| 13 | Glycohyocholic acid | GHCA | HMDB0240607 | 32747-08-3 |
| 14 | 3β-Cholic Acid | 3β-CA | HMDB00419 | 3338-16-7 |
| 15 | Glycolithocholic acid-3-sulfate | GLCA-3S | HMDB02639 | 15324-64-8 |
| 16 | Glycodeoxycholic acid | GDCA | HMDB00631 | 360-65-6 |
| 17 | Deoxycholic acid | DCA | HMDB00626 | 83-44-3 |
| 18 | Ursodeoxycholic acid | UDCA | HMDB00946 | 128-13-2 |
| 19 | Taurodeoxycholic acid | TDCA | HMDB00896 | 516-50-7 |
| 20 | Hyocholic acid | HCA | HMDB00760 | 547-75-1 |
| 21 | Norcholic acid | NCA | HMDB0255727 | 60696-62-0 |
| 22 | Taurolithocholic acid-3-sulfate | TLCA-3S | HMDB02580 | 15324-65-9 |
| 23 | Tauroursodeoxycholic acid | TUDCA | HMDB00874 | 14605-22-2 |
| 24 | Lithocholic acid-3-sulfate | LCA-3S | HMDB0000907 | 34669-57-3 |
| 25 | Isolithocholic acid | ILCA | HMDB00717 | 1534-35-6 |
| 26 | 3-oxodeoxycholic acid | 3-oxo-DCA | HMDB62742 | 4185-01-7 |
| 27 | Tauro-β-muricholic acid | Tβ-MCA | HMDB00932 | 25696-60-0 |
| 28 | ω-muricholic acid | ω-MCA | HMDB0000364 | 6830-03-1 |
| 29 | 7-ketolithocholic acid | 7-KLCA | HMDB00467 | 4651-67-6 |
| 30 | Taurolithocholic acid | TLCA | HMDB00722 | 516-90-5 |
| 31 | 7-Ketodeoxycholic acid | 7-KDCA | HMDB00391 | 911-40-0 |
| 32 | Ursocholic acid | UCA | HMDB00917 | 2955-27-3 |
| 33 | Dehydrocholic acid | DHCA | HMDB0304121 | 81-23-2 |
| 34 | Taurohyocholic acid | THCA | HMDB11637 | 117997-17-8 |
| 35 | 12-ketolithocholic acid | 12-KLCA | HMDB00328 | 5130-29-0 |
| 36 | 3-Oxocholic acid | 3-oxo-CA | HMDB00502 | 2304-89-4 |
| 37 | 12-Oxochenodeoxycholic acid | 12-oxo-CDCA | HMDB0000400 | 2458-08-4 |
| 38 | β-muricholic acid | β-MCA | HMDB00415 | 2393-59-1 |
| 39 | Nor-Deoxycholic Acid | 23-DCA | / | 53608-86-9 |
| 40 | β-Hyodeoxycholic Acid | 3β-HDCA | HMDB00664 | 570-84-3 |
| 41 | Dehydrolithocholic acid | DLCA | / | 1553-56-6 |
| 42 | Isoallolithocholic acid | IALCA | HMDB0000713 | 2276-93-9 |
| 43 | 6,7-diketolithocholic acid | 6,7-DKLCA | / | 1643669-23-1 |
| 44 | 7,12-diketolithocholic acid | 7,12-DKLCA | / | 517-33-9 |
| 45 | Glycodehydrocholic acid | GDHCA | / | 3415-45-0 |
| 46 | Hyodeoxycholic acid | HDCA | HMDB0000733 | 83-49-8 |
| 47 | Isodeoxycholic acid | IDCA | HMDB0002536 | 566-17-6 |
| 48 | Murideoxycholic acid | MDCA | HMDB0000811 | 668-49-5 |
| 49 | Taurodehydrocholic acid | TDHCA | HMDB0258743 | / |
| 50 | α-muricholic acid | α-MCA | HMDB0000506 | 2393-58-0 |

*MS No. corresponds to the chromatogram shown in Figure 1A. MS, mass spectrometry; BAs, bile acids; Abbr, abbreviation. HMDB, Human Metabolome Database.

Supplementary Table 2. Gradient program of the liquid chromatography mobile phase.

| Total time (min) | Flow rate (μL/min) | Aa (v/v, %) | Bb (v/v, %) |
| --- | --- | --- | --- |
| 0.0 | 350 | 95 | 5 |
| 0.5 | 350 | 60 | 40 |
| 4.5 | 350 | 50 | 50 |
| 7.5 | 350 | 25 | 75 |
| 10.0 | 350 | 5 | 95 |
| 12.0 | 350 | 5 | 95 |
| 14.0 | 350 | 95 | 5 |

aSolvent A, water containing 0.01% acetic acid (v/v) and 5 mmol/L ammonium acetate; bSolvent B, acetonitrile with 0.01% acetic acid (v/v). Temperature, 40℃; injection volume, 3 μL.

Supplementary Table 3. The optimized mass spectrometry conditions for the detection of bile acids.

| Item | Parameter |
| --- | --- |
| Capillary voltage | 4500V in the positive ion mode |
| Source temperature | 550 °C |
| Curtain gas | 30 psi |
| Collision gas | 10 psi |
| Pressure for nebulization gas | 40 psi |
| Evaporization gas | 40 psi |
| Entrance potential | 50 V |
| Collision cell exit | 10 V |

Supplementary Table 4. The mass spectrometry parameters of the bile acids.

| MS No.* | BAs | MRM transition | DP (V) | CE (V) | Range (mg/L) |  | Plasma |  |  | Urine |  |  | Feces |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | RT (min) | Linearity (R2) |  | RT (min) | Linearity (R2) |  | RT (min) | Linearity (R2) |
| 1 | CA | 407.4→407.4 | 6 | 12 | 4-2000 |  | 8.59 | 0.99919 |  | 8.62 | 0.99299 |  | 8.62 | 0.99960 |
| 2 | CDCA-3Gln | 567.3→567.3 | 30 | 36 | 20-2000 |  | 4.95 | 0.99845 |  | 5.13 | 0.99408 |  | 5.19 | 0.99848 |
| 3 | GCDCA | 448.3→74 | 30 | 84 | 8-2000 |  | 6.33 | 0.99983 |  | 6.45 | 0.99601 |  | 6.64 | 0.99929 |
| 4 | GUDCA | 448.3→73.8 | 20 | 87 | 8-2000 |  | 3.38 | 0.99951 |  | 3.47 | 0.99744 |  | 3.49 | 0.99973 |
| 5 | GCA | 464.3→464.3 | 44 | 12 | 8-2000 |  | 3.45 | 0.99897 |  | 3.57 | 0.99798 |  | 3.58 | 0.99978 |
| 6 | GLCA | 432.3→74 | 22 | 79 | 4-2000 |  | 9.56 | 0.99350 |  | 9.56 | 0.99882 |  | 9.66 | 0.99586 |
| 7 | TCDCA | 498.3→79.8 | 45 | 147 | 8-2000 |  | 5.25 | 0.99971 |  | 5.44 | 0.99302 |  | 5.33 | 0.99725 |
| 8 | CDCA | 391.3→391.3 | 43 | 15 | 8-2000 |  | 10.13 | 0.99800 |  | 10.14 | 0.99359 |  | 10.14 | 0.99919 |
| 9 | LCA | 375.3→375.3 | 96 | 11 | 8-2000 |  | 11.13 | 0.99201 |  | 11.14 | 0.99879 |  | 11.12 | 0.99650 |
| 10 | TCA | 514.3→79.8 | 67 | 139 | 8-2000 |  | 3.00 | 0.99954 |  | 3.16 | 0.99952 |  | 3.04 | 0.99990 |
| 11 | 3β-UDCA | 391.3→391.3 | 43 | 15 | 4-2000 |  | 8.53 | 0.99910 |  | 8.49 | 0.99637 |  | 8.48 | 0.99378 |
| 12 | 3β-DCA | 391.3→391.3 | 43 | 15 | 2-2000 |  | 9.57 | 0.99982 |  | 9.55 | 0.99902 |  | 9.55 | 0.99696 |
| 13 | GHCA | 464.3→464.3 | 61 | 10 | 8-2000 |  | 2.64 | 0.99734 |  | 2.73 | 0.99512 |  | 2.72 | 0.99886 |
| 14 | 3β-CA | 407.4→407.4 | 40 | 20 | 4-2000 |  | 5.73 | 0.99969 |  | 5.76 | 0.99434 |  | 5.74 | 0.99866 |
| 15 | GLCA-3S | 512.3→512.3 | 45 | 11 | 8-2000 |  | 4.41 | 0.99913 |  | 4.57 | 0.99948 |  | 4.71 | 0.99959 |
| 16 | GDCA | 448.3→73.8 | 54 | 77 | 8-2000 |  | 7.08 | 0.99978 |  | 7.22 | 0.99957 |  | 7.42 | 0.99999 |
| 17 | DCA | 391.3→391.3 | 20 | 11 | 4-2000 |  | 10.26 | 0.99993 |  | 10.27 | 0.99877 |  | 10.26 | 0.99919 |
| 18 | UDCA | 391.3→391.3 | 11 | 16 | 8-2000 |  | 8.90 | 0.99782 |  | 8.88 | 0.99943 |  | 8.88 | 0.99123 |
| 19 | TDCA | 498.3→79.8 | 45 | 144 | 4-2000 |  | 5.96 | 0.99985 |  | 6.15 | 0.99166 |  | 6.07 | 0.99723 |
| 20 | HCA | 407.4→407.4 | 45 | 12 | 8-2000 |  | 7.90 | 0.99814 |  | 7.93 | 0.99113 |  | 7.91 | 0.99721 |
| 21 | NCA | 393.3→393.3 | 20 | 7 | 8-2000 |  | 5.99 | 0.99912 |  | 6.03 | 0.99270 |  | 6.02 | 0.99679 |
| 22 | TLCA-3S | 281.1→96.9 | 55 | 34 | 8-2000 |  | 2.99 | 0.99779 |  | 3.11 | 0.99375 |  | 2.97 | 0.99683 |
| 23 | TUDCA | 498.3→79.8 | 45 | 143 | 4-2000 |  | 2.82 | 0.99961 |  | 2.97 | 0.99894 |  | 2.86 | 0.99985 |
| 24 | LCA-3S | 455.3→97 | 52 | 105 | 8-2000 |  | 2.99 | 0.99779 |  | 9.17 | 0.99367 |  | 9.16 | 0.99880 |
| 25 | ILCA | 375.3→375.3 | 54 | 19 | 2-2000 |  | 10.87 | 0.99681 |  | 10.84 | 0.99894 |  | 10.83 | 0.99923 |
| 26 | 3-oxo-DCA | 389.3→345.3 | 40 | 37 | 8-2000 |  | 10.27 | 0.99942 |  | 10.28 | 0.99710 |  | 10.28 | 0.99973 |
| 27 | Tβ-MCA | 514.3→79.8 | 67 | 139 | 8-2000 |  | 1.90 | 0.99900 |  | 2.01 | 0.99724 |  | 1.90 | 0.99967 |
| 28 | ω-MCA | 407.4→407.4 | 58 | 10 | 8-2000 |  | 5.52 | 0.99958 |  | 5.53 | 0.99248 |  | 5.49 | 0.99947 |
| 29 | 7-KLCA | 389.3→389.3 | 22 | 18 | 8-2000 |  | 9.56 | 0.99834 |  | 9.56 | 0.99587 |  | 9.55 | 0.99750 |
| 30 | TLCA | 482.3→482.3 | 36 | 10 | 4-2000 |  | 8.73 | 0.99927 |  | 8.80 | 0.99556 |  | 8.78 | 0.99896 |
| 31 | 7-KDCA | 405.3→405.3 | 40 | 10 | 8-2000 |  | 6.33 | 0.99942 |  | 6.39 | 0.99557 |  | 6.39 | 0.99813 |
| 32 | UCA | 407.4→407.4 | 49 | 18 | 4-2000 |  | 4.23 | 0.99958 |  | 4.27 | 0.99815 |  | 4.22 | 0.99916 |
| 33 | DHCA | 401.3→401.3 | 61 | 11 | 8-2000 |  | 5.39 | 0.99942 |  | 5.41 | 0.99053 |  | 5.39 | 0.99960 |
| 34 | THCA | 514.3→79.8 | 67 | 139 | 8-2000 |  | 2.29 | 0.99981 |  | 2.41 | 0.99389 |  | 2.30 | 0.99975 |
| 35 | 12-KLCA | 389.3→389.3 | 22 | 16 | 8-2000 |  | 9.73 | 0.99902 |  | 9.73 | 0.99279 |  | 9.73 | 0.99853 |
| 36 | 3-oxo-CA | 405.3→405.3 | 16 | 9 | 8-2000 |  | 8.41 | 0.99933 |  | 8.45 | 0.99770 |  | 8.45 | 0.99816 |
| 37 | 12-oxo-CDCA | 405.3→405.3 | 60 | 11 | 8-2000 |  | 6.49 | 0.99918 |  | 6.55 | 0.99634 |  | 6.53 | 0.99770 |
| 38 | β-MCA | 407.4→407.4 | 40 | 20 | 4-2000 |  | 6.66 | 0.99964 |  | 6.64 | 0.99316 |  | 6.63 | 0.99773 |
| 39 | 23-DCA | 377.3→377.3 | 86 | 13 | 8-2000 |  | 9.65 | 0.99877 |  | 9.66 | 0.99684 |  | 9.65 | 0.99627 |
| 40 | 3β-HDCA | 391.3→391.3 | 25 | 11 | 8-2000 |  | 8.73 | 0.99947 |  | 8.69 | 0.99868 |  | 8.69 | 0.99995 |
| 41 | DLCA | 373.3→373.3 | 70 | 11 | 2-2000 |  | 11.21 | 0.99422 |  | 11.21 | 0.99089 |  | 11.20 | 0.99531 |
| 42 | IALCA | 376.3→59.0 | -96 | -11 | 8-2000 |  | 10.79 | 0.99642 |  | 10.75 | 0.99986 |  | 10.74 | 0.99796 |
| 43 | 6,7-DKLCA | 403.3→347.2 | -46 | -9 | 8-2000 |  | 9.67 | 0.99930 |  | 9.66 | 0.99258 |  | 9.66 | 0.99897 |
| 44 | 7,12-DKLCA | 403.3→385.2 | -46 | -9 | 8-2000 |  | 4.70 | 0.99834 |  | 4.73 | 0.99384 |  | 4.70 | 0.99927 |
| 45 | GDHCA | 458.3→74.0 | -18 | -83 | 8-2000 |  | 2.02 | 0.99614 |  | 2.11 | 0.99869 |  | 2.06 | 0.99911 |
| 46 | HDCA | 391.3→391.3 | -45 | -15 | 4-2000 |  | 8.98 | 0.99312 |  | 10.86 | 0.99822 |  | 8.98 | 0.99551 |
| 47 | IDCA | 391.3→391.3 | -20 | -11 | 4-2000 |  | 10.87 | 0.99624 |  | 10.86 | 0.99902 |  | 10.85 | 0.99939 |
| 48 | MDCA | 391.3→391.3 | -60 | -13 | 8-2000 |  | 8.36 | 0.99668 |  | 8.30 | 0.99654 |  | 8.30 | 0.99445 |
| 49 | TDHCA | 508.3→508.3 | -40 | -13 | 8-2000 |  | 1.84 | 0.99943 |  | 1.95 | 0.99622 |  | 1.85 | 0.99963 |
| 50 | α-MCA | 407.4→405.3 | -45 | -12 | 8-2000 |  | 6.06 | 0.99883 |  | 6.02 | 0.99660 |  | 6.01 | 0.99967 |

*MS No. corresponds to the chromatogram shown in Figure 1A. MS, mass spectrometry; BAs, bile acids; MRM, multiple reaction monitoring; DP, declustering potential; CE, collision energy; RT, retention time.

Supplementary Table 5. The mass spectrometry parameters of the isotoped-labelled bile acids.

| Compound | Abbreviation | DP (V) | CE (V) |
| --- | --- | --- | --- |
| Lithocholic acid-d4 | LCA-d4 | -60 | -12 |
| Chenodeoxycholic acid-d4 | CDCA-d4 | -50 | -12 |
| Deoxycholic acid-d4 | DCA-d4 | -67 | -9 |
| Cholic acid-d4 | CA-d4 | -19 | -10 |
| Glycolithocholic acid-d4 | GLCA-d4 | -25 | -85 |
| Glycochenodeoxycholic acid-d4 | GCDCA-d4 | -70 | -90 |
| Glycodeoxycholic acid-d4 | GDCA-d4 | -70 | -87 |
| Tauroursodeoxycholic-2,2,3,4,4-d5 Acid | TUDCA-d5 | -66 | -162 |
| Taurocholic acid-d4 | TCA-d4 | -29 | -124 |

DP, declustering potential; CE, collision energy

Supplementary Table 6. General characteristics of the study population

|  | CON (n=30) | T2DM (n=30) | DKD (n=30) | P |
| --- | --- | --- | --- | --- |
| Age, years | 58.50 ± 4.32 | 60.30 ± 7.04 | 60.37 ± 6.27 | 0.40 |
| Male/Female, n | 18/12 | 18/12 | 21/9 | 0.65 |
| Hb, g/L | 144.5 ± 8.6 | 130.6 ± 15.0 | 99.3 ± 21.7 | <0.01 |
| Glu, mM | 4.70 ± 0.50 | 9.08 ± 2.59 | 6.29 ± 2.83 | <0.01 |
| Alb, g/L | 47.96 ± 3.31 | 40.41 ± 4.51 | 35.28 ± 7.69 | <0.01 |
| Scr,mg/dL | 0.74 ± 0.11 | 0.74 ± 0.18 | 4.67 ± 3.14 | <0.01 |
| TC, mM | 4.40 ± 0.53 | 4.20 ± 1.13 | 5.06 ± 1.46 | <0.01 |
| TG, mM | 1.01 ± 0.36 | 1.82 ± 1.06 | 1.55 ± 0.85 | <0.01 |
| LDL-C, mM | 2.07 ± 0.68 | 2.60 ± 0.78 | 3.13 ± 1.49 | <0.01 |
| HDL-C, mM | 1.36 ± 0.42 | 1.84 ± 1.44 | 1.17 ± 0.37 | 0.59 |
| PTH, pg/mL | / | 31.07 ± 15.13 | 116.3 ± 85.5 | <0.01 |
| HbAlc, % | / | 6.72 ± 0.03 | 9.62 ± 2.02 | <0.01 |
| Urinary protein, g/24h | / | 0.11 ± 0.03 | 4.66 ± 3.10 | <0.01 |
| Urinary albumin, Mg/24h | / | 16.28 ± 11.50 | 2365.97 ± 1847.57 | <0.01 |
| eGFR, mL/min/1.73m2 | 105.23 ± 15.19 | 96.27 ± 12.52 | 31.08 ± 30.20 | <0.01 |
| Comorbidity |  |  |  |  |
| CAD, n | / | 8 | 14 | 0.18 |
| HTN, n | / | 16 | 18 | 0.80 |
| DR, n | / | 11 | 11 | 1.00 |
| DPN, n | / | 3 | 14 | <0.01 |

PTH, HbAlc,24-hours urinary protein and 24-hours urinary albumin were not tested for healthy subjects in regular health examination. Continuous variables are presented as mean ± standard deviation and were compared with the Student’s t test. Categorical variables were compared by Fisher’s exact test and presented as counts. Hb, hemoglobin; Glu, glucose; Alb, albumin; TC, total cholesterol; TG, triglyceride; LDL-C, low density lipoprotein cholesterol; HDL-C, high density lipoprotein cholesterol; PTH, parathyroid hormone; HbAlc, glycated hemoglobin; UAER, urinary albumin excretion rate; eGFR, estimated glomerular filtration rate; CAD, coronary artery disease; HTN, hypertension; DR, diabetic retinopathy; DPN, diabetic peripheral neuropathy; CON, healthy subjects; T2DM, type 2 diabetes mellitus; DKD, diabetic kidney disease.

Supplementary Table 7. Plasma levels of the 27 bile acids in study participants.

| BA (mg/L) | CON (n=30) | T2DM (n=30) | DKD (n=30) | F* | P# | DKD vs CON |  |  | DKD vs T2DM |  |  | DKD vs T2DM + CON |  |  | DKD + T2DM vs CON |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | VIP | P& |  | VIP | P& |  | VIP | P& |  | VIP | P& |
| CA | 43.65 ± 31.27 | 41.01 ± 25.82 | 45.92 ± 17.09 | 0.28 | 0.75 | 0.47 | 0.73 |  | 0.54 | 0.39 |  | 0.62 | 0.53 |  | 0.30 | 0.97 |
| CDCA-3Gln | 13.75 ± 11.77 | 29.77 ± 27.87 | 34.57 ± 17.77 | 8.69 | <0.01 | 1.40 | <0.01 |  | 0.91 | 0.43 |  | 0.99 | <0.01 |  | 1.12 | <0.01 |
| GCDCA | 263.98 ± 138.47 | 405.60 ± 193.47 | 1085.73 ± 531.47 | 51.23 | <0.01 | 1.77 | <0.01 |  | 1.89 | <0.01 |  | 2.04 | <0.01 |  | 1.69 | <0.01 |
| GUDCA | 24.49 ± 13.22 | 23.22 ± 18.14 | 32.09 ± 18.54 | 2.44 | 0.09 | 0.89 | 0.07 |  | 0.89 | 0.07 |  | 0.86 | 0.03 |  | 0.88 | 0.41 |
| GCA | 53.56 ± 29.50 | 73.06 ± 32.82 | 155.71 ± 85.80 | 28.43 | <0.01 | 1.68 | <0.01 |  | 1.70 | <0.01 |  | 1.88 | <0.01 |  | 1.70 | <0.01 |
| GLCA | 7.15 ± 5.24 | 7.54 ± 4.78 | 6.98 ± 3.76 | 0.12 | 0.89 | 0.55 | 0.88 |  | 0.65 | 0.62 |  | 0.65 | 0.72 |  | 0.44 | 0.92 |
| TCDCA | 40.47 ± 23.04 | 83.31 ± 44.61 | 72.05 ± 41.13 | 10.54 | <0.01 | 1.31 | <0.01 |  | 0.92 | 0.31 |  | 0.96 | 0.27 |  | 1.38 | <0.01 |
| CDCA | 673.56 ± 263.11 | 635.52 ± 263.38 | 609.90 ± 259.10 | 0.45 | 0.64 | 0.51 | 0.35 |  | 0.55 | 0.71 |  | 0.44 | 0.45 |  | 0.39 | 0.39 |
| LCA | 6.43 ± 3.45 | 7.56 ± 3.51 | 7.43 ± 3.68 | 0.90 | 0.41 | 0.62 | 0.29 |  | 0.74 | 0.89 |  | 0.59 | 0.59 |  | 0.37 | 0.18 |
| TCA | 7.08 ± 5.87 | 10.52 ± 6.01 | 21.40 ± 11.97 | 23.51 | <0.01 | 1.50 | <0.01 |  | 1.60 | <0.01 |  | 1.71 | <0.01 |  | 1.42 | <0.01 |
| 3β-UDCA | 83.69 ± 40.16 | 91.89 ± 36.69 | 79.75 ± 46.22 | 0.68 | 0.51 | 0.28 | 0.73 |  | 0.51 | 0.26 |  | 0.42 | 0.38 |  | 0.06 | 0.82 |
| 3β-DCA | 39.29 ± 24.37 | 61.48 ± 23.37 | 57.71 ± 28.11 | 6.57 | <0.01 | 0.89 | <0.01 |  | 0.19 | 0.57 |  | 0.51 | 0.23 |  | 1.08 | <0.01 |
| GHCA | 3.16 ± 2.32 | 8.90 ± 3.61 | 15.17 ± 7.24 | 45.94 | <0.01 | 1.77 | <0.01 |  | 1.52 | <0.01 |  | 1.84 | <0.01 |  | 1.92 | <0.01 |
| 3β-CA | 3.81 ± 2.64 | 3.36 ± 3.15 | 3.83 ± 2.38 | 0.28 | 0.76 | 0.42 | 0.97 |  | 0.59 | 0.52 |  | 0.58 | 0.69 |  | 0.60 | 0.73 |
| GLCA-3S | 168.36 ± 93.76 | 192.86 ± 84.46 | 159.75 ± 79.47 | 1.19 | 0.31 | 0.84 | 0.70 |  | 0.90 | 0.12 |  | 0.86 | 0.28 |  | 0.33 | 0.68 |
| GDCA | 227.24 ± 95.40 | 153.25 ± 62.72 | 200.66 ± 114.12 | 4.85 | 0.01 | 0.89 | 0.33 |  | 1.08 | 0.05 |  | 0.68 | 0.63 |  | 1.25 | 0.02 |
| DCA | 161.30 ± 89.50 | 208.34 ± 76.27 | 153.81 ± 103.54 | 3.20 | 0.05 | 0.39 | 0.77 |  | 1.03 | 0.02 |  | 0.59 | 0.14 |  | 0.27 | 0.34 |
| UDCA | 68.42 ± 47.46 | 91.17 ± 35.94 | 58.87 ± 45.22 | 4.44 | 0.02 | 0.38 | 0.43 |  | 1.39 | 0.01 |  | 0.91 | 0.04 |  | 0.24 | 0.51 |
| TDCA | 27.33 ± 14.22 | 15.07 ± 9.22 | 19.07 ± 14.48 | 7.08 | <0.01 | 0.86 | 0.03 |  | 0.79 | 0.21 |  | 0.28 | 0.49 |  | 1.30 | <0.01 |
| HCA | 9.51 ± 5.29 | 10.87 ± 4.94 | 10.85 ± 7.73 | 0.49 | 0.62 | 0.87 | 0.44 |  | 0.80 | 0.99 |  | 0.86 | 0.63 |  | 0.78 | 0.32 |
| NCA | 5.23 ± 2.47 | 3.10 ± 1.75 | 2.75 ± 1.75 | 13.33 | <0.01 | 1.30 | <0.01 |  | 0.58 | 0.45 |  | 0.98 | <0.01 |  | 1.59 | <0.01 |
| TLCA-3S | 31.52 ± 25.33 | 26.14 ± 15.20 | 35.73 ± 20.87 | 1.59 | 0.21 | 0.59 | 0.49 |  | 1.01 | 0.05 |  | 0.68 | 0.14 |  | 0.67 | 0.90 |
| TUDCA | 0.9 ± 0.88 | 1.07 ± 0.77 | 1.49 ± 1.24 | 2.84 | 0.06 | 0.91 | 0.04 |  | 1.01 | 0.12 |  | 0.98 | 0.02 |  | 0.98 | 0.09 |
| LCA-3S | 5.63 ± 4.62 | 6.89 ± 3.75 | 5.58 ± 3.39 | 1.05 | 0.35 | 0.50 | 0.97 |  | 0.91 | 0.16 |  | 0.76 | 0.45 |  | 0.36 | 0.50 |
| ILCA | 20.62 ± 11.84 | 21.46 ± 11.54 | 23.30 ± 8.24 | 0.50 | 0.61 | 0.69 | 0.31 |  | 0.51 | 0.48 |  | 0.59 | 0.34 |  | 0.34 | 0.46 |
| 3-oxo-DCA | 4.54 ± 2.92 | 5.79 ± 2.49 | 5.46 ± 3.81 | 1.30 | 0.28 | 1.98 | 0.30 |  | 0.64 | 0.69 |  | 0.73 | 0.68 |  | 0.55 | 0.12 |
| Tβ-MCA | 1.34 ± 0.99 | 1.87 ± 1.49 | 2.76 ± 2.33 | 5.43 | <0.01 | 1.07 | <0.01 |  | 0.94 | 0.08 |  | 1.08 | <0.01 |  | 0.97 | 0.01 |

Data represent mean ± standard error of mean. F* values and	P# values were determined by one-way analysis of variance. VIP values were determined based on orthogonal partical least squares discriminant analysis. P& values were determined by Student’s t-test. CON, healthy controls; T2DM, type 2 diabetes mellitus; DKD, diabetic kidney disease; VIP, variable importance in projection.

Supplementary Table 8. Fecal levels of the 30 bile acids in study participants.

| BA (mg/L) | CON (n=30) | T2DM (n=30) | DKD (n=30) | F* | P# | DKD vs CON |  |  | DKD vs T2DM |  |  | DKD vs T2DM + CON |  |  | DKD + T2DM vs CON |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | VIP | P& |  | VIP | P& |  | VIP | P& |  | VIP | P& |
| CA | 4611.85 ± 2721.30 | 15182.47 ± 11705.39 | 7221.85 ± 6732.36 | 14.38 | <0.01 | 0.88 | 0.05 |  | 1.20 | <0.01 |  | 0.74 | 0.19 |  | 1.44 | <0.01 |
| CDCA-3Gln | 72.02 ± 45.97 | 51.05 ± 22.83 | 152.01 ± 87.06 | 25.01 | <0.01 | 1.26 | <0.01 |  | 1.80 | <0.01 |  | 1.71 | <0.01 |  | 0.81 | 0.07 |
| DCA | 52664.56 ± 15241.21 | 48603.14 ± 19100.67 | 55247.15 ± 16308.46 | 1.17 | 0.32 | 0.39 | 0.53 |  | 0.83 | 0.15 |  | 0.65 | 0.23 |  | 0.53 | 0.85 |
| GCDCA | 1077.62 ± 685.46 | 948.16 ± 640.34 | 903.88 ± 306.68 | 0.75 | 0.47 | 0.34 | 0.21 |  | 0.12 | 0.73 |  | 0.23 | 0.39 |  | 0.57 | 0.23 |
| GLCA | 13.06 ± 7.89 | 10.32 ± 5.39 | 40.31 ± 19.09 | 54.15 | <0.01 | 1.64 | <0.01 |  | 2.02 | <0.01 |  | 2.05 | <0.01 |  | 1.20 | <0.01 |
| GUDCA | 126.67 ± 78.73 | 99.26 ± 86.79 | 75.87 ± 43.89 | 3.72 | 0.023 | 0.97 | <0.01 |  | 0.42 | 0.19 |  | 0.66 | 0.02 |  | 1.08 | 0.02 |
| LCA | 95309.04 ± 37516.07 | 98729.94 ± 57145.56 | 108151.36 ± 47689.32 | 0.57 | 0.57 | 0.84 | 0.25 |  | 0.82 | 0.49 |  | 0.89 | 0.30 |  | 0.74 | 0.45 |
| NCA | 193.36 ± 103.75 | 195.84 ± 126.32 | 235.61 ± 114.85 | 1.27 | 0.29 | 0.38 | 0.14 |  | 0.71 | 0.21 |  | 0.59 | 0.11 |  | 0.47 | 0.39 |
| GCA | 1296.66 ± 805.25 | 335.95 ± 228.00 | 1021.70 ± 655.31 | 19.50 | <0.01 | 0.39 | 0.15 |  | 1.69 | <0.01 |  | 0.43 | 0.21 |  | 1.27 | <0.01 |
| 7-KDCA | 38527.26 ± 30870.80 | 40737.28 ± 29136.82 | 103307.20 ± 55497.05 | 24.94 | <0.01 | 1.44 | <0.01 |  | 1.46 | <0.01 |  | 1.70 | <0.01 |  | 1.23 | <0.01 |
| TCA | 1162.85 ± 652.08 | 875.82 ± 582.98 | 702.75 ± 611.91 | 4.27 | 0.02 | 0.87 | <0.01 |  | 0.60 | 0.27 |  | 0.77 | 0.03 |  | 1.04 | <0.01 |
| CDCA | 43056.54 ± 18770.25 | 63626.02 ± 56022.14 | 13246.16 ± 11102.97 | 15.98 | <0.01 | 1.70 | <0.01 |  | 1.38 | <0.01 |  | 1.25 | <0.01 |  | 0.76 | 0.61 |
| GDCA | 615.95 ± 464.10 | 574.51 ± 531.92 | 737.25 ± 507.05 | 0.98 | 0.38 | 0.46 | 0.34 |  | 0.79 | 0.19 |  | 0.68 | 0.18 |  | 0.47 | 0.71 |
| LCA-3S | 379.21 ± 171.06 | 818.22 ± 801.01 | 1256.54 ± 1049.71 | 9.77 | <0.01 | 1.22 | <0.01 |  | 0.89 | 0.07 |  | 1.11 | <0.01 |  | 1.13 | <0.01 |
| ω-MCA | 164.89 ± 78.03 | 178.39 ± 118.65 | 319.66 ± 163.41 | 14.11 | <0.01 | 1.29 | <0.01 |  | 1.21 | <0.01 |  | 1.39 | <0.01 |  | 1.00 | <0.01 |
| 3-oxo-DCA | 16139.32 ± 7421.17 | 19779.12 ± 11628.37 | 20748.07 ± 10203.52 | 1.81 | 0.17 | 0.59 | 0.05 |  | 0.65 | 0.73 |  | 0.55 | 0.21 |  | 0.42 | 0.06 |
| TCDCA | 171.11 ± 106.81 | 109.49 ± 84.82 | 114.23 ± 77.07 | 4.31 | 0.02 | 1.08 | 0.02 |  | 0.71 | 0.82 |  | 0.87 | 0.22 |  | 1.26 | <0.01 |
| 3β-HDCA | 191.98 ± 144.51 | 183.28 ± 135.83 | 348.19 ± 270.37 | 6.89 | <0.01 | 0.94 | <0.01 |  | 0.98 | <0.01 |  | 1.12 | <0.01 |  | 0.75 | 0.11 |
| 7-KLCA | 4611.21 ± 4043.69 | 8483.23 ± 7126.12 | 7508.54 ± 6417.21 | 3.37 | 0.04 | 1.06 | 0.04 |  | 0.91 | 0.58 |  | 0.95 | 0.49 |  | 1.25 | 0.01 |
| TUDCA | 70.97 ± 51.76 | 44.48 ± 30.62 | 36.39 ± 25.82 | 6.87 | <0.01 | 1.12 | <0.01 |  | 0.94 | 0.27 |  | 1.01 | 0.02 |  | 1.32 | <0.01 |
| HCA | 1156.53 ± 877.40 | 905.55 ± 731.95 | 888.93 ± 597.12 | 1.22 | 0.30 | 0.98 | 0.17 |  | 0.65 | 0.92 |  | 0.83 | 0.40 |  | 0.84 | 0.12 |
| TDCA | 134.07 ± 87.74 | 36.57 ± 24.20 | 47.01 ± 27.09 | 28.61 | <0.01 | 1.49 | <0.01 |  | 0.62 | 0.12 |  | 0.85 | 0.01 |  | 2.09 | <0.01 |
| 3β-UDCA | 1776.54 ± 1251.28 | 1928.22 ± 1251.04 | 1329.17 ± 863.89 | 2.25 | 0.11 | 0.89 | 0.11 |  | 0.76 | 0.04 |  | 0.77 | 0.04 |  | 0.77 | 0.57 |
| HDCA | 5493.18 ± 4131.89 | 5093.51 ± 3425.94 | 5022.03 ± 4777.08 | 0.11 | 0.89 | 0.27 | 0.68 |  | 0.26 | 0.95 |  | 0.30 | 0.77 |  | 0.27 | 0.64 |
| 12-KLCA | 13228.55 ± 5527.96 | 15402.36 ± 8643.69 | 19182.53 ± 7996.58 | 4.83 | 0.01 | 0.99 | <0.01 |  | 0.73 | 0.08 |  | 0.90 | <0.01 |  | 0.82 | 0.02 |
| 3β-DCA | 25384.85 ± 10866.69 | 25312.24 ± 13888.00 | 30018.34 ± 13929.48 | 1.30 | 0.28 | 0.59 | 0.16 |  | 0.79 | 0.20 |  | 0.76 | 0.11 |  | 0.53 | 0.44 |
| DLCA | 17395.63 ± 8921.48 | 18570.20 ± 10800.55 | 21538.14 ± 9473.92 | 1.43 | 0.24 | 0.65 | 0.09 |  | 0.56 | 0.26 |  | 0.69 | 0.11 |  | 0.70 | 0.23 |
| ILCA | 19920.83 ± 14343.77 | 31323.98 ± 23432.18 | 55493.68 ± 34326.76 | 15.36 | <0.01 | 1.51 | <0.01 |  | 1.19 | <0.01 |  | 1.49 | <0.01 |  | 1.46 | <0.01 |
| IALCA | 2234.76 ± 1841.70 | 1720.89 ± 1234.92 | 2348.14 ± 1955.97 | 1.15 | 0.32 | 0.67 | 0.82 |  | 0.74 | 0.14 |  | 0.63 | 0.34 |  | 0.64 | 0.60 |
| MDCA | 109.49 ± 57.05 | 86.81 ± 56.09 | 105.02 ± 77.93 | 1.04 | 0.36 | 0.63 | 0.80 |  | 0.77 | 0.30 |  | 0.78 | 0.64 |  | 0.81 | 0.35 |

Data represent mean ± standard error of mean. F* values and	P# values were determined by one-way analysis of variance. VIP values were determined based on orthogonal partical least squares discriminant analysis. P& values were determined by Student’s t-test. CON, healthy controls; T2DM, type 2 diabetes mellitus; DKD, diabetic kidney disease; VIP, variable importance in projection.

| BA (mg/L) | CON (n=30) | T2DM (n=30) | DKD (n=30) | F* | P# | DKD vs CON |  |  | DKD vs T2DM |  |  | DKD vs T2DM + CON |  |  | DKD + T2DM vs CON |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | VIP | P& |  | VIP | P& |  | VIP | P& |  | VIP | P& |
| CA | 22.65 ± 12.94 | 23.74 ± 15.14 | 25.75 ± 14.39 | 0.37 | 0.69 | 0.52 | 0.38 |  | 0.41 | 0.60 |  | 0.45 | 0.42 |  | 0.40 | 0.51 |
| CDCA-3Gln | 141.79 ± 80.86 | 108.73 ± 55.67 | 123.65 ± 66.32 | 1.79 | 0.17 | 0.91 | 0.35 |  | 1.02 | 0.34 |  | 0.92 | 0.93 |  | 0.89 | 0.10 |
| DCA | 5.05 ± 2.70 | 4.63 ± 2.83 | 4.30 ± 2.60 | 0.58 | 0.56 | 0.58 | 0.28 |  | 1.15 | 0.65 |  | 0.71 | 0.38 |  | 0.71 | 0.33 |
| GCDCA | 5.95 ± 3.26 | 5.17 ± 2.82 | 4.69 ± 3.02 | 1.31 | 0.28 | 0.49 | 0.13 |  | 0.43 | 0.52 |  | 0.44 | 0.20 |  | 0.49 | 0.14 |
| GLCA | 0.55 ± 0.30 | 0.70 ± 0.49 | 0.76 ± 0.37 | 2.20 | 0.12 | 0.91 | 0.02 |  | 0.81 | 0.60 |  | 0.78 | 0.14 |  | 0.75 | 0.05 |
| GUDCA | 5.17 ± 3.50 | 4.61 ± 2.96 | 5.22 ± 2.75 | 0.36 | 0.70 | 0.81 | 0.95 |  | 0.81 | 0.41 |  | 0.82 | 0.63 |  | 0.77 | 0.71 |
| LCA | 1.10 ± 0.50 | 1.17 ± 0.71 | 0.98 ± 0.62 | 0.73 | 0.49 | 0.52 | 0.39 |  | 0.99 | 0.28 |  | 0.49 | 0.25 |  | 0.33 | 0.81 |
| NCA | 50.53 ± 27.73 | 51.40 ± 28.97 | 45.88 ± 22.26 | 0.38 | 0.69 | 0.90 | 0.48 |  | 0.80 | 0.41 |  | 0.80 | 0.39 |  | 0.93 | 0.75 |
| UCA | 144.11 ± 77.38 | 141.91 ± 87.71 | 135.62 ± 75.74 | 0.09 | 0.91 | 0.27 | 0.67 |  | 0.52 | 0.77 |  | 0.39 | 0.68 |  | 0.15 | 0.77 |
| GCA | 24.37 ± 14.27 | 23.15 ± 14.36 | 20.11 ± 11.76 | 0.79 | 0.46 | 0.75 | 0.21 |  | 0.46 | 0.37 |  | 0.59 | 0.23 |  | 0.69 | 0.37 |
| GLCA-3S | 332.02 ± 176.89 | 186.51 ± 96.59 | 87.97 ± 41.30 | 32.05 | <0.01 | 2.06 | <0.01 |  | 2.36 | <0.01 |  | 2.14 | <0.01 |  | 2.15 | <0.01 |
| 3β-CA | 10.42 ± 6.86 | 11.21 ± 8.33 | 8.36 ± 4.96 | 1.38 | 0.26 | 0.72 | 0.19 |  | 1.11 | 0.11 |  | 0.68 | 0.11 |  | 0.66 | 0.68 |
| 7-KDCA | 73.83 ± 45.36 | 30.23 ± 21.12 | 22.62 ± 14.61 | 23.30 | <0.01 | 1.86 | <0.01 |  | 1.55 | <0.01 |  | 1.94 | <0.01 |  | 1.91 | <0.01 |
| TLCA-3S | 149.05 ± 85.53 | 56.50 ± 35.06 | 35.46 ± 13.99 | 37.60 | <0.01 | 2.06 | <0.01 |  | 1.44 | <0.01 |  | 1.91 | <0.01 |  | 2.12 | <0.01 |
| TCA | 3.12 ± 1.90 | 2.17 ± 1.34 | 2.43 ± 1.43 | 2.96 | 0.06 | 1.04 | 0.11 |  | 0.87 | 0.47 |  | 0.99 | 0.55 |  | 1.14 | 0.02 |
| Tβ-MCA | 2.36 ± 1.37 | 2.32 ± 1.52 | 2.48 ± 1.44 | 0.10 | 0.91 | 0.15 | 0.74 |  | 0.27 | 0.68 |  | 0.32 | 0.66 |  | 0.29 | 0.89 |
| CDCA | 5.45 ± 2.94 | 5.71 ± 3.29 | 4.51 ± 2.75 | 1.32 | 0.27 | 0.92 | 0.21 |  | 0.89 | 0.13 |  | 0.77 | 0.11 |  | 0.57 | 0.62 |
| 3-oxo-CA | 4.71 ± 2.71 | 4.73 ± 3.12 | 4.11 ± 2.58 | 0.46 | 0.63 | 0.51 | 0.39 |  | 0.57 | 0.41 |  | 0.52 | 0.34 |  | 0.21 | 0.65 |
| GDCA | 5.46 ± 2.81 | 4.90 ± 2.91 | 5.23 ± 2.34 | 0.32 | 0.72 | 0.61 | 0.73 |  | 0.59 | 0.63 |  | 0.83 | 0.93 |  | 0.77 | 0.52 |
| 12-oxo-CDCA | 46.73 ± 25.13 | 40.79 ± 26.18 | 46.85 ± 22.03 | 0.60 | 0.55 | 0.45 | 0.98 |  | 0.68 | 0.34 |  | 0.63 | 0.57 |  | 0.47 | 0.60 |
| LCA-3S | 5.46 ± 2.44 | 5.30 ± 2.72 | 5.96 ± 2.83 | 0.50 | 0.61 | 0.92 | 0.46 |  | 1.14 | 0.36 |  | 1.06 | 0.33 |  | 0.97 | 0.77 |

Supplementary Table 9. Urine levels of the 21 bile acids in study participants.

Data represent mean ± standard error of mean. F* values and	P# values were determined by one-way analysis of variance. VIP values were determined based on orthogonal partical least squares discriminant analysis. P& values were determined by Student’s t-test. CON, healthy controls; T2DM, type 2 diabetes mellitus; DKD, diabetic kidney disease; VIP, variable importance in projection.