Supplementary Material

Region-specific variation in the electrophysiological responses of Spodoptera frugiperda to synthetic sex pheromone compounds

*Mobolade D. Akinbuluma1,2, Renée A.H. van Schaijk1, Peter Roessingh1, Astrid T. Groot1

1. University of Amsterdam, Department of Evolutionary and Population Biology, The Netherlands

2. University of Ibadan, Department of Crop Protection and Environmental Biology, Ibadan, Nigeria

Corresponding author. Tel.:+31 6 86 279835, e-mail: m.d.akinbuluma@uva.nl

Supplementary  material

Supplementary Table S1 Chemical components of Multicomponent blends (MCBs) of

S. frugiperda sex pheromone compounds.

| Sex pheromone Compounds | Molecular Formula | MCB 1 | MCB 2 |
| --- | --- | --- | --- |
| E7- 12:OAc | C14H26O2 | x ng/µl | - |
| Z7-12:OAc | C14H26O2 | - | x ng/µl |
| Z9-12:OAc | C14H26O2 | x ng/µl | x ng/µl |
| Z9-14:OAc | C16H30O2 | x ng/µl | x ng/µl |
| Z11-16:OAc | C18H34O2 | x ng/µl | x ng/µl |

Supplementary S1 Details of GC-EAD

A 2-m-long, 0.53-mm retention gap (Phenomenex, Utrecht, the Netherlands) was connected to a glass press-fit (Techrom, Purmerend, the Netherlands) to a 30-m EC-5 column, 0.25 mm inner diameter,0.25µm film (Fisher Scientific Pittsburgh, PA, USA). The effluent from this column was split using a Dean’s switch, controlled with N2, while the pressure on both control inputs was kept equal to create a 1:1 split ratio. The two outlets of the switch were connected to sections of 100 cm × 0.25-mm-diameter deactivated capillary column (Phenomenex), one going to the standard flame ionization detector (FID) set at 250 °C, the other leaving the GC oven via a 30-cm-long heated transfer-line (Syntech) set to 240 °C.The capillary emerging from the transfer-line protruded through a 0.5 mm hole into a 1-cm-wide, L-shaped glass tube (Syntech) carrying a charcoal filtered and humidified airstream of 1 l/min from a CS-55 airflow controller (Syntech) to the preparation that was placed directly in front of the outlet. The oven temperature program started at 60°C for 10 seconds and stepped to 80°C. After 5 minutes, temperature was programmed to increase to a maximum of 250°C at 10°C/min.

Supplementary Table S2 Overview of the fixed factors in the best fitting models selected by the Akaike's Information criterium (AIC). In all models, the response was EAD amplitudes and insect ID was incorporated as random factor.

| Model | Model (fixed factors) | N (cases) | N (males) | AIC |
| --- | --- | --- | --- | --- |
| Regional Comparison | concentration, compound, population, compound:population compound:concentration | 498 | 25 | -406.5798 |
| Mitotype comparison | concentration, compound, population, compound:strain:population | 397 | 19 | -363.0666 |
| Continent comparison | concentration, compound, continent, compound:continent, compound:concentration | 697 | 34 | -654.1676 |