Toward optimal fitting parameters for multi-exponential DWI image analysis of the human kidney: 
A simulation study comparing different fitting algorithms

J. Jasse1, H.-J. Wittsack1, T. A. Thiel1, R. Zukovs2, B. Valentin1, G. Antoch1, A. Ljimani1

1 Department of Diagnostic and Interventional Radiology, University Hospital Dusseldorf, Medical Faculty, Heinrich-Heine-University Dusseldorf, Dusseldorf, Germany
2 Department of Haematology, Oncology and Clinical Immunology, University Hospital Dusseldorf, Medical Faculty, Heinrich-Heine-University Dusseldorf, Dusseldorf, Germany

Corresponding author:
Jonas Jasse
Department of Diagnostic and Interventional Radiology, University Hospital Dusseldorf
Moorenstraße 5, 40225 Dusseldorf, Germany
Email: jonas.jasse@med.uni-duesseldorf.de
Tel.: +49 211 81 18044

Figure S1 - MAPD trend for diffusion coefficients d and volume fractions f as a function of the SNR.

Figure S2 – MAPD trend for diffusion coefficients d and volume fractions f as a function of M.

Table S1 - MAPD for a static simulation (n=1000) with optimal simulation parameters [in %]

| method | dslow | dinter | dfast | avg | fslow | finter | ffast | avg | total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NNLSAUC | 6.7 | 9.9 | 16.2 | 10.9 | 3.8 | 7.5 | 7.9 | 6.4 | 8.65 |
| NNLS | 6.4 | 10.3 | 25.0 | 13.9 | 3.9 | 7.6 | 9.9 | 7.1 | 10.50 |
| NLLS* | 15.7 | 22.4 | 19.5 | 19.2 | 12.3 | 22.1 | 8.0 | 14.1 | 16.65 |
| NLLS | 13.9 | 20.3 | 15.4 | 16.5 | 10.7 | 20.0 | 6.4 | 12.4 | 14.45 |