Supplementary Information

Methods

The design and use of Syntalos are described in the Results section. Test runs of the software suite were mostly performed with technical equipment, not involving any biological material or animals. A realistic ‘use case’ experiment has been performed with mice (see Results).

Software bill of materials

Syntalos is written in modern C++17 using the Qt framework. It runs on the Linux operating system, requiring at least kernel 4.20 (all tests were run on systems with Linux 5.10 or higher). The software components shown in Table 2 are directly used to build and run Syntalos. Some modules require dedicated software components or embed additional libraries (see Table 3).

Hardware

Various hardware components were used for evaluation of the program’s functions:

PC Systems:

- HP DV7-7147SG laptop with an Intel i5-3210M and 8 GB of memory

- Lenovo E495 laptop

- PC with an AMD Ryzen 5 5600G CPU and 16.0 GB of RAM

- PC with an AMD Ryzen 5 2600 CPU, 16 GB RAM, AMD Radeon RX 560

- PC with an AMD Ryzen 5 2600 CPU, 32 GB RAM, AMD Radeon RX 5500 XT

Data Acquisition Hardware:

- Intan Technologies RHD USB Interface Board with an RHD 64-Channel Recording headstage (Intan Technologies, Los Angeles, California)

- The Imaging Source Cameras: DFK 37BUX462 and DFK 37BUX290 (The Imaging Source LLC, Charlotte, United States)

- UVC Webcam, AnkePower Computer Webcam V-24 1080p (generic camera Amazon online shop)

- UCLA Miniscope v4 (Los Angeles, California)

- Arduino Uno R3 (Conrad Electronic, Hirschau, Germany)

Reference hardware:

- Cambridge Electronic Design Ltd. Micro1401-3 (Signal generator, CED, Milton, United Kingdom)

- Raspberry Pi Pico (Conrad Electronic, Hirschau, Germany)

- Kingbright DE4SGD LED (Conrad Electronic, Hirschau, Germany)

Most of the data are generated by using the CED as a signal generator. However, to replicate our time synchronization test results easily and without any expensive equipment, we have tested and provide code and instructions to build a simple Raspberry Pi Pico based pulse generator for total costs below 10 € (https://syntalos.readthedocs.io/en/latest/timesync-verification.html). This device can be used to verify Syntalos’ performance in new environments, and to calibrate it if necessary.

Devices for behavioral experiments:

- Gates/feeder/etc as created by Lee Embray and printed with FormLabs Resin Printer (Formlabs GmbH, Berlin, Germany)

See https://github.com/bothlab/maze-hardware for building instructions.

Data Storage & Formats

Syntalos uses a new, universal layout (EDL; ‘Experiment Directory Layout’, Fig. S2) for storage of different types of data together with their metadata (for details, see https://edl.readthedocs.io). EDL forms a hierarchical directory structure, where specific data are stored using suitable formats for each data type, e.g. Intan’s own RHD file format for electrophysiology data, or various containers/codecs for video data. Permissible data formats are restricted to a small set of open-source formats to standardize and simplify the subsequent analysis. The EDL directory structure follows the broad logical structure of data stored in HDF5 (Hierarchical Data Format 5) files, but is a directory structure rather than a single-file format. It is similar to prior solutions like the Exdir format 1, but has been specifically designed for raw data acquired with Syntalos, which allows to use a wider variety of formats for storage of different datasets.

A single experimental recording is stored in a directory automatically named by Syntalos and is called a “collection” in EDL’s terminology. Each collection can have “groups” and “datasets” as child directories. A “dataset” represents a leaf of the directory tree, containing actual data and metadata, while a “group” organizes datasets and other groups into a logical, nested structure. Any EDL organizational type is referred to as a “unit” (Fig. S2A).  Syntalos will automatically sort recorded datasets into groups and name both items according to its default rules, using the names of the data-generating modules as base.  However, experimenters can change the naming as they like. Data may be unprocessed raw data or may be generated by an analysis module, e.g. positional information from a behavioral experiment (see example in Fig. S2B). Metadata are automatically generated by Syntalos, depending on the recording module, and stored in a well-defined structure as specified for the EDL format. An EDL “collection” (equivalent to a single experiment run) is assigned a unique ID that is also written into individual recorded data files. This allows attributing data files to a specific experiment, even if they were taken out of the EDL directory structure. For offline analysis, we created a Python module named ‘edlio’ (https://pypi.org/project/edlio/) that supports reading Syntalos-recorded data from an EDL collection and can create new EDL units for analysis results.

For timing information, Syntalos uses tsync files. This Syntalos-specific file format stores two time series, one of the master clock and one of a secondary clock (the clock of the synchronized device) in a binary format together with metadata. These include the EDL UUID (universal unique identifier), time unit (e.g., milliseconds), and integer data types for the individual time values. A tsync file can exist in two modes: ‘Continuous’ and ‘SyncPoints’. In ‘Continuous’ mode, each time point of the first clock is matched exactly with one time point of the second clock with no gaps (e.g. matching a timestamp of the Master clock with a video frame number). In ‘SyncPoints’ mode, only some timestamps are mapped to the secondary clock, while the missing timestamps need to be approximated, e.g. by linear interpolation, in post-processing (e.g. master clock time of a sample to device clock time of a sample). This mode is most suitable for very high frequency data sources, while the continuous mode is best for data sources with low to medium sampling rate.

The individual timestamp data is chunked into blocks of a sampling-rate dependent size. Each block is hashed using the XXH3 fast non-cryptographic hash algorithm (Collet), with the hash stored  after each block with a terminator sequence. This simplifies data recovery in case the binary file gets corrupted (e.g. in transmission or by broken hardware), as the exact ‘bad’ block can be pinpointed and ignored. In this case, only one block is lost instead of having an entirely broken file. The risk of silent data corruption is also reduced. Therefore, tsync binary files can be as robust as CSV files while being much faster to write and read. The ‘edlio’ Python module contains a built-in reader for tsync files that handles them transparently, but Syntalos also provides a small tool to convert them into a textual CSV-like representation if needed.

System Requirements

Syntalos was tested extensively on x86-64 systems and requires a Linux-based operating system with a kernel higher than or equal to version 4.20. We recommend at least 8 GB of memory and a CPU that implements the AVX2 x86 instruction set extension. In general, any CPU supporting the x86-64-v3 feature set (released in 2015) should be fine for Syntalos. The system with the lowest specifications on which we tested Syntalos was a HP DV7-7147SG laptop (released circa 2012) with an Intel i5-3210M (2 cores, 4 threads) CPU and 8 GB of memory. The system with the highest specifications contained an AMD Ryzen 5 5600 (6 cores, 12 threads) CPU and 16 GB of memory. The tested operating systems were Ubuntu 20.04, Ubuntu 22.04, Debian 11 and Debian 12. Syntalos can use a suitable GPU to offload video encoding tasks, and some of Syntalos’ modules may even use OpenCL for acceleration. In general though, a powerful GPU it is not required. In our experiments, we used an AMD Radeon RX 560 and an AMD Radeon RX 5500 XT.

The precise system requirements for Syntalos depend strongly on the individual experimental setup, e.g. how many cameras are in use and how much data processing has to happen online and in parallel. Syntalos is particularly sensitive to CPU performance, disk I/O performance and RAM clock speed (ordered according to relevance). Another important factor for optimal data acquisition are the available interfaces. Many USB devices only have optimal bandwidth and latency if connected to an individual USB controller. Syntalos provides a diagnostic tool to help users find optimal USB ports for devices using the USB protocol. In summary, it is important to have a good CPU, more than 8 GB of memory, a fast disk, and multiple USB controllers. Syntalos is able to display extensive information about the system hardware via its diagnostic panel.

Module development and expandability

To extend Syntalos with user-defined experiment-specific algorithms such as the logic of cue presentations and gate openings in a behavioral task, some programming knowledge is required. Most of such tasks can be accomplished using Python code. In certain cases like expanding hardware support or implementing performance-critical modules C/C++ knowledge may be advantageous. Several existing DAQ solutions such as Bonsai RX 34 make use of built-in graphical programming interfaces. Such GUIs make it possible to customize data acquisition without using a text-based programming language, especially for relatively simple designs. However, basic Python programming abilities are widespread in the scientific community 13. We therefore opted for Python programming which, in our experience, is superior for more complex experimental designs. Furthermore, Syntalos imposes no limitation on the scripting languages, provided a C++-based integration module is present for it. In the same way, it is possible to implement a Syntalos module that leverages a graphical programming language such as the one used by Bonsai RX.

Syntalos runs on Linux. This may hinder its adoption by users of other operating systems. It allows, however, inspection of the whole data analysis pipeline in source code, precise analysis of program performance, and easy integration with existing Linux-based Python code. We are convinced that these advantages outweigh the potential drawback of being Linux-specific. It is also well possible to port Syntalos to other operating systems which does, of course, require some computation skills and careful performance validation.

Comparison to other software solutions

When comparing with proprietary solutions like ANY-Maze and EthoVision, Syntalos can not offer the dedicated hardware that these vendors offer for sale that is tuned to their software, and does not offer paid support. However, being open-source allows engineers and scientists to extend the software on their own, or contract anyone to do so instead of being dependent on a single vendor. Syntalos’ support for open-source hardware and hardware from select vendors who offer open APIs is excellent, but so far Bonsai has a few more modules for hardware integration available and a larger community behind it. All of the tools have some method for custom programming, with Bonsai, EthoVision and ANY-Maze offering a graphical programming language, while Syntalos currently only has Python scripting abilities. Bonsai and Syntalos both offer good support for Python, with Syntalos [due to using CPython (python.org) instead of IronPython (ironpython.net)] making it a lot easier to run preexisting Python code as a module, while code for Bonsai may need adjustments. Of all of the tools, Syntalos currently is the only one with consistent raw data management built into its core, while the other tools allow a variety of formats and data export methods.

With the exception of PyControl (https://pycontrol.readthedocs.io/en/latest/) and AutoPiLot (https://auto-pi-lot.com), none of the existing solutions run on Linux or have been specifically developed to make use of its capabilities, though an effort to port Bonsai to Linux exists.

Syntalos is well-equipped to integrate into the existing landscape of neuroscience data handling tools. It provides a directory structure to save data together with metadata in an entirely machine-readable format which enables easy translation of all raw data into commonly used standards like NWB 2 or G-node 3. In addition, Syntalos stores all data in open-source file formats that can be read with standard tools available to neuroscientists, such as Ephyviewer for electrophysiology data 4, ImageJ/Fiji for images 5 or simple media players for video files. The use of open-source formats avoids licensing costs, and the resulting data are readable by every lab in the foreseeable future. The edlio Python module (https://edl.readthedocs.io/) facilitates integration of Syntalos-acquired data into existing Python-based analysis pipelines. In summary, data acquired and stored with Syntalos are usable in a highly versatile way and can be integrated into a broad variety of existing tools.

Behavioral experiment

Animal treatment and all experimental procedures were approved by the state government of Baden-Württemberg and performed in accordance with regulations and guidelines of Heidelberg University and the Federation of European Laboratory Animal Science Associations (FELASA) under the supervision of local ethics committees (permission by the state government of Baden-Württemberg, no. 35-9185.81/G-62/19).

Fig. 6 shows an example experiment of a male C57/Bl6N mice (WT, Charles River, Sulzfeld, Germany) implanted with a UCLA Miniscope v4. The surgery was performed in two steps. First, a GRIN (gradient refractive index) leans (GRINTECH, NEM-100-20-20-520-S-0.5p) was coated with an emulsion of Fibroin 6, 1:8000 diluted Cre-virus under the CamKII promotor (Addgene, AAV1.CaMKII 0.4.Cre.SV40) and GCaMP-7f-containing virus (Addgene, AAV1-syn-FLEX-JGCaMP7f-WPRE) and implanted above the right hippocampus after the cortex above the implantation site was removed. After three weeks of expression, a second surgery was performed to implant the base plate of the UCLA Miniscope at a position optimized to the expression of GCaMP. After the second surgery, the animal was allowed to recover for another week before starting the behavioral experiments. During the time after the first surgery and the beginning of the behavioral experiments, the animal was gradually accustomed to the experimenter and the experimental room.

The behavioral experiment was performed on a M-maze (Fig. 6A). For getting reward (15 µl of condensed milk mixed 1:1 with water for final concentration of 4 % fat, 10 % fat-free dry milk, 27% sugar) at the endpoints of the individual arms, the animal has to alternated between the arms i.e. in the following fashion: left → middle → right → middle → left and so forth. The reward was given with custom-made automatic dispensers, which achieve micro-liter accuracy (https://github.com/bothlab/maze-hardware/blob/main/README.md). The behavioral experiment consisted of a session of 15 minutes over seven days. During the 15 minutes, the animal could freely explore the maze. However, during the first two days, gates at the connection of the three arms forced the animal to the correct arm. Thus, animals were familiarized with getting reward at the endpoints of the arms and the required rule. Those two days are omitted in Fig. 6. After these two days, the animal could freely choose between the arms, but was only rewarded when the sequence was correct. The performance of those five days is depicted in Fig. 6A.

Calcium signals were analyzed using Minian 7. The position of the animal was analyzed using DeepLabCut 8.

Data availability

All data used in this paper are publicly available via the original publications and releases.

Code availability

The program is open source and its source code is publicly available on GitHub at  https://github.com/bothlab/syntalos. Syntalos is also made available in the Flathub Linux software store, so it can be installed by users on any Linux distribution with one click and without the need to compile any code. We also provide packages for Debian and Ubuntu, to make Syntalos installations as straightforward as possible:

https://flathub.org/apps/details/io.github.bothlab.syntalos

https://syntalos.readthedocs.io/en/latest/install.html

Supplemental Figures

Figure S1: Syntalos UI. A: A screenshot of the Syntalos main control window. The “Add Module” button (1) allows the addition of a new module which is represented in the connection view (2) as a rectangular box. A module has ports (3) which allow piping data out of a module or feeding it data. Input ports are on the left side, while output ports are on the right side of the module rectangle. Modules can be connected by the user via simply dragging a line from an output port to an input port (4). To assess the position of an animal in an experiment, for example, the output port of the video camera module can be linked to the video input port of a position detection module. Once a line exists, data from one module will automatically flow to the other module. The direction is indicated by a small arrow on the connecting line itself. To export data, a directory to store the recording needs to be selected (5), the tested subject can be given a name by selecting one that was previously defined from a dropdown list or entering one manually (6). The experiment can be given a user-defined name as well (7). During a run, Syntalos will display information about the current run, like the save path, elapsed time and information about any issues on the right-hand panel (8). Once an experiment is configured, a test run can be started (9) where no data will be permanently saved, or a real recording can be launched (10). In addition to basic configuration, the experimenter can also set additional project-specific settings via the “Project” button (11). B: Some open control and display windows for the depicted modules. From left to right in the foreground: Canvas displaying a live video of the animal, Controller for Miniscope recording parameters, Canvas displaying background-subtracted live Miniscope recording, Intan RHX electrophysiology display & recording controller in the background.

Figure S2: EDL data storage scheme. A: Organizational structure of EDL (Experiment Directory Layout) elements. A basic EDL unit is a directory with metadata in the TOML format (manifest.toml, optional: attributes.toml). An EDL group contains other groups or datasets. An EDL collection is the root of a directory tree and represents one experiment run recorded by Syntalos – it sets the unique ID of the experiment and contains metadata like the experimenter’s name and experiment duration. A dataset is an EDL unit containing the actual recorded data with its metadata. It is a directory tree leaf and may not contain more nested datasets or other EDL units. B: Concrete example of a recorded experiment. Each node represents a directory with the given name (e.g. “videos”). Each directory contains metadata in the mandatory “manifest.toml” files and optional “attributes.toml” files for user- or module-defined metadata. A dataset name (= directory name) is derived from the Syntalos module name which can be set arbitrarily by the user in Syntalos’ GUI. No two modules with the same name are allowed to be created. The amount of data types datasets may contain is limited, so data parsing is simplified. For some datatypes, specific rules are applied (e.g. number formatting rules in CSV files, and semicolons being used for value separation) to increase consistency and ease data parsing. In this example, data analysis has been performed for the dataset in an “analysis” EDL group and integrated into the EDL structure. EDL exists for Syntalos to easily and quickly store data in parallel with all metadata and auxiliary data (timesync info, timestamps, …) included. It can be used by experimenters to store their analysis data as well, but this is not required. Experimenters may convert the EDL structure into anything they want and generate analysis data in any format they want (e.g. NWB for neuroscientific analysis data).

Figure S3: Syntalos Module Overview and Hardware Requirements. A: A list of the most important readily available Syntalos modules and their respective functions. New modules can be implemented by the user in either C++ or Python. B: System requirements as well as hardware recommendations for new data acquisition setups using Syntalos.

Supplemental Tables

Table S1: Data types that can be transferred between modules.

| Data Type | Purpose |
| --- | --- |
| ControlCommand | A command (Start, Stop, Pause, Step, …) that one module can send to another to change its state. |
| TableRow | A row of a (CSV) table as text |
| FirmataControl | A Firmata API control command (such as registering a new digital pin, or writing to one) |
| FirmataData | Data returned by read operations on a device using the Firmata protocol. |
| IntSignalBlock | A block of data consisting of a matrix of integers. |
| FloatSignalBlock | A block of data consisting of a matrix of doubles. |
| Frame | A single frame recorded by an imaging device in form of an OpenCV matrix. |

Table S2: Third-party software used for Syntalos core.

| Name | Version | Comment & Purpose | Reference |
| --- | --- | --- | --- |
| GCC | 10.2 | C/C++ compiler | gcc.gnu.org |
| Qt (Core, GUI, Test, OpenGL, Remote Objects, SVG, D-Bus, Charts, Concurrent) | 5.15 | GUI toolkit and basic functionality | www.qt.io |
| xxhash | 0.8.1 | XXH3 hash for error-detecting codes | cyan4973.github.io/xxHash |
| Eigen3 | 3.3.9 | Linear algebra & matrix operations | eigen.tuxfamily.org |
| toml++ | 3.2.0 | TOML format read & write support | marzer.github.io/tomlplusplus/ |
| OpenCV | 4.5.1 | Data types & basic operations for image processing | opencv.org |
| readerwriterqueue | ~ | Embedded, modified. A fast lock-free queue implementation for multithreading | moodycamel.com/blog/2013/a-fast-lock-free-queue-for-c++.htm |
| Libusb | 1.0.24 | Direct USB support | libusb.info |
| systemd | 252.6 | Hardware support, system state read/write (e.g. for changing sleep states) | freedesktop.org/wiki/Software/systemd/ |
| FFmpeg | 5.1.3 | Video encoding | ffmpeg.org |
| GLib2 | 2.66.8 | C utility functions, Event loop | wiki.gnome.org/Projects/GLib |
| KArchive | 5.78 | TAR/ZIP read/write support | invent.kde.org/frameworks/karchive |
| KDBusAddons | 5.78 | D-Bus convenience functions | invent.kde.org/frameworks/kdbusaddons |
| KConfigWidgets | 5.78 | UI preferences, color scheme support | invent.kde.org/frameworks/kconfigwidgets |
| GStreamer | 1.18 | Media processing pipelines, audio generation | gstreamer.freedesktop.org |
| Python | 3.11 | Simple high-level programming language | www.python.org |
| pybind11 | 2.6.2 | Interoperability between Python and C++ | pybind11.readthedocs.io |
| Breeze Icons | ~ | Icon / color theme and design language used by Syntalos | invent.kde.org/frameworks/breeze-icons |
| Flatpak | 1.14.4 | Simple deployment of Syntalos to any Linux OS | flatpak.org |

Table S3: Third-party software used for additional hardware support.

| Name | Version | Purpose | Reference |
| --- | --- | --- | --- |
| PoMiDAQ | 0.4.5 | For UCLA Miniscope support, uses libminiscope | github.com/bothlab/pomidaq |
| Spinnaker SDK | ~ | Proprietary component for FLIR camera support | www.flir.de/products/spinnaker-sdk/ |
| tiscamera | 1.1.0 | Open source support for The Imaging Source industrial cameras | github.com/TheImagingSource/tiscamera |
| Intan RHX | ~ | Embedded Intan RHX software for control of Intan devices | intantech.com |
| OpalKelly Front Panel | ~ | Proprietary FPGA interface library used by Intan RHX module | opalkelly.com/products/frontpanel |
| QFirmata | ~ | Embedded, modified code originally from the QFirmata project. Used for Firmata with serial interfaces | github.com/callaa/qfirmata |
| Firmata for Arduino | ~ | Arduino firmware implementing the Firmata protocol, needed on an Arduino for use with the Firmata I/O module | github.com/firmata/arduino |

Table S4: Comparison of Syntalos with existing DAQ tools.

| Tool | Syntalos |
| --- | --- |
| Open Source | Yes, free |
| Synchronization Method | Statistical / Computer-clock aligned, TTL pulses |
| Hardware Support | Variety of industrial cameras, Arduino, Intan electrophysiology hardware, extension possible via custom modules |
| Programming Model | Programmable in Python (via CPython), more extension possible in C++. Any programming language can be added as module. |
| Data Standardization | Common open source data formats in an EDL directory layout. |
| Tool | ANY-Maze |
| Open Source | No, paid license |
| Synchronization Method | Manual / TTL Pulses |
| Hardware Support | Various cameras, custom ANY-Maze specific hardware and adapters available on their website for purchase |
| Programming Model | Graphical block-based programming, tightly integrated with the system. |
| Data Standardization | XML and CSV export, also export to GraphPad, SPSS, dBase and SYLK support. No default layout. |
| Comment | Has extensive animal tracking, for which Syntalos needs DeepLabCut and which is less well integrated in Syntalos. Also does a lot of data analysis and statistics which is out of scope for Syntalos. |
| Tool | Noldus EthoVision XT |
| Open Source | No, paid license |
| Synchronization Method | Unknown, likely manual/TTL-pulse based |
| Hardware Support | Many cameras, including industrial ones, interfaces with its own custom hardware, optogenetics, external hardware integration and external software control (if supported). |
| Programming Model | Graph-based visual programming language. |
| Data Standardization | Various video formats allowed, export to Excel. |
| Comment | Has powerful animal tracking and integrated data analysis, similar to ANY-Maze. |
| Tool | Bonsai RX |
| Open Source | Yes, free |
| Synchronization Method | Manual / TTL Pulses |
| Hardware Support | Wide variety of modules for a lot of hardware available |
| Programming Model | Graph-based visual programming language, Python via IronPython (.NET flavor). |
| Data Standardization | Many file formats in a completely user-defined layout. |
| Comment | Extremely well integrated with OpenEphys hardware, established Open Source community. |
| Tool | PyControl |
| Open Source | Yes, free |
| Synchronization Method | Sync pulses via Rsync / camera frame trigger |
| Hardware Integration | Custom open source hardware for closed-loop interfacing & control |
| Programming Model | Needs external tools for hardware support, focuses on actuator control |
| Data Standardization | Custom format, Numpy data |
| Comment | Syntalos could make use of PyControl directly via its Python support, allowing to get the best out of both tools. |
| Tool | AutoPiLot |
| Open Source | Yes, free |
| Synchronization Method | Manual, TTL pulses |
| Hardware Integration | Purely Raspberry Pi based |
| Programming Model | Python |
| Data Standardization | Anything that Python can write with custom, user-written code. |
| Comment | Very young project based on a swarm of Raspberry Pi, very different concept compared to Syntalos. |

1.	Dragly, S.A. et al. Experimental directory structure (Exdir): An alternative to HDF5 without introducing a new file format. Frontiers in Neuroinformatics 12, 1-13 (2018).

2.	Rübel, O. et al. The Neurodata Without Borders ecosystem for neurophysiological data science. eLife 11, e78362 (2022).

3.	Herz, A.V.M., Meier, R., Nawrot, M.P., Schiegel, W. & Zito, T. G-Node: An integrated tool-sharing platform to support cellular and systems neurophysiology in the age of global neuroinformatics. Neural Networks 21, 1070-1075 (2008).

4.	Gill, J.P., Garcia, S., Ting, L.H., Wu, M. & Chiel, H.J. neurotic : Neuroscience Tool for Interactive Characterization. eneuro 7, ENEURO.0085-0020.2020 (2020).

5.	Schindelin, J. et al. Fiji: an open-source platform for biological-image analysis. Nature Methods 9, 676-682 (2012).

6.	Jackman, S.L. et al. Silk Fibroin Films Facilitate Single-Step Targeted Expression of Optogenetic Proteins. Cell Rep 22, 3351-3361 (2018).

7.	Dong, Z. et al. Minian, an open-source miniscope analysis pipeline. eLife 11, e70661 (2022).

8.	Mathis, A. et al. DeepLabCut: markerless pose estimation of user-defined body parts with deep learning. Nat Neurosci 21, 1281-1289 (2018).