## Sheet1
Evidence table
Patient number
No. | Year | Study | Patient population / procedure | Study design |  | Device | Interventions | Controls | Results of the intervention | Unanticipated device-related adverse events
1 | 2016 | Bernardi, M. H., et al. Effect of hemoadsorption during cardiopulmonary bypass surgery - a blinded, randomized, controlled pilot study using a novel adsorbent. | Prolonged CPB (various procedures, elective) | Prospective | RCT | CytoSorb (intra-op on CPB) | 19 | 18 | No significant difference in primary outcome - cytokine levels (IL-1ß, IL-6, IL-18, TNF-⍺), except for IL-10. | Not observed
2 | 2016 | Träger, K., et al. Treatment of post-cardiopulmonary bypass SIRS by hemoadsorption: a case series. | Post-op complications | Retrospective | Case series | CytoSorb (post-op on CRRT) | 16 | / | Pre- vs post-treatment: - IL-6 & IL-8 reductions - less vasopressor demand - improved MAP & CI - improved SOFA score - reduction of lactate levels - normalized base excess - shorter ICU length of stay | Not reported
3 | 2017 | Träger, K., et al. Hemoadsorption treatment of patients with acute infective endocarditis during surgery with cardiopulmonary bypass - a case series. | IE-related valve surgery | Retrospective | Case-control | CytoSorb (intra-op on CPB) | 39 | 28 | Notably: - shorter ICU length of stay Pre- vs post-treatment: - reduction in vasopressor demand - reduction of cytokine IL-6 & IL-8 levels Rapid normalization of: - lactate levels and base excess - MAP | Not observed
4 | 2018 | Nemeth, E., et al. Impact of intraoperative cytokine adsorption on outcome of patients undergoing orthotopic heart transplantation-an observational study. | Orthotopic HTx | Prospective | Case-control (PSM) | CytoSorb (intra-op on CPB) | 16 | 16 | Significantly: - lower norepinephrine & terlipressin demand (co-primary outcome) - less need for MCS & RRT - lower rate of primary graft failure (PGF) - lower 30-day mortality No significant difference in co-primary outcome - PCT & CRP levels. Notably: - lower lactate levels - lower rate of reoperations for bleeding - shorter ventilator time - shorter ICU length of stay | Equal rate*
5 | 2019 | Bernardi, M. H., et al. Hemoadsorption does not Have Influence on Hemolysis During Cardiopulmonary Bypass. | Prolonged CPB (various procedures, elective) | Prospective | RCT (post-hoc subgroup analysis of No. 1) | CytoSorb (intra-op on CPB) | 17 | 18 | Significantly: - higher haptoglobin (primary outcome) - lower LDH No significant difference between the groups in levels of plasma-free hemoglobin (primary outcome) and total bilirubin. | Not observed
6 | 2019 | Calabro, M. G., et al. Blood Purification With CytoSorb in Critically Ill Patients: Single-Center Preliminary Experience. | Post-op MOF (cardiac-related) | Retrospective | Case series | CytoSorb (post-op on various platforms) | 40 | / | Pre- vs post-treatment, significant: - reduction of bilirubin - reduction of lactate levels - reduction of CPK & LDH - lower VIS SOFA-predicted vs observed ICU mortality: 80% vs 55% | Not observed
7 | 2019 | Garau, I., Hemadsorption during cardiopulmonary bypass reduces interleukin 8 and tumor necrosis factor alpha serum levels in cardiac surgery: a randomized controlled trial. | Prolonged CPB (various procedures, elective) | Prospective | RCT | CytoSorb (intra-op on CPB) | 20 | 20 | Significantly: - lower cytokine levels (IL-8, TNF-⍺) - primary outcome - higher CI No significant difference in levels of IL-6 (primary outcome). | Not observed
8 | 2019 | Gleason, T. G., et al. Hemoadsorption to Reduce Plasma-Free Hemoglobin During Cardiac Surgery: Results of REFRESH I Pilot Study. | Prolonged CPB (various procedures, elective) | Prospective | RCT | 2 CytoSorbs (intra-op on CPB) | 23 | 23 | Significant reduction in: - plasma-free hemoglobin (primary outcome) - activated complement C3a & C5a. | Not observed
9 | 2019 | Kühne, L. U., et al. Comparison of intraoperative versus intraoperative plus postoperative hemoadsorption therapy in cardiac surgery patients with endocarditis. | IE-related valve surgery | Retrospective | Case series | CytoSorb (intra-op on CPB + post-op on CRRT) | 20 | / | Despite a more pronounced disease severity in patients who received the therapy both intra- and postoperatively, compared to those with only intra-op hemoadsorption, equal post-op: - vasopressors - CRP - lactate - ventilator time | Not observed
10 | 2019 | Poli, E. C., et al. Cytokine clearance with CytoSorb during cardiac surgery: a pilot randomized controlled trial. | Prolonged CPB (various procedures, elective) | Prospective | RCT | CytoSorb (intra-op on CPB) | 15 | 15 | No significant difference in primary outcome - cytokine levels (IL-1a, IL-1b, IL-2, IL-4, IL-5, IL-6, IL-10, TNF-α, IFN-γ, MCP-1), as well as in clinical outcomes. Significantly lower activity of coagulation factors II and XII. | Not observed
11 | 2019 | Saller, T., Haemadsorption improves intraoperative haemodynamics and metabolic changes during aortic surgery with hypothermic circulatory arrest. | Aortic surgery with hypothermic circulatory arrest | Retrospective | Case-control (PSM) | CytoSorb (intra-op on CPB) | 168 | 168 | Significantly: - lower requirement for intraoperative norepinephrine - less pRBC & FFP transfusions - higher requirement for PCC Notably: - improved acid-base balance - lower intraoperative mortality | Not observed
12 | 2019 | Wagner, R., et al. Plasma Levels of Myocardial MicroRNA-133a Increase by Intraoperative Cytokine Hemoadsorption in the Complex Cardiovascular Operation. | Aortic valve surgery (elective) | Prospective | RCT | CytoSorb (intra-op on CPB) | 15 | 13 | Significantly higher level of miRNA-133 – primary outcome. No significant differences in levels of miRNA-1, miRNA-126, and miRNA-223 (primary outcomes), as well as in clinical outcomes. | Not reported
13 | 2020 | Haidari, Z., et al. Intraoperative Hemoadsorption in Patients With Native Mitral Valve Infective Endocarditis. | IE-related valve surgery | Retrospective | Case-control | CytoSorb (intra-op on CPB) | 30 | 28 | Significantly: - lower incidence of sepsis (primary outcome) - lower sepsis-related mortality (primary outcome) - reduced vasopressor requirements - higher SVR Notably lower overall 30-day mortality | Not observed
14 | 2020 | Taleska-Stupica, G., Extracorporeal Hemadsorption versus Glucocorticoids during Cardiopulmonary Bypass: A Prospective, Randomized, Controlled Trial. | Prolonged CPB (various procedures, elective) | Prospective | RCT | CytoSorb (intra-op on CPB) | 20 | 20 & 20** | Significantly: - higher CD64 and CD163 antigen expression on immune cells - increased activated complement C5a (primary outcomes). No significant difference in primary outcome - cytokine levels (TNF-α, IL-1β, IL-6, IL-8, and IL-10). | Not observed
15 | 2020 | Träger, K., et al. Hemoadsorption treatment with CytoSorb in patients with extracorporeal life support therapy: A case series. | vaECMO | Retrospective | Case series | CytoSorb (on vaECMO) | 23 | / | Pre- vs post-treatment, significant: - IL-6 reduction - norepinephrine reduction - reduction of lactate levels - normalized base excess | Not observed
16 | 2020 | Wisgrill, L., et al. Influence of hemoadsorption during cardiopulmonary bypass on blood vesicle count and function. | Prolonged CPB (various procedures, elective) | Prospective | RCT (post hoc subgroup analysis of No. 1) | CytoSorb (intra-op on CPB) | 9 | 9 | No significant differences in circulating microvesicles, apoptotic body counts and kinetics. | Not observed
17 | 2021 | Asch, S., et al. The effect of perioperative hemadsorption in patients operated for acute infective endocarditis-A randomized controlled study. | IE-related valve surgery | Prospective | RCT | CytoSorb (intra-op on CPB + post-op on CRRT) | 10 | 10 | Significantly: - higher vasopressor need - higher volume of fluids - longer ICU length of stay No significant difference in cytokine levels – primary outcome (IL-6, TNF-α). CRP and PCT baseline levels were significantly higher in the intervention group, equalizing after surgery. | Equal rate*
18 | 2021 | Boss, K., et al. Extracorporeal cytokine adsorption: Significant reduction of catecholamine requirement in patients with AKI and septic shock after cardiac surgery. | Post-op septic shock | Retrospective | Case series | CytoSorb (post-op on CRRT) | 98 | / | Pre- vs post-treatment, significantly: - decreased VIS - reduced lactate levels - reduced SOFA & APACHE II scores SOFA/APACHE II-predicted vs observed mortality: 77/73% vs 59% | Not observed
19 | 2021 | Hohn, A., et al. Hemoadsorption: effective in reducing circulating fragments of the endothelial glycocalyx during cardiopulmonary bypass in patients undergoing on-pump cardiac surgery? | Prolonged CPB (various procedures, elective) | Prospective | Case series (part of the ongoing RECCAS*** study) | CytoSorb (intra-op on CPB) | 15 | / | Significant, pre- vs post-adsorber: - reduction of heparan sulphate - increase of hyaluronan | Not reported
20 | 2021 | Mehta, Y., Modulating the Inflammatory Response With Hemadsorption (CytoSorb) in Patients Undergoing Major Aortic Surgery. | Aortic valve surgery (elective) | Retrospective | Case-control | CytoSorb (intra-op on CPB) | 8 | 8 | Significantly: - lower IL-6 (primary outcome) - requirement for norepinephrine - ICU and hospital stay Notably: - improved PaO2/FiO2 ratio - duration of mechanical ventilation No significant differences in primary outcomes PCT, WBC count, and CRP. | Not reported
21 | 2021 | Santer, D., et al. Hemoadsorption during Cardiopulmonary Bypass in Patients with Endocarditis Undergoing Valve Surgery: A Retrospective Single-Center Study. | IE-related valve surgery | Retrospective | Case-control (IPTW) | CytoSorb (intra-op on CPB) | 41 | 200 | Significantly: - higher norepinephrine and milrinone demand - more RBC and PLT transfusions - higher incidence of reoperations for bleeding - prolonged hospitalization No significant difference in in-hospital mortality – primary outcome. | Equal rate*
22 | 2022 | Diab, M., et al. Cytokine Hemoadsorption During Cardiac Surgery Versus Standard Surgical Care for Infective Endocarditis (REMOVE): Results From a Multicenter Randomized Controlled Trial. | IE-related valve surgery | Prospective | RCT | CytoSorb (intra-op on CPB) | 138 | 144 | Significantly: - lower levels of cytokines IL-1β, IL-18 (in the first 25 vs 25 patients) No significant difference in SOFA score change (primary outcome), as well as in clinical outcomes. | Equal rate*
23 | 2022 | Haidari, Z., et al. Intraoperative hemoadsorption in high-risk patients with infective endocarditis. | IE-related valve surgery | Retrospective | Case-control (PSM) | CytoSorb (intra-op on CPB) | 35 | 35 | Significantly: - lower sepsis-related mortality (primary outcome) - reduced vasopressor demand - higher SVRI - faster SOFA score normalization - lower respiratory failure rate No significant difference in the postoperative sepsis incidence and in-hospital mortality – primary outcomes. | Not reported
24 | 2022 | Holmen, A., et al. Whole Blood Adsorber During CPB and Need for Vasoactive Treatment After Valve Surgery in Acute Endocarditis: A Randomized Controlled Study. | IE-related valve surgery | Prospective | RCT | CytoSorb (intra-op on CPB) | 10 | 9 | Significantly: - fewer transfusions (RBC, PLT, FFP) Notably: - lower and shorter norepinephrine demand (primary outcome) - lower creatinine levels - lower chest-tube drainage volume - shorter ventilator time | Not observed
25 | 2022 | Kalisnik, J. M., et al. Single-Centre Retrospective Evaluation of Intraoperative Hemoadsorption in Left-Sided Acute Infective Endocarditis. | IE-related valve surgery | Retrospective | Case-control (PSM) | CytoSorb (intra-op on CPB) | 99 | 99 | Significantly: - lower incidence of sepsis (primary outcome) - lower sepsis-related mortality (primary outcome) - lower CRP levels - fewer transfusions (RBC & FFP) - lower WBC counts - higher hemoglobin level Notably lower in-hospital mortality. | Not observed
26 | 2022 | Manohar, M., et al., Hemoadsorption in Complex Cardiac Surgery-A Single Center Experience. | Prolonged CPB (various procedures, elective) | Retrospective | Case-control | CytoSorb (intra-op on CPB) | 23 | 29 | Significantly lower: - increase of VIS from pre- to postoperative value (primary outcome) Notably lower: - in-hospital mortality | Not observed
27 | 2022 | Zhigalov, K., et al., Initial experience with CytoSorb therapy in patients receiving left ventricular assist devices. | Left venricular assist device implantation in end-stage heart failure | Retrospective | Case-control (PSM) | CytoSorb (intra-op on CPB) | 72 | 40 | Significantly higher: - incidence of respiratory failure and need for prolonged mechanical ventilation time and tracheostomy No significant difference in the overall survival after LVAD implantation (primary outcome) | Equal rate*
28 | 2023 | Haidari, Z., et al., Effect of intraoperative haemoadsorption therapy on cardiac surgery for active infective endocarditis with confirmed Staphylococcus aureus bacteraemia. | Staphlococcus aureas IE-related valve surgery | Retrospective | Case-control | CytoSorb (intra-op on CPB) | 75 | 55 | Significantly: - decreased VIS (primary outcome) - lower incidence of sepsis-related mortality - lower 30-day & 90-day mortality - lower incidence of renal failure requiring hemodialysis Notably: - lower incidence of revisions for bleeding | Not observed
29 | 2023 | Doukas, P., et al., Intraoperative Hemoadsorption (Cytosorb) during Open Thoracoabdominal Aortic Repair: A Pilot Randomized Controlled Trial | Open thoracoabdominal aortic repair | Prospective | RCT | CytoSorb (intra-op on CPB) | 10 | 17 | Significantly: - lower incidence of severe ARDS Notably: - shorter duration of mechanical ventilation | Equal rate*
Legend: CPB - cardiopulmonary bypass, RCT - randomized controlled trial, IL - interleukin, TNF - tumor necrosis factor, SIRS - Systemic Inflammatory Response Syndrome, CRRT - continuous renal replacement therapy, MAP - mean arterial pressure, CI - cardiac index, SOFA - sequential organ failure assessment, ICU - intensive care unit, IE - infective endocarditis, HTx - heart transplant, PSM - propensity score matching, MCS - mechanical circulatory support, RRT - renal replacement therapy, PCT - procalcitonin, CRP - C reactive protein, LDH - lactate dehydrogenase, MOF - multiorgan failure, CPK -creatine phosphokinase, VIS - vasoactive inotropic score, IFN - interferon, MCP - monocyte chemoattractant protein, pRBC - packed red blood cells, FFP - fresh frozen plasma, PCC - prothrombin complex concentrate, miRNA - micro ribonucleic acid, SVR - systemic vascular resistance, vaECMO - veno-arterial extracorporeal membrane oxygenation, AKI - acute kidney injury, APACHE - acute physiology and chronic health evaluation, WBC - white blood cells, IPTW - inversed probability of treatment weighting, PLT - platelets, SVRI - systemic vascular resistance index, LVAD - left ventricular assist device, ARDS - acute respiratory distress syndrome
* Equal rate of adverse events. Device-related adverse events not reported
** Three groups, 20 given intraoperative methylprednisolone, 20 intraoperative CytoSorb, 20 controls
*** German Clinical Trials Register number DRKS00007928 (Date of registration 3 Aug 2015)