# Annex

The table summarizes the main characteristics of the analysed projects.

| Renovation Project |  |  | Vertical structures |  | Horizontal structures |  |  | Post-earthquake empirical damage |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | a. | b. | c. | d. | e. | f. | g. | h.. | i. |
|  | Submission Year | No. of stories and average floor surface | Replacement of existing walls | Strengthening interventions on remaining walls | Replacement of floors | Replacement or strengthening of vaults | Replacement of roof | Damage index | Type of external damage |
|  |  |  | Floor (extent) | Type (extent) | Type (extent) | Type (extent) | Type (extent) |  |  |
| 18 | 2012 | 1 50m2 | - | G.I. (■■■) T.R. (■■■) | - | R.V. (■■■) | - | 0 | N.E.D. |
| 17 | 2003 | 4 163m2 | 2 (■□□) 3-4 (■■■)* | G.I. (■■■) S.C. (■■■) T.R. (■■□) | RC (■□□) W (■■□) | S.RC S. (■■■) | W | 1 | N.E.D. |
| 10a | 2010 | 3 35m2 | 2-3 (■■■) | G.I. (■■■) R.P. (■■■) | RC (■■■) | S.RC S. (■■■) | W | 1 | N.E.D. |
| 12 | 1989 | 4 70m2 | 3-4 (■□□) | G.I. (■■■) S.C. (■■■) | RC (■■■) | S.RC S. (■■■) | RC | 2 | N.E.D. |
| 19 | 1993 | 3 109m2 | 2 (■□□) | G.I. (■□□) | W (■■■) | S.RC S. (■■■) | W | 3 2 | N.E.D. |
| 20 | 2008 | 3 41m2 | 2-3 (■■■) | G.I. (■■■) R.P. (■□□) | S (■■■) | S.RC S. (■■■) | S | 3 | N.E.D. |
| 1 | 1991 | 3 93m2 | 2-3 (■□□) | G.I. (■■■) | RC (■■■) | S.RC S. (■■■) | RC | 3 | N.E.D. |
| 3 | 2000 | 3 70m2 | 2-3 (■■■) | G.I. (■■■) | RC (■■□) | S.RC S. (■■■) | W | 3 | N.E.D. |
| 16 | 1990 | 4 278m2 | 1-2 (■□□) 3-4 (■■■) | G.I. (■■■) R.P. (■■□) S.C. (■■□) | RC (■■■) | S.RC S. (■■■) | RC | 3 2 2 3 | N.E.D. E.D E.D E.D. |
| 10b | 2010 | 3 11m2 | 2-3 (■■□) | G.I. (■■■) R.P. (■■■) S.C. (■□□) | RC (■■■) | S.RC S. (■■■) | W | 3 | E.D. |
| 15 | 1988 | 2 33m2 | 1 (■□□) 2 (■■■) | G.I. (■■□) S.C. (■■□) | RC (■■■) | S.RC S. (■■■) | RC | 2 | E.D. |
| 14 | 1996 | 3 60m2 | 1 (■□□) 2-3 (■■□) | G.I. (■■□) S.C. (■■□) | RC (■■■) | S.RC S. (■■■) | RC | 3 | E.D. |
| 9 | 2002 | 3 25m2 | - | G.I. (■■□) | W (■■■) | S.RC S. (■■■) | W | 2 | E.D. |
| 6 | 1984 | 3 67m2 | 1-2-3 (■□□) | G.I. (■■□) S.C. (■□□) | W (■■■) | S.RC S. (■■■) | RC | 3 | E.D. |
| 7 | 1989 | 3 196m2 | 1-2-3 (■□□) | G.I. (■■□) R.P. (■■□) | RC (■□□) W (■■□) | S.RC S. (■■□) | RC | 3 | E.D. |
| 13 | 1993 | 3 121m2 | 3 (■□□) | G.I. (■■■) S.C. (■■□) | RC (■□□) W (■■□) | S.RC S. (■■■) | RC | 3 | E.D. |
| 4 | 2005 | 4 36m2 | 2 (■■□) 3-4 (■■■) | G.I. (■■■) T.R. (■■□) | RC (■■□) W (■□□) | S.RC S. (■■■) | S | 3 | P.C. |
| 5 | 2014 | 3 85m2 | 1 (■□□)† 2-3 (■■□) | S.C. (■■■) | W (■■■) | S.RC S. (■■■) | W | 3 | P.C. |
| 8 | 1986 | 3 132m2 | 1-2 (■□□) 3 (■■□) | G.I. (■■■) R.P. (■□□) S.C. (■□□) | RC (■■□) W (■□□) | S.RC S. (■■■) | RC | 5 4 | P.C. P.C: |
| 2 | 1992 | 3 81m2 | 1 (■□□) 2 (■■□) 3 (■■□) | G.I. (■■■) S.C. (■■■) | RC (■■■) | S.RC S. (■■■) | RC | 5 | P.C. |
| 11 | 1992 | 3 36m2 | 3 (■□□) | G.I. (■■■) R.P. (■■□)♦ S.C. (■■■) | RC (■■■) | S.RC S. (■■■) | RC | 5 | P.C. |

Extent e (e<1/3: ■□□; 1/3≤e<2/3: ■■□; e≥2/3: ■■■)

* The external walls were rebuilt in stone masonry, the internal ones in block masonry.

The walls were rebuilt in concrete blocks masonry.

† The walls were rebuilt in stone masonry.

The ground floor is partly collapsed, while the upper floors are intact (the damage level is coherent whit the AeDES criteria but in this case underrates the actual state of the building).

Columns Notation list:

Column d:

G.I. = Grout Injections; R.P. = Reinforced Plaster jacketing; S.C. = Steel Connectors; T.R. = Tie Rods

Columns e,g:

RC = RC beams and hollow bricks; S= Steel beams; W = Wooden beams;

Column f:

R.V. =  Replacement of Vaults; S. RC S. = Strengthening with RC Slab at Vaults’ extrados

Column i:

N.E.D. = No External Damage; E.D. = External Damage;; P.C. = Partial Collapse