## Supplementary Table S1
Supplementary Table S1. Comparison of the quantification on protein solutions by instruments and operators
(a) Evaluation of measurement procedures by modified OPA*1
BSA*2 concentration (µg/mL) | A1 | A2 | C | B1 | B2 | D1 | D2 | E1 | E2
800 | 99.4 ± 2.6 | 99.8 ± 1.3 | 99.2 ± 2.6 | 65.9 ± 25.4 | 99.7 ± 2.6 | 99.4 ± 1.7 | 84.4 ± 2.2 | 95.8 ± 1.3 | NM*3
600 | 101.9 ± 3.1 | 100.7 ± 2.5 | 100.8 ± 3.6 | 88.2 ± 15.6 | 100.4 ± 3.6 | 101.1 ± 2.1 | 94.7 ± 1.3 | 99.1 ± 1.4 | NM
400 | 98.5 ± 2.2 | 100.1 ± 2.0 | 100.7 ± 3.1 | 98.4 ± 8.1 | 101.0 ± 3.1 | 100.2 ± 2.6 | 99.2 ± 3.5 | 100.1 ± 0.6 | NM
300 | 99.6 ± 1.6 | 99.0 ± 1.7 | 101.1 ± 3.7 | 101.0 ± 7.3 | 97.8 ± 3.7 | 99.9 ± 2.1 | 100.8 ± 1.3 | 99.8 ± 1.0 | NM
200 | 99.3 ± 2.9 | 99.5 ± 2.3 | 100.5 ± 3.7 | 104.3 ± 4.4 | 102.3 ± 3.7 | 98.8 ± 2.2 | 101.6 ± 2.9 | 99.4 ± 1.8 | NM
100 | 100.6 ± 1.8 | 99.7 ± 2.1 | 99.3 ± 5.3 | 105.1 ± 4.5 | 99.4 ± 5.3 | 99.3 ± 3.0 | 100.0 ± 2.8 | 97.3 ± 1.4 | NM
50 | 101.0 ± 2.8 | 101.1 ± 3.6 | 95.4 ± 5.0 | 96.7 ± 5.6 | 97.8 ± 5.0 | 98.7 ± 2.7 | 97.2 ± 3.0 | 92.9 ± 2.6 | NM
25 | 103.7 ± 2.2 | 106.3 ± 2.5 | 89.1 ± 6.0 | 71.6 ± 26.5 | 98.6 ± 6.0 | 104.2 ± 12.1 | 96.0 ± 7.8 | 84.3 ± 5.1 | NM
(b) Evaluation of measurement procedures by modified OPA
BSA concentration (µg/mL) | A1 | A2 | C | B1 | B2 | D1 | D2 | E1 | E2
40 | 101.4 ± 3.6 | 101.2 ± 1.9 | 99.8 ± 1.8 | 108.2 ± 19.4 | 101.5 ± 3.1 | 101.1 ± 4.4 | 103.0 ± 3.9 | 103.8 ± 0.6 | NM
30 | 98.6 ± 3.5 | 97.8 ± 3.1 | 100.2 ± 2.4 | 94.0 ± 33.7 | 98.5 ± 5.7 | 98.9 ± 7.0 | 95.1 ± 2.4 | 93.2 ± 9.3 | NM
20 | 100.6 ± 4.6 | 100.5 ± 4.0 | 98.7 ± 3.1 | 84.0 ± 54.0 | 94.4 ± 2.9 | 100.1 ± 12.2 | 102.0 ± 10.2 | 102.3 ± 1.9 | NM
15 | 95.1 ± 5.2 | 97.9 ± 4.1 | 103.0 ± 3.1 | 88.1 ± 54.6 | 104. 0±6.6 | 94.2 ± 10.4 | 93.4 ± 12.8 | 93.6 ± 4.8 | NM
10 | 96.9 ± 4.1 | 105.3 ± 11.2 | 96.7 ± 5.1 | 97.9 ± 69.1 | 102.7 ± 6.1 | 100.4 ± 22.6 | 113.7 ± 0.0 | 105.6 ± 8.8 | NM
5 | 110.6 ± 6.5 | 92.3 ± 22.2 | 105.3 ± 11.4 | 154.3 ± 141.9 | 102.9 ± 4.4 | 90.7 ± 43.5 | 84.1 ± 38.5 | 101.4 ± 9.4 | NM
2.5 | 112.1 ± 13.0 | 121.5 ± 25.6 | 87.4 ± 26.1 | 141.6 ± 365.7 | 98.3 ± 9.1 | 133.7 ± 54.9 | 148.7 ± 71.3 | 118.7 ± 23.9 | NM
(c) Evaluation of measurement procedures by modified BCA*4
BSA concentration (µg/mL) | A1 | A2 | C | B1 | B2 | D1 | D2 | E1 | E2
40 | 100.0 ± 2.2 | 99.9 ± 4.0 | 99.7 ± 0.8 | 98.8 ± 4.8 | 99.8 ± 1.0 | 100.1 ± 8.2 | 101.3 ± 1.7 | 101.2 ± 7.4 | NM
30 | 98.3 ± 4.1 | 99.4 ± 4.5 | 98.8 ± 2.1 | 100.4 ± 9.0 | 100.2 ± 2.1 | 98.8 ± 6.2 | 104.3 ± 1.6 | 96.2 ± 11.8 | NM
20 | 103.5 ± 3.8 | 101.3 ± 3.9 | 103.2 ± 1.5 | 101.7 ± 13.8 | 101.5 ± 2.6 | 99.4 ± 12.0 | 108.1 ± 2.3 | 104.0 ± 7.4 | NM
15 | 99.1 ± 5.5 | 100.7 ± 6.0 | 99.8 ± 1.4 | 101.6 ± 9.6 | 98.2 ± 5.1 | 103.4 ± 19.5 | 108.5 ± 2.1 | 97.8 ± 12.2 | NM
10 | 104.0 ± 5.4 | 101.0 ± 6.1 | 105.7 ± 2.3 | 109.5 ± 16.9 | 98.5 ± 5.9 | 106.4 ± 20.3 | 113.3 ± 6.3 | 105.8 ± 8.9 | NM
5 | 97.1 ± 5.2 | 96.3 ± 4.3 | 99.3 ± 5.3 | 111.9 ± 60.7 | 104.5 ± 6.9 | 100.1 ± 30.0 | 116.3 ± 3.8 | 98.7 ± 9.1 | NM
2.5 | 86.6 ± 10.9 | 97.5 ± 10.3 | 73.9 ± 10.0 | 39.1 ± 419.3 | 96.8 ± 6.7 | 72.6 ± 45.7 | 123.8 ± 15.3 | 87.7 ± 14.0 | NM
Values are expressed as mean ± standard deviation (%); *1 OPA, o-phthalaldehyde; *2 BSA, bovine serum albumin*3 NM, not measured, not measured; *4 BCA, bicinchoninic.
Groups A–E were classified according to instrument function. Groups A and C: microplate readers. Groups B, D, and E: Ultraviolet-Visible spectrometers. For Group B, attachments were used to measure 200 µL of solution. For Group D, 100 µL of solution was measured without attachments. For Groups D and E, 500–600 µL of solution was measured following conventional procedures. Dilution operations were conducted according to the protocol of the initial organisation. Standard curve linearities differed between the modified OPA and modified BCA methods. In this study, we performed only the modified micro-BCA method. The modified OPA method at low protein concentrations (2.5–40 µg/mL) did not work, although we also investigated it. All measurements were repeated six times.