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Table S1. Overview of iAg tests included in the review
	Short Name
	Company
	Platform
	Assay
	Technology
	Intended Setting
	Time-to-Result
	References

	ADVIA Centaur
	Siemens Healthineers
	ADVIA Centaur (XP/XPT) XPT Immunoassay System
	ADVIA Centaur SARS-CoV-2 Antigen Assay
	CLIA
	Lab-based
	23 minutes
	 (61)

	AFIAS
	Boditech Med
	AFIAS-6
	AFIAS COVID-19 Ag 
	FIA
	POC
	10-30 minutes
	(72), (73)

	Atellica 
	Siemens Healthineers
	Atellica® Solution
	Atellica IM SARS-CoV-2 Antigen Assay
	CLIA
	Lab-based
	26 minutes
	(67)

	BD Veritor
	BD (Becton, Dickinson and Company)
	BD VeritorTM Plus Analyzer
	BD Veritor™ System for Rapid Detection of SARS-CoV-2
	DIA
	POC
	12-20 minutes
	 (66), (74), (75), (76), (77), (78), (41), (79), (43), (45), (80), (53), (60), (25), (81), (82) 

	Bioeasy
	Shenzhen Bioeasy Biotechnology 
	Immunofluorescence Analyzer EASY-11
	Bioeasy 2019-nCoV Ag Fluorescence Rapid Test Kit
	FIA
	POC
	10-20 minutes
	(35), (37), (83), (84)

	Elecsys
	Roche Diagnostics 
	cobas e 411, e 601, e 602, e 801 analyzers
	Elecsys SARS-CoV-2 Antigen assay
	ECLIA
	Lab-based
	15-18 minutes
	 (85), (86), (47), (87), (29), (88), (59), (89)

	Euroimmun
	Euroimmun Medizinische Labordiagnostika
	Analyzer I-2P
	SARS-CoV-2 Antigen ELISA
	ELISA
	Lab-based
	n/a
	(86), (90)

	Exdia
	Precision Biosensor
	Exdia TRF analyzer
	Exdia COVID-19 Ag
	FIA
	POC
	15-20 minutes
	(75), (53)

	FIAflex
	ACON Laboratories
	FIAflex™ Fluorescent Immunoassay Analyzer
	FIAflex™ SARS-CoV-2 Antigen FIA 
	FIA
	POC
	15 minutes
	(45)

	FREND
	NanoEntek
	FREND™ System
	FRENDTM COVID-19 Ag test 
	FIA
	POC
	3 minutes
	(91), (92)

	Gazelle
	Hemex Health
	Gazelle Reader
	Gazelle COVID-19
	FIA
	POC
	n/a
	(93)

	HISCL
	Sysmex Corporation
	HISCL®‐5000 / HISCL®‐800
	HISCL® SARS‐CoV‐2 Ag Assay kit
	CLEIA
	Lab-based
	17 minutes
	(94), (65)

	ichroma
	Boditech Med
	ichroma™ 
	ichroma™ COVID-19 Ag Test
	FIA
	POC
	15-30 minutes
	(95)

	LIAISON
	DiaSorin S.p.A. 
	LIAISON® XL
	LIAISON® SARS-CoV-2 Ag
	CLIA
	Lab-based
	45 minutes
	 (40), (44), (86), (96), (97), (98), (58), (62), (63)

	Lumipulse G
	Fujirebio
	Lumipulse® G1200
	Lumipulse® G SARS-CoV-2 Ag
	CLEIA
	Lab-based
	30-60 minutes
	(99), (100), (101), (102), (86), (72), (49), (51), (103), (104), (54), (105), (106)

	LumiraDx
	LumiraDx
	LumiraDx™ Platform
	LumiraDx SARS-CoV-2 Ag test
	FIA
	POC
	12-15 minutes
	(107), (32), (108), (109), (91), (110), (111), (42), (112), (113), (45), (114), (115), (116), (117), (118), (27), (119), (120), (53), (56), (26)

	mariPOC
	ArcDia International
	mariPOC® test system
	mariPOC SARS-CoV-2 test
	FIA
	POC
	20-55 minutes
	(48), (121)

	PCL
	PCL
	n/a
	PCL COVID-19 Ag Rapid FIA test
	FIA
	POC
	<30 minutes
	(122), (55)

	RapidTesta
	Sekisui Medical
	n/a
	RapidTesta SARS-CoV-2 
	DIA
	POC
	10 minutes
	(123)

	MSD S-PLEX
	MesoScale Diagnostics
	MESO SECTOR S 600 Reader
	MSD S-PLEX SARS-CoV-2 N assay
	ECLIA
	Lab-based
	4-5 hours
	(124), (50), (125)

	Sofia
	Quidel
	Sofia Fluorescent Immunoassay Analyzer
	Sofia SARS Antigen FIA
	FIA
	POC
	15 minutes
	(126), (36), (127), (82), (38), (128), (129), (130), (131), (132), (124), (122), (133), (134), (135), (136), (52)

	STANDARD F
	SD Biosensor
	STANDARDTM F2400 Analyzer / STANDARDTM F2400 Analyzer
	STANDARDTM F COVID-19 Ag FIA
	FIA
	POC
	10-30 minutes
	(137), (138), (36), (31), (139), (91), (140), (72), (141), (92), (142), (73), (143), (52), (57), (64), (144)

	VITROS
	Ortho Clinical Diagnostics
	VITROS® 3600 Immunodiagnostic System
	VITROS Immunodiagnostic Products SARS-CoV-2 Antigen test
	CLIA
	Lab-based
	48 minutes
	(145), (102), (46), (28), (146)

	Wantai 
	Beijing Wantai Biological Pharmacy Enterprise
	n/a
	Wantai SARS-CoV-2 Antigen Rapid Test (FIA)
	FIA
	POC
	20 minutes
	(52), (147)


Table S1 - Overview of iAg tests included in the review. Abbreviations: CLIA = Chemiluminescence immunoassay, FIA = Fluorescence immunoassay, DIA = Diffusion immunoassay, CLEIA = Chemiluminescence enzyme immunoassay, ECLIA = Electrochemiluminescence immunoassay, ELISA = Enzyme-linked immunosorbent assay, POC = Point-of-care
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