| Supplementary Table S1. MRI parameters of the Private Dataset with 207 annotated subjects. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Vendor | Scanner type ID | Scanner | Magnetic field strength (T) | Scanning sequence | Repetition time (ms) | Echo time (s) | Field of view (mm) | Acquisition matrix | Slice thickness (mm) | Spacing between slices (mm) | Inversion Time (ms) | Number of subjects |
| GE Healthcare | 1 | DISCOVERY MR750w | 3 | RM | 8900 | 140-149 | 220 | 320 × 192 | 6 | 7 | 2040-2050 | 4 |
| GE Healthcare | 1 | DISCOVERY MR750w | 3 | RM | 11000 | 140-149 | 220 | 320 × 192 | 6 | 7 | 2250 | 28 |
| GE Healthcare | 2 | Optima MR450w | 1.5 | SE/IR | 9000 | 120-129 | 240 | 224 × 224 | 5 | 6 | 2358 | 2 |
| GE Healthcare | 3 | SIGNA Architect | 3 | SE | 11000 | 100-109 | 220 | 288 × 224 | 5 | 6 | 2649 | 6 |
| GE Healthcare | 3 | SIGNA Architect | 3 | SE | 11000 | 90-99 | 220 | 288 × 224 | 5 | 6 | 2649 | 1 |
| GE Healthcare | 4 | SIGNA EXCITE | 1.5 | IR | 8000 | 140-149 | 239 | 288 × 224 | 6 | 8 | 2000 | 4 |
| GE Healthcare | 4 | SIGNA EXCITE | 1.5 | IR | 8000 | 140-149 | 240 | 288 × 224 | 6 | 8 | 2000 | 2 |
| GE Healthcare | 5 | Signa HDxt | 1.5 | SE | 9000 | 110-119 | 220 | 320 × 320 | 6 | 7 | 2200 | 1 |
| GE Healthcare | 5 | Signa HDxt | 1.5 | SE/IR | 8000 | 140-149 | 240 | 288 × 224 | 5 | 6.5 | 2000 | 1 |
| GE Healthcare | 5 | Signa HDxt | 1.5 | SE/IR | 8000 | 140-149 | 240 | 288 × 224 | 6 | 8 | 2000 | 1 |
| GE Healthcare | 5 | Signa HDxt | 1.5 | SE/IR | 8920 | 140-149 | 220 | 224 × 192 | 6 | 7 | 2250 | 1 |
| GE Healthcare | 5 | Signa HDxt | 1.5 | SE/IR | 10000 | 140-149 | 220 | 224 × 192 | 6 | 7 | 2250 | 36 |
| GE Healthcare | 6 | Signa HDxt | 3 | RM | 11000 | 140-149 | 220 | 288 × 192 | 5 | 6 | 2250 | 1 |
| GE Healthcare | 6 | Signa HDxt | 3 | RM | 11000 | 140-149 | 220 | 288 × 224 | 5 | 6 | 2250 | 16 |
| Philips | 7 | Ingenia | 1.5 | IR | 10000 | 100-109 | 230 | 320 × 198 | 5 | 6 | 2500 | 1 |
| Philips | 7 | Ingenia | 1.5 | IR | 10000 | 110-119 | 229 | 268 × 246 | 5 | 6 | 2700 | 27 |
| Philips | 7 | Ingenia | 1.5 | IR | 10000 | 120-129 | 229 | 320 × 223 | 5 | 6 | 2500 | 1 |
| Philips | 7 | Ingenia | 1.5 | IR | 10000 | 120-129 | 230 | 320 × 228 | 5 | 6 | 2500 | 29 |
| Philips | 7 | Ingenia | 1.5 | IR | 10000 | 120-129 | 230 | 320 × 234 | 5 | 6 | 2500 | 2 |
| Philips | 7 | Ingenia | 1.5 | IR | 10000 | 120-129 | 230 | 320 × 242 | 5 | 6 | 2500 | 1 |
| Siemens Healthineers | 8 | Avanto | 1.5 | SE/IR | 9000 | 100-109 | 221 | 256 × 177 | 5 | 6 | 2500 | 20 |
| Siemens Healthineers | 9 | Symphony | 1.5 | SE/IR | 9000 | 100-109 | 209 | 320 × 211 | 5 | 6 | 2500 | 14 |
| Siemens Healthineers | 9 | Symphony | 1.5 | SE/IR | 9000 | 100-109 | 209 | 320 × 211 | 5 | 6.25 | 2500 | 3 |
| Siemens Healthineers | 9 | Symphony | 1.5 | SE/IR | 9000 | 100-109 | 218 | 320 × 230 | 5 | 6 | 2500 | 5 |
| Scanner type ID: a unique ID for each combination of scanner and magnetic field strength, IR: inversion recovery, RM:research mode, SE: spin echo. |  |  |  |  |  |  |  |  |  |  |  |  |