Fig S1 Panoramic view from S9 Aliyot, with Himalayan and Karakoram ranges in the Background.

Fig S2 Some of the water sampling sites.

Fig S3 The author collecting the water samples from a Sikh-era spring at S12 phagwari which was dug in 1820s by the Sikh merchants.

Fig S4 Bottled and labelled samples back at the Lab.

Table S1 Experimental conditions of ICP-OES

| Parameter | Value |
| --- | --- |
| RF Power | 1150 W |
| Pump Rate | 50 rpm |
| Auxiliary Gas Flow | 0.5 L/min |
| Nebulizer Gas Flow | 0.5 L/min |
| Coolant Gas Flow | 12 L/min |
| Purge Gas Flow | Normal |
| Viewing Plasma Height | 14mm |

Table S2 ADD parameters values.

| Parameters | Adult | Child | Parameters | Adult | Child |
| --- | --- | --- | --- | --- | --- |
| RING (mg/day) | 100 | 200 | EF (days/year) | 180 | 180 |
| RINH (mg/cm2) | 20 | 20 | SA (cm2) | 2145 | 1150 |
| ED (Years) | 24 | 6 | W (kg) | 70 | 15 |
| PEF (m3/kg) | 1.3×109 | 1.3×109 | AT (days) | 8760 | 2190 |
| ABF (As) | 0.03 | 0.03 | ABF (OM) | 0.001 | 0.001 |

Table S3 RFD and CSF values for the three exposure pathways.

| Metals | RFD ING | RFD INH | RFD DER | CSF ING | CSF INH | CSF DER |
| --- | --- | --- | --- | --- | --- | --- |
| Cu | 4.00×10-2 | 4.02×10-2 | 1.20×10-2 | - | - | - |
| Pb | 3.50×10-3 | 3.25×10-3 | 5.25×10-4 | 0.0085 | - | 0.042 |
| As | 3.00×10-4 | 3.00×10-4 | 1.23×10-4 | 1.5 | 1.5 | 1.5 |
| Ni | 2.00×10-2 | 2.06×10-2 | 5.40×10-4 | - | 8.4 | - |
| Cr | 3.00×10-3 | 2.86×10-5 | 6.00×10-5 | 0.5 | - | 41 |
| Mn | 1.40×10-1 | 1.40×10-1 | 1.80×10-3 | - | - | - |
| Ba | 7.00×10-2 | 1.43×10-4 | 4.90×10-3 | - | - | - |
| Zn | 3.00×10-1 | 3.00×10-1 | 6.00×10-2 | - | - | - |
| Li | - | - | - | - | - | - |
| Fe | 0.007 | - | 0.007 | - | - | - |
| Co | 3.00×10-4 | 5.71×10-6 | 1.60×10-2 | - | 9.8 | - |

Table S4: Water quality indices with permissible limits used in the study

| S. No | Water quality assessment parameters | Values |  |  |  |  | References |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Sodium adsorption ratio (SAR) meq/L | < 10 | 10--18 | 18-26 | > 26 | - | (Alfaifi et al., 2021) |  |
|  | Category | Excellent | Good | Doubtful | Unsuitable | - |  |  |
| 2 | Salinity hazard (EC) µs/cm | < 250 | 250-750 | 750-2000 | 2000-3000 | > 3000 | (Raghunath, 1987) |  |
|  | Category | Excellent | Good | Permissible | Doubtful | Unsuitable |  |  |
| 3 | Sodium percentage (Na%) meq/L | < 20 | 20-40 | 40-60 | 40-80 | > 80 | (Xiao et al., 2019) |  |
|  | Category | Excellent | Good | Permissible | Doubtful | Unsuitable |  |  |
| 4 | Magnesium adsorption (MAR) meq/L | < 50 | > 50 | - | - | - | (Jehan et al., 2020) |  |
|  | Category | Suitable | Unsuitable | - | - | - |  |  |
| 5 | Kelly ratio (KR) meq/L | < 1 | > 1 | - | - | - | (Kelley, 1963) |  |
|  | Category | Fit | Unfit | - | - | - |  |  |

Table S5 Max allowed values for metals in water.

| Agency | Metal | Max allowed value (mg/L) |
| --- | --- | --- |
| PAK-EPA | Al | 0.2 |
| PAK-EPA | Ba | 0.7 |
| PAK-EPA | B | 0.3 |
| PAK-EPA | Cr | 0.05 |
| PAK-EPA | Ni | 0.02 |
| USEPA | Fe | 0.3 |
| PAK-EPA | Zn | 5 |
| CANADA | Sr | 7 |
| CANADA | Mg | 50 |
| CANADA | Ca | 200 |