5

5

Table 3. Right Upper Quadrant (RUQ) port setup. 95th and 5th percentile.

| Right Upper Quadrant (RUQ) port setup |  |  |  |  |
| --- | --- | --- | --- | --- |
| Port number | Port size | Instrument | 95th percentile | 5th percentile |
| Port 1 | 11 mm | Endoscope | To Xyphoid: 5 cm patient right 18 cm inferior | To Xyphoid: 2 cm patient right 16 cm inferior |
| Port 2 | 8 mm | Left Hand | To Endoscope: 12 cm patient right 0 cm superior | To Endoscope: 8 cm patient right 0 cm superior |
| Port 3 | 8 mm | Right Hand | To Endoscope: 10 cm patient left 5 cm superior | To Endoscope: 6 cm patient left 5 cm superior |
| Port 4 | 8 mm | Reserve | To Right Hand: 10 cm patient left 0 cm superior | To Right Hand: 8 cm patient left 0 cm superior |
| Port 5 | 12 mm | Assistant | To Endoscope: 6 cm patient right 5 cm inferior | To Endoscope: 4 cm patient right 4 cm inferior |
| 95th percentile 4 3 2 1 Patient head |  |  | 5th percentile 4 3 2 Patient head 1 |  |

Table 4. Left Upper Quadrant (LUQ) port setup. 95th and 5th percentile.

| Left Upper Quadrant (LUQ) port setup |  |  |  |  |
| --- | --- | --- | --- | --- |
| Port number | Port size | Instrument | 95th percentile | 5th percentile |
| Port 1 | 11 mm | Endoscope | To Xyphoid: 5 cm patient left 18 cm inferior | To Xyphoid: 2 cm patient left 13 cm inferior |
| Port 2 | 8 mm | Left Hand | To Endoscope: 9 cm patient right 5 cm superior | To Endoscope: 6 cm patient right 5 cm superior |
| Port 3 | 8 mm | Right Hand | To Endoscope: 12 cm patient left 0 cm superior | To Endoscope: 8 cm patient left 0 cm superior |
| Port 4 | 8 mm | Reserve | To Left Hand: 10 cm patient right 0 cm superior | To Left Hand: 8 cm patient right 0 cm superior |
| Port 5 | 12 mm | Assistant | To Endoscope: 6 cm patient left 6 cm inferior | To Endoscope: 4 cm patient left 4 cm inferior |
| 95th percentile 3 4 5 2 1 Patient head |  |  | 5th percentile 4 2 3 1 5 Patient head |  |

Table 5. Same port placement with different instrument assignment for RUQ and LUQ.

| RUQ port setup | LUQ surgeries with RUQ port setup |
| --- | --- |

Table 6. Recommended guidelines by Medtronic. a: Alternative port placement for LUQ procedures.

| RUQ Surgery | LUQ Surgery |
| --- | --- |
|  | a |