S1 Table 1. RT-qPCR CT values of pools with multiple positive specimens against individual test results

| Test Platform | Pool ID | Sample ID | Pool CT | Standard CT |
| --- | --- | --- | --- | --- |
| QIAstat | Q1 | S1 | 19.9 | Negative |
|  |  | S2 |  | Negative |
|  |  | S3 |  | Negative |
|  |  | S4 |  | Negative |
|  |  | S5 |  | 18.9 |
|  |  | S6 |  | Negative |
|  |  | S7 |  | Negative |
|  |  | S8 |  | Negative |
|  |  | S9 |  | 36 |
|  |  | S10 |  | Negative |
|  | Q2 | S1 | 30.7 | 33.4 |
|  |  | S2 |  | Negative |
|  |  | S3 |  | Negative |
|  |  | S4 |  | Negative |
|  |  | S5 |  | Negative |
|  |  | S6 |  | 29.5 |
|  |  | S7 |  | Negative |
|  |  | S8 |  | Negative |
|  |  | S9 |  | Negative |
|  |  | S10 |  | Negative |
|  | Q3 | S1 | 28.5 | 24.4 |
|  |  | S2 |  | Negative |
|  |  | S3 |  | Negative |
|  |  | S4 |  | Negative |
|  |  | S5 |  | Negative |
|  |  | S6 |  | 35.2 |
|  |  | S7 |  | Negative |
|  |  | S8 |  | Negative |
|  |  | S9 |  | 31.5 |
|  |  | S10 |  | Negative |
|  | Q4 | S1 | 24.3 | Negative |
|  |  | S2 |  | Negative |
|  |  | S3 |  | Negative |
|  |  | S4 |  | Negative |
|  |  | S5 |  | Negative |
|  |  | S6 |  | 19 |
|  |  | S7 |  | Negative |
|  |  | S8 |  | Negative |
|  |  | S9 |  | 30 |
|  |  | S10 |  | 24.2 |
|  | Q5 | S1 | Negative | 37 |
|  |  | S2 |  | 32.6 |
|  |  | S3 |  | Negative |
|  |  | S4 |  | Negative |
|  |  | S5 |  | Negative |
|  |  | S6 |  | Negative |
|  |  | S7 |  | Negative |
|  |  | S8 |  | Negative |
|  |  | S9 |  | Negative |
|  |  | S10 |  | Negative |
|  | Q6 | S1 | Negative | 33.3 |
|  |  | S2 |  | 35.8 |
|  |  | S3 |  | Negative |
|  |  | S4 |  | Negative |
|  |  | S5 |  | Negative |
|  |  | S6 |  | Negative |
|  |  | S7 |  | Negative |
|  |  | S8 |  | Negative |
|  |  | S9 |  | Negative |
|  |  | S10 |  | Negative |
| Xpert | X1 | S1 | 14 | Negative |
|  |  | S2 |  | Negative |
|  |  | S3 |  | Negative |
|  |  | S4 |  | 38.2 |
|  |  | S5 |  | 12.3 |
|  | X2 | S1 | 35.3 | Negative |
|  |  | S2 |  | Negative |
|  |  | S3 |  | Negative |
|  |  | S4 |  | 38 |
|  |  | S5 |  | 34.4 |
|  | X3 | S1 | 38.7 | Negative |
|  |  | S2 |  | Negative |
|  |  | S3 |  | Negative |
|  |  | S4 |  | 35.8 |
|  |  | S5 |  | 37 |
|  | X4 | S1 | 31.8 | Negative |
|  |  | S2 |  | Negative |
|  |  | S3 |  | 37.6 |
|  |  | S4 |  | 29.8 |
|  |  | S5 |  | Negative |

S2 Table. Individual assessment of specimens that gave discrepant results by pooled testing

| Sample ID | Standard RT-qPCR | Xpert Xpress SARS-CoV-2 | QRSP |
| --- | --- | --- | --- |
| 1 | Positive (CT = 34) | Positive (CT = 33.5) | Negative |
| 2 | Positive (CT = 36.4) | Positive (CT = 35.8) | Negative |
| 3 | Positive (CT = 35) | Positive (CT = 35.8) | Negative |
| 4 | Positive (CT = 37.2) | Positive (CT = 38.0) | Negative |
| 5 | Positive (CT = 34.4) | Positive (CT = 33.3) | Negative |
| 6 | Positive (CT = 36.9) | Positive (CT = 37.2) | Negative |
| 7 | Positive (CT = 33.3) | Positive (CT = 34.2) | Negative |
| 8 | Positive (CT = 33.9) | Positive (CT = 32.6) | Negative |