# Supplementary Material

A novel lab-on-chip cartridge overcoming centrifugation and slide preparation for automated urinalysis

Avinash Sahu, Srinivasan Kandaswamy*, Dhanu Vardhan Singh, Eshwarmurthy Thyagarajan, Arun Koushik Parthasarathy, Sharitha Naganna and Tathagato Rai Dastidar

SigTuple Technologies Pvt. Ltd, Bengaluru, Karnataka 560102, India

*srinivasan@sigtuple.com

Analytical Parameter

To assess the performance of the system we incorporate the following analytical parameter namely sensitivity, specificity, precision and accuracy. They are defined as

Sensitivity

The number of positive samples correctly detected by the automated system versus the number of positive samples in the ground truth. This number indicates what percentage of positive samples in the ground truth will be picked up as positive samples by the automated system.

(1)

Specificity

The number of negative samples correctly detected by the automated system versus the number of negative samples in the ground truth. Hence, it’s similar to sensitivity but with respect to negative samples.

(2)

Precision

This is the number of true positive samples predicted by the automated system with respect to all the positive samples predicted by the system. This could be imagined as a strike rate of the system.

(3)

Accuracy

This is the overall correct prediction by the system (for both positive and negative) versus the total predictions done by the system.

(4)

Where TP - True positive, TN - True negative, FN - False negative, FP - False positive.

True Positives and True Negatives are instances of a match between WM and the GSC data (manual microscopy, tele reporting and AI model). For example, if both WM and GSC report epithelial as detected, it's a true positive; if both report it as not detected, then it's a true negative. False positives and False negatives are defined as instances where there is a mismatch between the WM and the GSC data (manual microscopy, tele reporting and AI model). For example, if WM reports epithelial as not detected and GSC reports epithelial as detected, then it is a false positive, whereas if wet mount reports it as detected and GSC reports it as not detected, then it's a false negative. For quantitative classes, we consider cells >5 cells / FOV as detected and <=5 cells / FOV as not detected to calculate performance metrics. These performance metrics help us capture the overall performance of the system.