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	Intraclass correlation coefficient (95% CI)
	P-value

	Inter-observer agreement (n=22 cross-sections)
	
	

	Minimal inner stent frame diameter
	0.887 [0.743 - 0.952]
	0.002 

	Maximal inner stent frame diameter
	0.758 [0.327 - 0.845]
	0.010

	Minimal outer stent frame diameter
	0.834 [0.635 - 0.929]
	0.003

	Maximal outer stent frame diameter
	0.702 [0.398 - 0.867]
	0.007

	Inner stent frame cross-sectional area
	0.918 [0.810 - 0.966]
	0.001

	Outer stent frame cross-sectional area
	0.897 [0.765 - 0.957]
	0.002

	Intra-observer agreement (n=22 cross-sections)
	
	

	Minimal inner stent frame diameter
	0.921 [0.816 - 0.967]
	0.001

	Maximal inner stent frame diameter
	0.869 [0.706 - 0.944]
	0.002

	Minimal outer stent frame diameter
	0.924 [0.765 – 0.957]
	0.001

	Maximal outer stent frame diameter
	0.895 [0.760 – 0.956]
	0.002

	Inner stent frame cross-sectional area
	0.942 [0.864 – 0.976]
	0.001

	Outer stent frame cross-sectional area
	0.943 [0.866 – 0.977]
	0.001
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