# Supplementary Materials

Supplementary material 1:

fNIRS cap

Note. Left figure presents optodes disposition on fNIRS cap. Right figure shows Regions of Interest (ROIs) - 1: medial prefrontal cortex, 2: dorsolateral pre-frontal cortex, 3: lateral pre-frontal cortex, 4: pre-central gyrus, 5: post-central gyrus, 6: superior parietal cortex, 7: inferior parietal cortex, 8: occipital cortex. Images adapted from NIRx Medical Techonologies, Glenn Head, NY; and Morais et al. (2018).

Supplementary material 2

Optodes and channels identification

| Channel Index | Source | Detector | EEG 10-20 | ROI |
| --- | --- | --- | --- | --- |
| 1 | 1 | 1 | Fpz-Fp2 | 1 |
| 2 | 1 | 2 | Fpz-AFz | 1 |
| 3 | 2 | 1 | Af4-Fp2 | 1 |
| 4 | 2 | 2 | Af4-Afz | 1 |
| 5 | 2 | 4 | Af4-F6 | 2 |
| 6 | 3 | 1 | AF8-Fp2 | 2 |
| 7 | 3 | 4 | Af8-F6 | 3 |
| 8 | 4 | 2 | Fz-Afz | 1 |
| 9 | 4 | 3 | Fz-F2 | 1 |
| 10 | 4 | 5 | Fz-FCz | 1 |
| 11 | 5 | 3 | F4-F2 | 2 |
| 12 | 5 | 4 | F4-F6 | 2 |
| 13 | 5 | 6 | F4-FC4 | 2 |
| 14 | 6 | 4 | F8-F6 | 3 |
| 15 | 6 | 7 | F8-FT8 | 3 |
| 16 | 7 | 3 | FC2-F2 | 1 |
| 17 | 7 | 5 | FC2-FCz | 1 |
| 18 | 7 | 6 | FC2-FC4 | 2 |
| 19 | 7 | 8 | FC2-C2 | 4 |
| 20 | 8 | 4 | FC6-F6 | 3 |
| 21 | 8 | 6 | FC6-FC4 | 2 |
| 22 | 8 | 7 | FC6-FT8 | 3 |
| 23 | 8 | 9 | FC6-C6 | 4 |
| 24 | 9 | 5 | Cz-FCz | 4 |
| 25 | 9 | 8 | Cz-C2 | 4 |
| 26 | 9 | 10 | Cz-CPz | 5 |
| 27 | 10 | 6 | C4-FC4 | 4 |
| 28 | 10 | 8 | C4-C2 | 4 |
| 29 | 10 | 9 | C4-C6 | 4 |
| 30 | 10 | 11 | C4-CP4 | 5 |
| 31 | 11 | 8 | CP2-C2 | 5 |
| 32 | 11 | 10 | CP2-CPz | 5 |
| 33 | 11 | 11 | CP2-CP4 | 5 |
| 34 | 11 | 12 | CP2-P2 | 6 |
| 35 | 12 | 9 | CP6-C6 | 5 |
| 36 | 12 | 11 | CP6-CP4 | 5 |
| 37 | 12 | 13 | CP6-P6 | 6 |
| 38 | 13 | 10 | Pz-CPz | 6 |
| 39 | 13 | 12 | Pz-P2 | 6 |
| 40 | 13 | 14 | Pz-POz | 8 |
| 41 | 14 | 11 | P4-CP4 | 6 |
| 42 | 14 | 12 | P4-P2 | 7 |
| 43 | 14 | 13 | P4-P6 | 7 |
| 44 | 14 | 15 | P4-PO4 | 7 |
| 45 | 15 | 14 | O2-Poz | 8 |
| 46 | 15 | 15 | O2-PO4 | 8 |
| 47 | 15 | 16 | O2-Oz | 8 |
| 48 | 16 | 13 | PO8-P6 | 7 |
| 49 | 16 | 15 | PO8-PO4 | 7 |

Note. Identification of channels, source and detectors and their positions according to 10-20 eeg system.

Supplementary Material 3:

HbO statistics

| Channel | P value | W statistic |
| --- | --- | --- |
| 1 | 0.127 | 220 |
| 2 | 0.002* | 272 |
| 3 | 0.275 | 204 |
| 4 | 0.107 | 223 |
| 5 | 0.812 | 172 |
| 6 | 0.287 | 203 |
| 7 | 0.895 | 157 |
| 8 | 0.352 | 198 |
| 9 | 0.141 | 218 |
| 10 | 0.090 | 226 |
| 11 | 0.148 | 217 |
| 12 | 0.832 | 171 |
| 13 | 0.263 | 120 |
| 14 | 0.958 | 165 |
| 15 | 0.339 | 126 |
| 16 | 0.832 | 154 |
| 17 | 0.560 | 140 |
| 18 | 0.275 | 204 |
| 19 | 0.396 | 195 |
| 20 | 0.127 | 105 |
| 21 | 0.252 | 119 |
| 22 | 0.287 | 122 |
| 23 | 0.474 | 135 |
| 24 | 0.751 | 175 |
| 25 | 0.542 | 186 |
| 26 | 0.312 | 201 |
| 27 | 0.080 | 228 |
| 28 | 0.916 | 167 |
| 29 | 0.287 | 203 |
| 30 | 0.051 | 90 |
| 31 | 0.937 | 166 |
| 32 | 0.832 | 154 |
| 33 | 0.490 | 136 |
| 34 | 0.560 | 185 |
| 35 | 0.937 | 166 |
| 36 | 0.979 | 164 |
| 37 | 0.832 | 171 |
| 38 | 0.874 | 156 |
| 39 | 0.791 | 173 |
| 40 | 0.916 | 158 |
| 41 | 0.427 | 193 |
| 42 | 0.042* | 238 |
| 43 | 0.071 | 230 |
| 44 | 0.427 | 193 |
| 45 | 0.812 | 172 |
| 46 | 0.578 | 184 |
| 47 | 0.339 | 126 |
| 48 | 0.751 | 150 |
| 49 | 0.916 | 167 |

Note. Results of Wilcoxon tests comparing HbO levels in each channel between attentive and inattentive conditions.

*P < 0,05

Supplementary Material 4:

Hb statistics

| Channel | P value | W statistic |
| --- | --- | --- |
| 1 | 0.381 | 129 |
| 2 | 0.007* | 64 |
| 3 | 0.164 | 110 |
| 4 | 0.062 | 93 |
| 5 | 0.560 | 185 |
| 6 | 0.134 | 106 |
| 7 | 0.731 | 149 |
| 8 | 0.300 | 123 |
| 9 | 0.220 | 116 |
| 10 | 0.691 | 147 |
| 11 | 0.832 | 154 |
| 12 | 0.812 | 153 |
| 13 | 0.173 | 214 |
| 14 | 1 | 162 |
| 15 | 0.210 | 210 |
| 16 | 0.812 | 172 |
| 17 | 0.381 | 196 |
| 18 | 0.832 | 154 |
| 19 | 0.937 | 159 |
| 20 | 0.458 | 191 |
| 21 | 0.615 | 182 |
| 22 | 0.396 | 195 |
| 23 | 0.241 | 207 |
| 24 | 0.937 | 159 |
| 25 | 0.426 | 193 |
| 26 | 0.164 | 110 |
| 27 | 0.958 | 165 |
| 28 | 0.474 | 190 |
| 29 | 0.411 | 194 |
| 30 | 0.200 | 211 |
| 31 | 0.381 | 196 |
| 32 | 0.426 | 193 |
| 33 | 0.853 | 170 |
| 34 | 0.682 | 179 |
| 35 | 0.508 | 188 |
| 36 | 0.120 | 221 |
| 37 | 0.731 | 176 |
| 38 | 0.711 | 177 |
| 39 | 0.937 | 159 |
| 40 | 0.711 | 177 |
| 41 | 0.895 | 168 |
| 42 | 0.263 | 120 |
| 43 | 0.096 | 100 |
| 44 | 0.791 | 173 |
| 45 | 0.525 | 138 |
| 46 | 0.381 | 129 |
| 47 | 0.633 | 181 |
| 48 | 0.542 | 186 |
| 49 | 1 | 162 |

Note. Results of Wilcoxon tests comparing Hb levels in each channel between attentive and inattentive conditions.

*p < 0,05

Supplementary material 5:

Time courses of neurophysiological data.

Note. Averaged time course across all participants of HbO and Hb concentration changes between fast and slow responses. The count of 50 frames on y axis corresponds to approximately 6s. Black vertical line represents stimulus presentation.