
Supplementary Table 1 Scan and the reconstruction parameters of computed tomography.
	The scan parameters
	

	X-ray tube voltage
	120 kV

	X-ray tube current
	80 mA

	rotation time
	0.5 s

	layer spacing
	5 mm

	layer thickness
	5 mm

	Pitch
	0.984

	Matrix
	512×512

	The reconstruction parameters
	

	layer thickness
	1.25 mm

	layer spacing
	1.25 mm

	reconstruction algorithm
	Standard

	reconstruction window
	Abdomen



[bookmark: _GoBack]


Supplementary

Table

1

Scan

and

the

reconstruction

parameters

of

computed

tomography.

The

scan

parameters

X-ray

tube

voltage

120

kV

X-ray

tube

current

80

mA

rotation

time

0.5

s

layer

spacing

5

mm

layer

thickness

5

mm

Pitch

0.984

Matrix

512

×

512

The

reconstruction

parameters

layer

thickness

1.25

mm

layer

spacing

1.25

mm

reconstruction

algorithm

Standard

reconstruction

window

Abdomen

