Supplementary Table 1 Scan and the reconstruction parameters of computed tomography.

| The scan parameters |  |
| --- | --- |
| X-ray tube voltage | 120 kV |
| X-ray tube current | 80 mA |
| rotation time | 0.5 s |
| layer spacing | 5 mm |
| layer thickness | 5 mm |
| Pitch | 0.984 |
| Matrix | 512×512 |
| The reconstruction parameters |  |
| layer thickness | 1.25 mm |
| layer spacing | 1.25 mm |
| reconstruction algorithm | Standard |
| reconstruction window | Abdomen |