Occurrence in France of 1,4-dioxane, an emerging pollutant of high concern in drinking water

Cristina Bach*, Virginie Boiteux and Xavier Dauchy

ANSES, Nancy Laboratory for Hydrology, Water Chemistry Unit, 40 rue Lionnois, 54000 Nancy, France

*Corresponding author: cristina.bach@anses.fr

Figure 1S. Calculated bias between the experimental and the theoretical concentration of 1,4-dioxane for each calibration point.

Table 1S: Recovery study of 1,4- dioxane in three matrices (groundwater, surface water and drinking water).

| Spiking concentration of 1,4-dioxane (µg/L) | 0.15 | 0.75 | 4.00 |
| --- | --- | --- | --- |
| Average (µg/L) | 0.18 | 0.84 | 4.57 |
| Relative bias (%) | 17% | 13% | 14% |
| Mean recovery (%) | 117% | 113% | 114% |

Table 2S: Recovery and standard deviation (%) for 1,4-dioxane according to the type of water during the sampling campaign from October 2020 to February 2022.

| Type of water | Number of spiked samples at 1 µg/L | Recovery ± standard deviation (%) |
| --- | --- | --- |
| Treated water | 47 | 115 ± 21 |
| Groundwater | 29 | 114 ± 18 |
| Surface water | 16 | 120 ± 11 |