eTable 1. Quality Assurance Metrics: Linewidth (LW) and signal-to-noise ratio (SNR) are presented for NAA; LW. and % Cramer Rao Lower Bounds (CRLB) are presented for GABA. Mean values, range and % CoV are shown as the well as the range of the median absolute deviation (MAD-range). This metric runs from the (median – 3x the median absolute deviation) to (median + 3x the median absolute deviation) and is considered a more reliable metric for outlier detection than mean +/- 3xSD

|  | NAA LW | GABA LW | NAA SNR | NAA LW (Edit-off) | GABA % CRLB |
| --- | --- | --- | --- | --- | --- |
| Mean | 6.7 | 24.0 | 41.6 | 6.4 | 15.2% |
| Range | 4.6-12.1 | 18.0-30.0 | 26.1-56.6 | 4.7-13.2 | 10.8%-19.5% |
| CoV | 27% | 20% | 17% | 30% | 16.3% |
| MAD-range | 4.2-8.1 | 15.0-39.3 | 29.5-55.3 | 4.3-7.5 | 10.2%-19.7% |