VERIFICATION OF TETRODOTOXIN UTILIZATION AGAINST PREDATORS IN JAPANESE BLUE-LINED OCTOPUS Hapalochlaena cf. fasciata

YUTA YAMATE *¹, TOMOHIRO TAKATANI ¹, TAKESHI TAKEGAKI ¹

1 Graduate School of Fisheries and Environmental Sciences, Nagasaki University, 1-14, Bunkyo-machi, Nagasaki 852-8521, Japan

✉Yuta Yamate

y_yamate@nagasaki-u.ac.jp

Online Resource 1. Conditions of the LC/MS system

| LC |  |  |
| --- | --- | --- |
| ACQUITY UPLC Ⅰ-Class System (Waters, Milford, MA, USA) |  |  |
| Column | ACQUITY UPLC BEH Amide 1.7 μm |  |
|  | φ2.1 × 100 mm Column (Waters) |  |
| Column Temperature | 50℃ |  |
| Mobile phase | A: 0.1% formic acid–20 mM ammonium formate |  |
|  | B: Acetonitrile |  |
| Gradient |  |  |
| Time (min) | A (%) | B (%) |
| Initial | 20 | 80 |
| 3 | 30 | 70 |
| 5 | 55 | 45 |
| 6 | 65 | 35 |
| 8 | 20 | 80 |
| MS |  |  |
| Acquity QDa Detector (Waters) |  |  |
| Injection volume |  | 1 μL |
| Flow rate |  | 0.35 mL/min |
| Ionization |  | ESI⁺ (positive) |
| Probe temperature |  | 600℃ |
| Source block temperature |  | 150℃ |
| Cone voltage |  | 10 V |
| Capillary voltage |  | 0.8 kV |
| SIM |  | m/z 320 |

SIM, selected ion monitoring