Supplementary Table 2: SAXS results for CVS wt P1, P3, P3-KRm and P3-D289N.

| SAXS data collection parameters: |  | P1 P3 P3-KRm P3-D289N |  |
| --- | --- | --- | --- |
| Instrument/source | Australian Synchrotron SAXS/WAXS beamline equipped with Pilatus 1M detector and sheath-flow cell for SEC-SAXS. |  |  |
| Wavelength (Å) | 1.0332 12 250 × 130 3256 0.005 – 0.334 Comparison with scattering from 1 mm pure water To transmitted intensity from beamstop counter. 1 s measurements from SEC-SAXS elution 295 |  |  |
| Beam energy (kEv) |  |  |  |
| Beam size (μm) |  |  |  |
| Sample-to-detector distance (mm) |  |  |  |
| q (Å-1) |  |  |  |
| Absolute scaling method |  |  |  |
| Normalization |  |  |  |
| Exposure time |  |  |  |
| Sample temperature (K) |  |  |  |
| SEC-SAXS parameters |  |  |  |
| Column | Superose 6 5×150 0.4 5 50 3.02 25 mM HEPES, pH 7.4, 150 mM NaCl, 1 mM TCEP, 0.1% sodium azide |  |  |
| Flow rate (mL/min) |  |  |  |
| Concentration (mg/mL) |  |  |  |
| Injection volume (μL) |  |  |  |
| Average conc. (mg/mL) |  |  |  |
| Solvent |  |  |  |
| Software employed |  |  |  |
| SAXS data reduction | I(q) vs q using Scatterbrain 2.8.2, SEC-SAXS solvent subtraction using CHROMIXS from ATSAS 3.2.1 PRIMUSqt from ATSAS 3.2.1 DAMMIN from ATSAS 3.2.1 CRYSOL from ATSAS 3.2.1 CORAL from ATSAS 3.2.1 |  |  |
| Basic analysis (Guinier, P(r), molecular mass) |  |  |  |
| Ab initio modelling |  |  |  |
| Calculation of theoretical intensities |  |  |  |
| Atomic structure (hybrid) modelling |  |  |  |
| Structural parameters |  |  |  |
| Mass from Vc (kDa) (expected mass, ratio to expected in brackets) |  | 88.1 (67.3, 1.3) 62.5 (56.1, 1.1) 65.8 (55.8, 1.18) 61.3 (56.1, 1.09) |  |
| Guinier analysis |  |  |  |
| Rg (Å) |  | 47.35± 0.24 41.79 ± 0.31 45.88 ± 0.32 39.42 ± 0.22 |  |
| I(0) (cm-1) |  | 0.018 ± 0.00006 0.01 ± 0.00004 0.026 ± 0.00007 0.012 ± 0.00004 |  |
| qRg min,max |  | 0.45, 1.29 0.44, 1.28 0.45, 1.22 0.33, 1.29 |  |
| P(r) analysis |  |  |  |
| Rg (Å) |  | 49.25 ± 0.02 41.60 ± 0.01 46.12 ± 0.03 40.01 ± 0.01 |  |
| Dmax (Å) |  | 170.11 144.38 158.86 133.22 |  |
| Porod volume (Å3) |  | 217946.00 13777.40 170341.00 122475.01 |  |
| Atomic modelling |  |  |  |
| CORAL |  |  |  |  |  |
| Starting structure | Homology models obtained using PDB ID: 3L32 (dimerization domain;DD) and PDB ID: 1VYI (CTD)) |  |  |
| Symmetry assumptions | P2 (core and flexible residues) |  |  |
| Flexible residues modelled | 37 residues at N terminus (IDR1, 89 for P1), 52 residues in between DD and CTD (IDR2) |  |  |
| χ2 range | 0.45-0.27 1.1-1.2 0.82-0.99 0.88-1.0 |  |  |
| SASB Code | SASDRB6 SASDRX4 SASDRZ4 SASDRY4 |  |  |