Table S2 Table values report median of MRI scanning protocol parameters within clusters C1 and C2 (counts (%) for categorical variables∗) for endometrial cancer patients. Signiﬁcant diﬀerences between clusters are indicated with bold p-values, corrected for multiple testing using FDR (false discovery rate). Physical units are provided in brackets, whenever present.

Z-score	                                                  LRM

| Modality | MRI scanning parameter | C1 (n=97) | C2 (n=39) | p |  | C1 (n=68) |  | C2 (n=68) | p |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VIBE | Voxel volume [mm3] | 1.14 | 3.39 | <0.0011 |  | 3.39 |  | 3.39 | 0.9731 |
|  | Anisotropy | 1.23 | 1.54 |  | <0.0011 | 1.54 |  | 1.54 | 0.6431 |
|  | TR [ms] | 5.86 | 7.23 |  | <0.0011 | 7.23 |  | 7.23 | 0.8061 |
|  | TE [ms] | 2.46 | 2.55 |  | <0.0011 | 2.55 |  | 2.55 | 0.8641 |
|  | FA [◦] | 9 | 16.4 |  | <0.0011 | 14.5 |  | 14.6 | 0.7901 |
|  | Field of view [cm2] | 566 | 625 |  | 0.0011 | 625 |  | 625 | 0.2111 |
|  | Slice thickness [mm] | 1.2 | 2 |  | <0.0011 | 2 |  | 2 | 0.5101 |
|  | Field strength-1.5 [T]* | 34 (35) | 37 (95) |  | <0.0012 | 35 (51) |  | 36 (53) | 0.8642 |
|  | Field strength-3 [T]* | 63 (65) | 2 (5) |  |  | 33 (49) |  | 32 (47) |  |
|  | Phase-encoding direction-COLUMN* | 34 (35) | 22 (56) |  | 0.0222 | 24 (35) |  | 32 (47) | 0.1632 |
|  | Phase-encoding direction-ROW* | 63 (65) | 17 (44) |  |  | 44 (65) |  | 36 (53) |  |
| T2 | Voxel volume [mm3] | 0.814 | 1.48 | <0.0011 |  | 1.48 |  | 1.48 | 0.9231 |
|  | Anisotropy | 5.76 | 4.27 |  | <0.0011 | 4.27 |  | 4.27 | 0.8011 |
|  | TR [s] | 4.44 | 6.31 |  | <0.0011 | 5.56 |  | 4.91 | 0.2971 |
|  | TE [ms] | 94 | 95 |  | <0.0011 | 95 |  | 95 | 0.8641 |
|  | FA [◦] | 150 | 150 |  | 0.2691 | 150 |  | 150 | 0.5611 |
|  | Field of view [cm2] | 400 | 324 |  | <0.0011 | 324 |  | 324 | 0.8691 |
|  | Slice thickness [mm] | 3 | 3 |  | 0.5261 | 3 |  | 3 | 0.3171 |
|  | Field strength-1.5 [T]* | 34 (35) | 37 (95) |  | <0.0012 | 35 (51) |  | 36 (53) | 0.8642 |
|  | Field strength-3 [T]* | 63 (65) | 2 (5) |  |  | 33 (49) |  | 32 (47) |  |
|  | Phase-encoding direction-COLUMN* | 34 (35) | 21 (54) |  | 0.0432 | 26 (38) |  | 29 (43) | 0.6002 |
|  | Phase-encoding direction-ROW* | 63 (65) | 18 (46) |  |  | 42 (62) |  | 39 (57) |  |
|  | Number of averages | 2 | 2 |  | 0.6111 | 2 |  | 2 | 0.3681 |
| DWI | Voxel volume [mm3] | 12 | 27.5 | <0.0011 |  | 27.5 | 27.5 |  | 0.7611 |
|  | Anisotropy | 1.6 | 2.13 |  | 0.0021 | 2.13 |  | 2.13 | 0.6361 |
|  | TR [s] | 5.56 | 3.1 |  | <0.0011 | 3.1 |  | 3.1 | 0.6321 |
|  | TE [ms] | 77 | 79 |  | <0.0011 | 79 |  | 79 | 0.6761 |
|  | FA [◦] | 180 | 90 |  | <0.0011 | 90 |  | 90 | 0.8641 |
|  | Field of view [cm2] | 400 | 900 |  | <0.0011 | 900 |  | 900 | 0.8001 |
|  | Slice thickness [mm] | 3 | 5 |  | <0.0011 | 5 |  | 5 | 0.9281 |
|  | Field strength-1.5 [T]* | 34 (35) | 37 (95) |  | <0.0011 | 35 (51) |  | 36 (53) | 0.8642 |
|  | Field strength-3 [T]* | 63 (65) | 2 (5) |  |  | 33 (49) |  | 32 (47) |  |
|  | Phase-encoding direction-COLUMN* | 46 (47) | 24 (62) |  | 0.1362 | 29 (43) |  | 41 (60) | 0.0402 |
|  | Phase-encoding direction-ROW* | 51 (53) | 15 (38) |  |  | 39 (57) |  | 27 (40) |  |
|  | Number of averages | 1 | 12 |  | <0.0011 | 12 |  | 12 | 0.9771 |
|  | High-b [s·mm-2] | 1000 | 1000 |  | 0.0381 | 1000 |  | 1000 | 0.4881 |
|  | Number of b-values | 2 | 2 |  | <0.0011 | 2 |  | 2 | 0.7501 |

DWI=diffusion weighted imaging; FA=flip angle; LRM=linear regression model; T=Tesla; TE=echo time; TR=repetition time; T2=T2-weighted MRI; VIBE+C=T1-weighted imaging with contrast.

1Kruskal-Wallis non-parametric analysis of variance (ANOVA)

2Chi-square statistical test