Table S2 Table values report median of MRI scanning protocol parameters within clusters C1 and C2 (counts (%) for categorical variables∗) for endometrial cancer patients. Signiﬁcant diﬀerences between clusters are indicated with bold p-values, corrected for multiple testing using FDR (false discovery rate). Physical units are provided in brackets, whenever present.
                                                                                    Z-score	                                                  LRM
	Modality
	MRI scanning parameter
	C1 (n=97)
	C2 (n=39)
	p
	C1 (n=68)
	C2 (n=68)
	p

	VIBE
	Voxel volume [mm3]
	1.14
	3.39
	<0.0011
	3.39
	3.39
	0.9731

	
	Anisotropy
	1.23
	1.54
	<0.0011
	1.54
	1.54
	0.6431

	
	TR [ms]
	5.86
	7.23
	<0.0011
	7.23
	7.23
	0.8061

	
	TE [ms]
	2.46
	2.55
	<0.0011
	2.55
	2.55
	0.8641

	
	FA [◦]
	9
	16.4
	<0.0011
	14.5
	14.6
	0.7901

	
	Field of view [cm2]
	566
	625
	0.0011
	625
	625
	0.2111

	
	Slice thickness [mm]
	1.2
	2
	<0.0011
	2
	2
	0.5101

	
	Field strength-1.5 [T]*
	34 (35)
	37 (95)
	<0.0012
	35 (51)
	36 (53)
	0.8642

	
	Field strength-3 [T]*
	63 (65)
	2 (5)
	
	33 (49)
	32 (47)
	

	
	Phase-encoding direction-COLUMN*
	34 (35)
	22 (56)
	0.0222
	24 (35)
	32 (47)
	0.1632

	
	Phase-encoding direction-ROW*
	63 (65)
	17 (44)
	
	44 (65)
	36 (53)
	

	T2
	Voxel volume [mm3]
	0.814
	1.48
	<0.0011
	1.48
	1.48
	0.9231

	
	Anisotropy
	5.76
	4.27
	<0.0011
	4.27
	4.27
	0.8011

	
	TR [s]
	4.44
	6.31
	<0.0011
	5.56
	4.91
	0.2971

	
	TE [ms]
	94
	95
	<0.0011
	95
	95
	0.8641

	
	FA [◦]
	150
	150
	0.2691
	150
	150
	0.5611

	
	Field of view [cm2]
	400
	324
	<0.0011
	324
	324
	0.8691

	
	Slice thickness [mm]
	3
	3
	0.5261
	3
	3
	0.3171

	
	Field strength-1.5 [T]*
	34 (35)
	37 (95)
	<0.0012
	35 (51)
	36 (53)
	0.8642

	
	Field strength-3 [T]*
	63 (65)
	2 (5)
	
	33 (49)
	32 (47)
	

	
	Phase-encoding direction-COLUMN*
	34 (35)
	21 (54)
	0.0432
	26 (38)
	29 (43)
	0.6002

	
	Phase-encoding direction-ROW*
	63 (65)
	18 (46)
	
	42 (62)
	39 (57)
	

	
	Number of averages
	2
	2
	0.6111
	2
	2
	0.3681

	DWI
	Voxel volume [mm3]
	12
	27.5
	<0.0011
	27.5
	27.5
	0.7611

	
	Anisotropy
	1.6
	2.13
	0.0021
	2.13
	2.13
	0.6361

	
	TR [s]
	5.56
	3.1
	<0.0011
	3.1
	3.1
	0.6321

	
	TE [ms]
	77
	79
	<0.0011
	79
	79
	0.6761

	
	FA [◦]
	180
	90
	<0.0011
	90
	90
	0.8641

	
	Field of view [cm2]
	400
	900
	<0.0011
	900
	900
	0.8001

	
	Slice thickness [mm]
	3
	5
	<0.0011
	5
	5
	0.9281

	
	Field strength-1.5 [T]*
	34 (35)
	37 (95)
	<0.0011
	35 (51)
	36 (53)
	0.8642

	
	Field strength-3 [T]*
	63 (65)
	2 (5)
	
	33 (49)
	32 (47)
	

	
	Phase-encoding direction-COLUMN*
	46 (47)
	24 (62)
	0.1362
	29 (43)
	41 (60)
	0.0402

	
	Phase-encoding direction-ROW*
	51 (53)
	15 (38)
	
	39 (57)
	27 (40)
	

	
	Number of averages
	1
	12
	<0.0011
	12
	12
	0.9771

	
	High-b [s·mm-2]
	1000
	1000
	0.0381
	1000
	1000
	0.4881

	
	Number of b-values
	2
	2
	<0.0011
	2
	2
	0.7501


DWI=diffusion weighted imaging; FA=flip angle; LRM=linear regression model; T=Tesla; TE=echo time; TR=repetition time; T2=T2-weighted MRI; VIBE+C=T1-weighted imaging with contrast.
1Kruskal-Wallis non-parametric analysis of variance (ANOVA)
2Chi-square statistical test
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