Table S1 Pelvic MRI scanning protocol parameters for endometrial (n=136) - and cervical (n=132) cancer patients undergoing MRI radiomic tumor proﬁling. Protocol settings are categorized and counted (percentage out of total patient numbers in brackets) within deﬁned intervals and are indicated as being either primary- (in bold) or secondary (in italic, derived from primary variables) MRI scanning protocol variables. Empty cells indicate non-existing variable for a given MRI series.
                                                                                               Endometrial cancer (n=136)                    Cervical cancer (n=132)
	MRI scanning parameter
	Interval4
	VIBE+C (%)
	T2 (%)
	DWI (%)
	T2 (%)
	DWI (%)

	Spacing [mm]
	[0.3, 1.1)
	65 (48)
	136 (100)
	0.0
	132 (100)
	10 (8)

	
	[1.1, 2)
	71 (52)
	0.0
	14 (10)
	0.0
	92 (70)

	
	[2, 2.8]
	0.0
	0.0
	122 (90)
	0.0
	30 (23)

	Matrix 
	[100, 243)
	80 (59)
	
	136 (100)
	
	91 (69)

	
	[243, 385)
	56 (41)
	136 (100)
	
	55 (42)
	41 (31)

	
	[385, 528]
	
	
	
	77 (58)
	

	TR1 [ms]
	[0, 2770)
	136 (100)
	
	
	9 (7)
	24 (18)

	
	[2770, 5540)
	
	69 (51)
	78 (57)
	115 (87)
	89 (67)

	
	[5540, 8310]
	
	67 (49)
	58 (43)
	8 (6)
	19 (14)

	TE1 [ms]
	[2, 45)
	136 (100)
	
	
	
	

	
	[45, 87)
	
	
	131 (96)
	13 (10)
	132 (100)

	
	[87, 130]
	
	136 (100)
	5 (4)
	119 (90)
	

	FA1 [◦]
	[0, 135)
	136 (100)
	1 (1)
	71 (52)
	41 (31)
	108 (82)

	
	[135, 180]
	
	135 (99)
	65 (48)
	91 (69)
	24 (18)

	Field strength1,3 [T]
	1.5
	71 (52)
	71 (52)
	71 (52)
	95 (72)
	95 (72)

	
	3
	65 (48)
	65 (48)
	65 (48)
	37 (28)
	37 (28)

	Slice thickness1 [mm]
	[1, 2)
	65 (48)
	
	
	
	

	
	[2, 4)
	71 (52)
	136 (100)
	65 (48)
	115 (87)
	50 (38)

	
	[4, 8]
	
	
	71 (52)
	17 (13)
	82 (62)

	Number of averages1,2
	[1, 4)
	136 (100)
	136 (100)
	65 (48)
	104 (79)
	63 (48)

	
	[4, 12]
	
	
	71 (52)
	28 (21)
	69 (52)

	Number of slices
	[14, 44)
	
	136 (100)
	136 (100)
	132 (100)
	132 (100)

	
	[44, 74)
	71 (52)
	
	
	
	

	
	[74, 104]
	65 (48)
	
	
	
	

	Phase-encoding direction1,3
	ROW
	80 (59)
	81 (60)
	66 (49)
	113 (86)
	41 (31)

	
	COLUMN
	56 (41)
	55 (40)
	70 (51)
	19 (14)
	91 (69)

	Voxel volume1 [mm3]
	[0, 13)
	136 (100)
	136 (100)
	64 (47)
	132 (100)
	101 (77)

	
	[13, 25)
	
	
	1 (1)
	
	16 (12)

	
	[25, 38]
	
	
	71 (52)
	
	15 (11)

	Anisotropy1
	[0, 2)
	136 (100)
	0.0
	51 (38)
	0.0
	43 (33)

	
	[2, 5)
	0.0
	71 (52)
	85 (62)
	15 (11)
	77 (58)

	
	[5, 7]
	0.0
	65 (48)
	0.0
	39 (30)
	12 (9)

	FOV1 [cm2]
	[250, 500)
	
	135 (99)
	64 (47)
	131 (99)
	30 (23)

	
	[500, 1690]
	136 (100)
	1 (1)
	72 (53)
	1 (1)
	102 (77)

	Low-b [s·mm-2]
	[0, 25)
	
	
	128 (94)
	
	79 (60)

	
	[25, 75)
	
	
	
	
	53 (40)

	
	[75, 500]
	
	
	8 (6)
	
	

	High-b1 [s·mm-2]
	[800, 1000)
	
	
	
	
	36 (27)

	
	[1000, 4000]
	
	
	136 (100)
	
	96 (73)

	Number of b-values1
	[2, 3)
	
	
	86 (63)
	
	38 (29)

	
	[3, 19]
	
	
	50 (37)
	
	94 (71)


DWI=diﬀusion weighted imaging; FA=ﬂip angle; FOV=ﬁeld of view; T=Tesla; TE=echo time; TR=repetition time; T2=T2-weighted MRI; VIBE+C=T1-weighted imaging with contrast.
1Used in the linear regression model for normalization. High b-value and number of b-values were only used in the linear regression
model of DWI derived variables.
2Not used in the linear regression model for normalization for VIBE+C derived radiomic variables.
3Categorical variables.
4Half-open intervals (left or right) include only one of the bounds.
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