Table S3 Table values report median of MRI scanning protocol parameters within clusters C1 and C2 (counts (%) for categorical variables∗) for cervical cancer patients. Signiﬁcant diﬀerences between clusters are indicated with bold p-values, corrected for multiple testing using FDR (false discovery rate). Physical units are provided in brackets, whenever present.

Z-score                                                             LRM

| Modality | MRI scanning parameter |  | C1 (n=56) | C2 (n=76) | p | C1 (n=110) | C2 (n=22) | p |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| T2 | Voxel volume [mm3] |  | 0.481 | 0.458 | 0.430 | 0.458 | 0.763 | 0.0481 |
|  | Anisotropy |  | 7.49 | 7.11 | 0.9481 | 8.53 | 7.11 | 0.0791 |
|  | TR [s] |  | 4.61 | 4.03 | <0.0011 | 4.45 | 4.61 | 0.5611 |
|  | TE [ms] |  | 100 | 95 | 0.0421 | 100 | 98 | 0.4551 |
|  | FA [◦ ] |  | 150 | 150 | 0.2551 | 150 | 150 | 0.8761 |
|  | Field of view [cm2] |  | 324 | 324 | 0.1291 | 324 | 400 | 0.2631 |
|  | Slice thickness [mm] |  | 3 | 3 | 0.2621 | 3 | 3 | 0.4141 |
|  | Field strength-1.5 [T]* |  | 76 (75) | 19 (61) | 0.1302 | 43 (78) | 52 (68) | 0.1792 |
|  | Field strength-3 [T]* |  | 25 (25) | 12 (39) |  | 12 (22) | 25 (32) |  |
|  | Phase-encoding direction-COL* |  | 13 (13) | 6 (19) | 0.3682 | 10 (18) | 9 (12) | 0.2952 |
|  | Phase-encoding direction-ROW* |  | 88 (87) | 25 (81) |  | 45 (82) | 68 (88) |  |
|  | Number of averages |  | 2 | 2 | 0.0551 | 2 | 2 | 0.4211 |
| DWI | Voxel volume [mm3] |  | 10.1 | 8.07 | 0.4121 | 7.32 | 10.7 | 0.1871 |
|  | Anisotropy |  | 2.16 | 3.03 | 0.0021 | 2.16 | 2.4 | 0.8871 |
|  | TR [s] |  | 3.20 | 4.02 | <0.0011 | 3.22 | 3.28 | 0.2251 |
|  | TE [ms] |  | 79 | 68.7 | 0.0111 | 79 | 74 | 0.0291 |
|  | FA [◦ ] |  | 90 | 90 | 0.8471 | 90 | 90 | 0.1711 |
|  | Field of view [cm2] |  | 562 | 900 | 0.1511 | 562 | 784 | 0.8631 |
|  | Slice thickness [mm] |  | 4 | 4 | 0.0481 | 4 | 4 | 0.3021 |
|  | Field strength-1.5 [T]* |  | 76 (75) | 19 (61) | 0.1302 | 43 (78) | 52 (68) | 0.1792 |
|  | Field strength-3 [T]* |  | 25 (25) | 12 (39) |  | 12 (22) | 25 (32) |  |
|  | Phase-encoding direction-COL* |  | 66 (65) | 25 (81) | 0.1072 | 35 (64) | 56 (73) | 0.2662 |
|  | Phase-encoding direction-ROW* |  | 35 (35) | 6 (19) |  | 20 (36) | 21 (27) |  |
|  | Number of averages |  | 6 | 2 | 0.0052 | 6 | 3 | 0.2532 |
|  | High-b [s·mm2] |  | 1000 | 1000 | 0.0031 | 1000 | 1000 | 0.0181 |
|  | Number of b-values |  | 3 | 4 | 0.0021 | 3 | 3 | 0.8841 |

DWI=diffusion weighted imaging; FA=flip angle; LRM=linear regression model; T=Tesla; TE=echo time; TR=repetition time; T2=T2-weighted MRI; VIBE+C=T1-weighted imaging with contrast.

1Kruskal-Wallis non-parametric analysis of variance (ANOVA)

2Chi-square statistical test