The following quantitative elastic parameters were calculated for each TALN, including SWVmean1, the average value of all SWV values of the two measurements; SWVmean, the average value of all values of the two measurements (remove the maximum and minimum SWVs of each measurement); SWVmax1, the average of the maximum values of the two measurements); SWVmax, the average of the second maximum values of the two measurements (remove the maximum SWV of each measurement).

Supplementary Table. Diagnostic performance of SWE characteristics in predicting ALN status.

| SWV | Sensitivity % | Specificity % | PPV % | NPV % | Accuracy % | Cut-off Value | P Value | AUC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SWVmean1 | 59.00 [48.71-68.74] a | 72.36 [63.57-80.04] | 63.44 [55.52-70.69] | 68.46 [62.62-73.78] | 66.37 | ＞2.40 m/s | <0.01 | 0.66 [0.59-0.72] |
| SWVmean | 59.00 [48.71-68.74] b | 74.80 [65.30-81.48] | 64.84 [56.76-72.15] | 68.94 [63.18-74.17] | 67.71 | ＞2.41 m/s | <0.01 | 0.67 [0.60-0.73] |
| SWVmax1 | 56.00 [45.72-65.92] c | 73.98 [65.30-81.48] | 63.64 [55.35-71.19] | 67.41 [61.82-72.54] | 65.92 | ＞2.70 m/s | <0.01 | 0.65 [0.58-0.71] |
| SWVmax | 65.00 [54.82-74.27] | 66.67 [57.60-74.91] | 61.32 [54.30-67.90] | 70.09 [63.56-75.88] | 65.92 | ＞2.46 m/s | <0.01 | 0.66 [0.59-0.72] |

SWE, shear wave elastography; SWV, shear wave velocity; PPV, positive predictive value; NPV, negative predictive value; AUC, area under the receiver operating characteristic curve.

a Indicates p = 0.031 in comparison with SWVmean1.

b Indicates p = 0.031 in comparison with SWVmean.

c Indicates p = 0.004 in comparison with SWVmean.