The highlights of this work are the following:

- The soil characteristics are determined in situ in order to estimate its thermal diffusivity and to evaluate its potential as a heat sink;

- The potential of an EAHE as an A/C system under extreme conditions (low-cost construction non-insulated building under hot desert conditions) is evaluated considering real meteorological, building, and soil conditions;

- The performance of the EAHE is shown in detail (hour by hour) considering different operating modes.

- It has been shown that the EAHE can satisfy the school air conditioning needs at the beginning and at the end of the warm season, and can help reduce the consumption of electrical energy supplied by an off-grid microgenerator;

- During the hottest period of summer season, when the EAHE works as a complement, it can reduce in approximately 14% the thermal load removed by the solar cooling system during school hours.