# Supplementary Information

# Assessing the pharmaceutical residues as hotspots of the main rivers of Catalonia, Spain

# Pol Domínguez-García1, Laura Fernández-Ruano2, Judith Báguena1, Jordi Cuadros2, Cristian Gómez-Canela1,*

1Department of Analytical and Applied Chemistry, School of Engineering, Institut Químic de Sarrià-Universitat Ramon Llull, Via Augusta 390, 08017 Barcelona, Spain.

2Department of Quantitative Methods, School of Engineering, Institut Químic de Sarrià-Universitat Ramon Llull, Via Augusta 390, 08017 Barcelona, Spain.

*Corresponding author:

E-mail address: cristian.gomez@iqs.url.edu (C. Gómez-Canela)

Tel: +34 93 261 23 43

Pretreatment and extraction of pharmaceuticals from river water and LC-MS/MS analysis

To prevent the possible degradation of pharmaceuticals, the different samples were kept in the fridge. River water was filtered using 0.45 µm nylon filters to remove solid particles. Each river sample was conditioned at pH 7 with HCl 37% using a pH meter SensionTM + PH3, HACH®, Colorado, CO, USA).

Spiked samples of all target compounds at pH7 were used at 4 µg L-1 for method optimization. Solid-phase extraction (SPE) Oasis HLB cartridges (200 mg, 6 cc, Waters, Mildford, MA, USA) were used as analysis concentrators. SPE method used for concentrating 50 mL of river water was adapted from Gómez-Canela et al., 2021.  The conditioning of the cartridges was done with 6 mL MeOH and the equilibration step with Milli-Q® water. The sample was loaded at flow 1 mL min-1. After, the cartridges were dried at room temperature for 20 min. The elution was done with 4 mL MeOH, 4 mL MeOH + 0.1% formic acid and 4 mL MeOH + 0.1% NH4OH. Then, extracts were evaporated under a current of N2 until almost dryness. Then with 1 mL of MeOH, extracts were filtered with nylon filters (0.22 µm) and transferred to a chromatographical vial. Samples were evaporated again under N2 current and finally reconstituted with 200 µL of a 10:90 (v/v) MeOH:Milli-Q® water solution.

Analytes were measured using a liquid chromatography connected to a triple quadrupole mass spectrometer (Xevo TQS, Acquity H-Class,Waters, Milford, CT, USA) (LCMS/ MS). For the chromatographic separation, a CORTECS T3 column (100 mm x 2.1 mm, particle size 1.6 µm, Waters, Milford, CT, USA) was used. Mobile phase composition consisted of mixtures with 0.1% formic acid in water (A) and 0.1% formic acid in acetonitrile (B). Gradient elution started at 95% A and 5% B, increasing to 60% B in 7 min, to 50% B in 12 min and to 100% of B in 3 min, held for 3 min and returned to initial conditions in 2 min, with a holding time of 5 min. Flow rate of 300 µL min-1 was used and in all cases 10 µL were injected. All compounds were measured under positive electrospray ionization (ESI+). Cone voltage (C.V.) was optimized from 1 to 90 V to obtain the precursor ion for each target compound using flow injection analysis (FIA). In order to obtain the two intense fragment ions, the collision energy (C.E.) was optimized from 1 to 50 eV. Following the acquisition by selected reaction monitoring (SRM), two transitions from the precursor ion to the product ion were used in order to identify each compound. The optimal parameters are displayed in Table SI1 for pharmaceuticals. The desolvation temperature was set at 350 °C whereas the desolvation gas flow and the cone gas flow were optimized at 900 L h-1 and 150 L h-1, respectively. The system and data management were processed using MassLynx v4.1 software package.

Table SI 1. LC-MS/MS optimized parameters for selected pharmaceuticals (ordered by ATC code), and transformation product (¨). C.V.: cone voltage (V); C.E.: collision energy (eV); q1: product ion for quantification; q2: product ion for confirmation. *Pharmaceutical’s optimization parameters were obtained from previous publication (Gómez-Canela et al. 2021).

| Target Compound | ATC Code | Molecular Formula | Retention Time (Rt) | Precursor Ion [M+H]+ | C.V (V) | q1 Transition | q1 Fragment | C.E. (eV) | q2 Transition | q2 Fragment | C.E. (eV) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pantoprazole* | A02BC02 | C16H15F2N3O4S | 6.78 | 384 | 26 | 384 > 200 | [C8H10NO3S]+ | 10 | 384 > 138 | [C7H8NO2]+ | 32 |
| Scopolamine* | A04AD01 | C17H21NO4 | 3.94 | 304 | 27 | 304 > 156 | [C8H14NO2]+ | 15 | 304 > 138 | [C8H12NO]+ | 21 |
| Prednisone* | A07EA03 | C21H26O5 | 7.65 | 359 | 7 | 359 > 341 | [M-H2O]+ | 11 | 359 > 147 | [C10H11O]+ | 36 |
| Metformin* | A10BA02 | C4H11N5 | 0.78 | 130 | 20 | 130 > 71 | [C3H7N2]+ | 18 | 130 > 60 | [CH6N3]+ | 10 |
| Vildagliptin* | A10BH02 | C17H25N3O2 | 3.33 | 304 | 30 | 304 > 154 | [C7H12N3O]+ | 26 | 304 > 97 | [C5H9N2]+ | 28 |
| Lidocaine* | C01BB01 | C14H22N2O | 4.66 | 235 | 27 | 235 > 86 | [C5H12N]+ | 23 | 235 > 58 | [C4H10]+ | 36 |
| Amiodarone* | C01BD01 | C25H29I2NO3 | 14.81 | 646 | 30 | 646 > 201 | [C13H13O2]+ | 40 | 646 > 100 | [C6H14N]+ | 30 |
| Pentoxifylline* | C04AD03 | C13H18N4O3 | 5.73 | 279 | 54 | 235 > 181 | [C7H9N4O2]+ | 15 | 235 > 138 | [C6H8N3O]+ | 23 |
| Propranolol | C07AA05 | C16H21NO2 | 7.19 | 260 | 40 | 260 > 187 | [C12H11O2]+ | 19 | 260 > 157 | [C11H9O]+ | 41 |
| Atenolol* | C07AB03 | C14H22N2O3 | 2.90 | 267 | 41 | 267 > 145 | [C7H15NO2]+ | 25 | 267 > 74 | [C4H12N]+ | 23 |
| Manidipine | C08CA11 | C35H38N4O6 | 12.72 | 611 | 48 | 611 > 167 | [C13H11]+ | 22 | 611 > 152 | [C8H10NO2]+ | 88 |
| Verapamil* | C08DA01 | C27H38N2O4 | 8.88 | 455 | 31 | 455 > 165 | [C10H13O2]+ | 30 | 455 > 150 | [C9H10O2]+ | 40 |
| Losartan* | C09CA01 | C22H23ClN6O | 9.11 | 423 | 31 | 423 > 377 | [C20H18N6Cl]+ | 9 | 423 > 207 | [C13H9N3]+ | 20 |
| Atorvastatin | C10AA05 | C33H35FN2O5 | 13.91 | 559 | 50 | 559 > 440 | C26H31FNO4]+ | 16 | 559 > 250 | [C13H16NO4]+ | 36 |
| Gemfibrozil | C10AB04 | C15H22O3 | 15.03 | 251 | 20 | 251 > 121 | [C8H9O]+ | 10 | 251 > 105 | [C8H9]+ | 50 |
| Fenofibrate | C10BA03 | C20H21ClO4 | 16.31 | 361 | 50 | 361 > 231 | [C13H8ClO2]+ | 10 | 361 > 139 | [C7H4ClO]+ | 20 |
| Rosuvastatin* | C10BA06 | C22H28FN3O6S | 10.02 | 482 | 32 | 482 > 300 | [M-C4H11N3O2SF]+ | 34 | 482 > 258 | [300-C3H6]+ | 30 |
| Chlortetracycline* | D06AA02 | C22H23ClN2O8 | 6.22 | 479 | 18 | 479 > 461 | [M+H-H2O]+ | 20 | 479 > 444 | [C22H22NO9]+ | 16 |
| Oxytetracycline | D06AA03 | C22H24N2O9 | 4.54 | 461 | 38 | 461 > 444 | [C22H22NO9]+ | 10 | 461 > 204 | [C13H16O2]+ | 42 |
| Tetracycline | D06AA04 | C22H24N2O8 | 4.9 | 445 | 34 | 445 > 411 | [C22H23N2O6]+ | 16 | 445 > 155 | [C6H7N2O3]+ | 24 |
| Dexamethasone | H02AB02 | C22H29FO5 | 8.61 | 393 | 24 | 393 > 147 | [C10H11O]+ | 20 | 393 > 121 | [C8H9O]+ | 50 |
| Doxycycline | J01AA02 | C22H24N2O8 | 6.51 | 445 | 26 | 445 > 428 | [C22H22NO8]+ | 16 | 445 > 154 | [C6H7N2O3]+ | 28 |
| Amoxicillin* | J01CA04 | C16H19N3O5S | 4.37 | 349 | 56 | 349 > 255 | [C10H13N3O3S]+ | 16 | 349 > 107 | [C7H7O]+ | 40 |
| Trimethoprim | J01EA01 | C14H18N4O3 | 4.3 | 291 | 8 | 291 > 229 | [C12H13N4O]+ | 20 | 291 > 123 | [C5H7N4]+ | 22 |
| Sulphapyridine* | J01EB04 | C11H11N3O2S | 3.92 | 250 | 40 | 250 > 156 | [C6H6NO2S]+ | 13 | 250 > 95 | [C5H7N2]+ | 21 |
| Sulfadiazine* | J01EC02 | C10H10N4O2S | 3.60 | 251 | 30 | 251 > 156 | [C6H6NO2S]+ | 13 | 251 > 96 | [C4H6N3]+ | 20 |
| Erythromycin | J01FA01 | C37H67NO13 | 7.71 | 734 | 53 | 734 > 575 | [C29H53NO10]+ | 16 | 734 > 158 | [C8H16NO2]+ | 26 |
| Clarithromycin* | J01FA09 | C38H69NO13 | 9.05 | 748 | 20 | 748 > 158 | [C8H16NO2]+ | 16 | 748 > 116 | [C6H14NO]+ | 46 |
| Ciprofloxacin* | J01MA02 | C17H18FN3O3 | 4.85 | 332 | 40 | 332 > 314 | [C17H17FN3O2]+ | 20 | 332 > 245 | [C13H9FNO3]+ | 20 |
| Levofloxacin* | J01MA12 | C18H20FN3O4 | 4.74 | 362 | 44 | 362 > 318 | [C17H21FN3O2]+ | 18 | 362 > 261 | [C13H8FNO4]+ | 26 |
| Oxalinic Acid | J01MB05 | C13H11NO5 | 8.48 | 262 | 38 | 262 > 245 | [C13H11NO4]+ | 18 | 262 > 216 | [C12H10NO3]+ | 26 |
| Flumequine | J01MB07 | C14H12FNO3 | 8.44 | 262 | 18 | 262 > 244 | [C13H13FN]+ | 2 | 262 > 201 | [C14H12NO3]+ | 10 |
| Sulfamethoxazole* | J04AM08 | C10H11N3O3S | 6.23 | 254 | 20 | 254 > 108 | [C6H6NO]+ | 20 | 254 > 92 | [C6H6N]+ | 28 |
| Remdesivir | J05AB16 | C27H35N6O8P | 10.04 | 603 | 17 | 603 > 402 | [C18H29NO7] + | 13 | 603 > 231 | [C10H9N5O2]+ | 21 |
| Ritonavir | J05AE03 | C37H48N6O5S2 | 14.28 | 721 | 50 | 721 > 296 | [C14H22N3O2S]+ | 16 | 721 > 268 | [C14H22N3OS]+ | 28 |
| Lopinavir | J05AR10 | C37H48N4O5 | 14.58 | 629 | 27 | 629 > 445 | [C28H33N2O3]+ | 11 | 629 > 183 | [C9H15N2O2]+ | 19 |
| Ifosfamide* | L01AA06 | C7H15Cl2N2O2P | 6.42 | 261 | 42 | 261 > 154 | [C3H7NO2PCl]+ | 20 | 261 > 78 | [C2H5NCl]+ | 18 |
| Gemcitabine | L01BC05 | C9H11F2N3O4 | 1.18 | 264 | 31 | 264 > 110 | [C4H4N3O]+ | 17 | 264 > 69 | [C3H5N2]+ | 40 |
| Capecitabine | L01BC06 | C15H22FN3O6 | 7.49 | 360 | 20 | 360 > 244 | [C9H11FN3O4]+ | 6 | 360 > 130 | [C6H12NO2]+ | 30 |
| Megestrol acetate* | L02AB01 | C22H30O3 | 14.78 | 385 | 8 | 385 > 325 | [C22H29O2]+ | 12 | 385 > 267 | [C19H23O3]+ | 16 |
| Tamoxifen | L02BA01 | C26H29NO | 13.75 | 372 | 50 | 372 > 130 | [C10H19]+ | 20 | 372 > 72 | [C4H10N]+ | 20 |
| Bicalutamide* | L02BB03 | C18H14F4N2O4S | 11.91 | 431 | 33 | 431 > 217 | [C9H10O3SF]+ | 14 | 431 > 95 | [C6H4F]+ | 50 |
| Mycophenolic acid* | L04AA06 | C17H20O6 | 10.01 | 321 | 14 | 321 > 207 | [C11H11O4]+ | 20 | 321 > 159 | [C9H3O3]+ | 36 |
| Diclofenac* | M01AB05 | C14H11Cl2NO2 | 13.58 | 296 | 26 | 296 > 250 | [C13H10Cl2N]+ | 12 | 296 > 215 | [C13H10ClN]+ | 20 |
| Ibuprofen* | M01AE01 | C13H18O2 | 13.85 | 161 | 54 | 161 > 119 | [C9H11]+ | 12 | 161 > 105 | [C8H9]+ | 12 |
| Naproxen | M01AE02 | C14H14O3 | 10.51 | 231 | 14 | 231 > 185 | [C13H13O]+ | 12 | 231 > 170 | [C12H10O]+ | 22 |
| Tramadol* | N02AX02 | C16H25NO2 | 5.47 | 264 | 9 | 264 > 246 | [C16H24NO]+ | 10 | 264 > 58 | [C3H8N]+ | 17 |
| Antipyrine | N02BB01 | C11H12N2O | 5.12 | 189 | 54 | 189 > 148 | [C11H12N2]2+ | 18 | 189 > 131 | [C8H5NO]+ | 22 |
| 4-Aminoantipyrine* | N02BB03 | C11H13N3O | 3.02 | 204 | 20 | 204 > 94 | [C6H8N]+ | 17 | 204 > 56 | [C3H6N]+ | 20 |
| Acetaminophen* | N02BE01 | C8H9NO2 | 2.85 | 152 | 32 | 152 > 110 | [C6H8NO]+ | 20 | 152 > 93 | [C6H5O]+ | 20 |
| Topiramate* | N03AX11 | C12H21NO8S | 7.55 | 340 | 18 | 340 > 264 | [C9H14NO6S]+ | 6 | 340 > 127 | [C7H11O2]+ | 20 |
| Gabapentin* | N03AX12 | C9H17NO2 | 3.47 | 172 | 27 | 172 > 154 | [C8H12NO2]+ | 10 | 172 > 137 | [C7H12NO]+ | 14 |
| Levetiracetam* | N03AX14 | C8H14N2O2 | 3.14 | 171 | 25 | 171 > 154 | [C8H12NO2]+ | 5 | 171 > 126 | [C7H12NO]+ | 13 |
| Pregabalin* | N03AX16 | C8H17NO2 | 3.42 | 160 | 29 | 160 > 142 | [C8H14O2]+ | 8 | 160 > 84 | [C6H12]+ | 14 |
| Rasagiline* | N04BD02 | C12H13N | 5.01 | 172 | 70 | 172 > 117 | [C9H9]+ | 14 | 172 > 91 | [C7H7]+ | 32 |
| Quetiapine | N05AH04 | C21H25N3O2S | 7.02 | 384 | 40 | 384 > 253 | [C15H13N2S]+ | 20 | 384 > 210 | [C13H8NS]+ | 40 |
| Diazepam* | N05BA01 | C16H13ClN2O | 10.35 | 285 | 30 | 285 > 193 | [C9H6ClN2O]+ | 33 | 285 > 154 | [C11H8N]+ | 25 |
| Amitriptyline* | N06AA09 | C20H23N | 8.97 | 278 | 32 | 278 > 233 | [C18H17]+ | 12 | 278 > 91 | [C7H7]+ | 22 |
| Fluoxetine* | N06AB03 | C17H18F3NO | 9.15 | 310 | 27 | 310 > 148 | [C10H14N]+ | 7 | 310 > 44 | [C2H6N]+ | 13 |
| Citalopram* | N06AB04 | C20H21N2FO | 7.84 | 325 | 10 | 325 > 262 | [C18H16NO]+ | 16 | 325 > 109 | [C7H6F]+ | 22 |
| Trazodone* | N06AX05 | C19H22ClN5O | 6.81 | 372 | 31 | 372 > 176 | [C9H10N3O]+ | 22 | 372 > 148 | [C7H6N3O]+ | 36 |
| Venlafaxine* | N06AX16 | C17H27NO2 | 6.55 | 278 | 47 | 278 > 121 | [C8H8O]+ | 31 | 278 > 58 | [C3H8N]+ | 17 |
| Caffeine* | N06BC01 | C8H10N4O2 | 4.01 | 195 | 22 | 195 > 138 | [C6H8N3O]+ | 18 | 195 > 110 | [C5H7N3]+ | 22 |
| Donepezil* | N06DA02 | C24H29NO3 | 7.31 | 380 | 36 | 380 > 243 | [C16H21NO]+ | 36 | 380 > 91 | [C7H7]+ | 39 |
| Memantine* | N06DX01 | C12H21N | 6.51 | 180 | 30 | 180 > 163 | [C12H19]+ | 11 | 180 > 107 | [C8H11]+ | 21 |
| Chloroquine | P01BA01 | C18H26ClN3 | 3.90 | 320 | 40 | 320 > 247 | [C14H16ClN2]+ | 11 | 320 > 142 | [C9H20N]+ | 17 |
| Hydroxychloroquine | P01BA02 | C18H26ClN3O | 3.68 | 336 | 10 | 336 > 247 | [C14H16ClN2]+ | 21 | 336 > 158 | [C9H20NO]+ | 21 |
| Tylosin | QJ01FA90 | C46H77NO17 | 8.15 | 917 | 24 | 917 > 174 | [C9H18O3]+ | 44 | 917 > 101 | [C6H13O]+ | 52 |
| Enrofloxacin | QJ01MA90 | C19H22FN3O3 | 5.16 | 360 | 18 | 360 > 342 | [C19H21FN3O2]+ | 18 | 360 > 245 | [C13H8FNO3]+ | 22 |
| Sarafloxacin | QJ01MA98 | C20H17F2N3O3 | 5.62 | 386 | 36 | 386 > 340 | [C19H16F2N3O]+ | 16 | 386 > 300 | [C16H8F2NO3]+ | 22 |
| Diflubenzuron | QP53BC02 | C14H9ClF2N2O2 | 14.20 | 311 | 28 | 311 > 156 | [C7H4F2NO]+ | 12 | 311 >141 | [C7H3F2O]+ | 34 |
| Amylmetacresol* | R02AA03 | C12H18O | 15.34 | 179 | 32 | 179 > 109 | [C8H13]+ | 8 | 179 > 71 | [C5H11]+ | 8 |
| Fluticasone* | R03BA05 | C22H27F3O4S | 14.93 | 501 | 58 | 501 > 314 | [C16H24FO3S]+ | 12 | 501 > 293 | [C17H19F2O2]+ | 18 |
| Tiotropium* | R03BB04 | C19H22BrNO4S2 | 6.91 | 393 | 55 | 393 > 170 | [C9H16NO2]+ | 29 | 393 > 152 | [C9H14NO]+ | 27 |
| Cloperastine | R05DB21 | C20H24ClNO | 9.71 | 332 | 42 | 332 > 203 | [C13H12Cl]+ | 18 | 332 > 166 | [C13H10]+ | 45 |
| Chlorpheniramine* | R06AB04 | C16H19ClN2 | 5.85 | 275 | 6 | 275 > 230 | [C14H13ClN]+ | 18 | 275 > 167 | [C9H10NCl]+ | 43 |
| Norfloxacin* | S01AE02 | C16H18FN3O3 | 4.72 | 320 | 22 | 320 > 302 | [C16H17FN3O2]+ | 18 | 320 > 276 | [C14H13FN2O3]+ | 16 |
| Guanylurea¨ |  | C2H6N4O | 0.74 | 103 | 40 | 103 > 86 | [C2H4N3O]+ | 5 | 103 > 60 | [CH4N2O]+ | 7 |

Table SI 2. Molecular fragmentation characterization of new optimized pharmaceuticals in this study.

| Propranolol | Manidipine | Atorvastatin | Gemfibrozil |
| --- | --- | --- | --- |
| Fenofibrate | Oxytetracyline | Tetracycline | Dexamethasone |
| Doxycycline | Trimethroprim | Erythromycin | Oxolinic Acid |
| Flumequine | Remdesivir | Ritonavir | Lopinavir |
| Gemcitabine | Capecitabine | Tamoxifen | Naproxen |
| Antipyrine | Quetiapine | Chloroquine | Hydroxychloroquine |
| Tylosin | Enrofloxacin | Sarafloxacin | Diflubenzuron |
| Cloperastine |  |  |  |

Table SI 3. Concentrations of all pharmaceuticals in Llobregat and Besòs rivers of all sampling points and dates (ng L-1). Below detection limit (bdl). Below quantification limit (bql).

| Compound (PPT) | Acetaminophen | Pregabalin | Rasagiline | Sulfadiazina | Sulfamethoxazole | Gemcitabine | Atenolol | Cloperastine | Guanylurea | Metformin | Ibuprofen | Diclofenac | Mycophenolic acid | Bicalutamide | Tetracycline | Levetiracetam | Amylmetacresol | Propanolol | Chlorpheniramine |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATC Code | N02BE01 | N03AX16 | N04BD02 | J01EC02 | J04AM08 | L01BC05 | C07AB03 | R05DB21 | Metabolite | A10BA02 | M01AE01 | M01AB05 | L04AA06 | L02BB03 | D06AA04 | N03AX14 | R02AA03 | C07AA05 | R06AB04 |
| LL_1_A | 544 | bql | bql | 278 | 7 | bdl | 14 | 197 | 551 | 304 | 2844 | bql | bql | bdl | bql | 24 | bql | 5 | bdl |
| LL_1_B | 99 | bql | bql | 271 | bql | bdl | 2 | 268 | 291 | 110 | 2642 | bql | bdl | bdl | bdl | 9 | bql | 6 | bql |
| LL_1_C | 485 | bql | 359 | 147 | 16 | bdl | 10 | 265 | 974 | 81 | 2945 | bdl | bql | bdl | bdl | 50 | bql | 8 | bql |
| LL_1_D | 459 | bql | 492 | 141 | 16 | bdl | 18 | 841 | 879 | bdl | 2908 | bql | bql | bdl | bql | 74 | bql | 5 | bql |
| LL_1_E | 520 | bql | 578 | 110 | 22 | bdl | 12 | 604 | 1121 | 88 | 3262 | bql | 3 | bdl | bdl | 71 | bql | 6 | bql |
| LL_1_F | 141 | 155 | 1930 | 83 | 79 | bdl | 125 | 504 | 1127 | 172 | 2664 | bql | 88 | Bdl | bql | 152 | bql | 21 | bql |
| LL_1_G | 581 | bql | 444 | 98 | 21 | bdl | 13 | 1296 | 980 | 126 | 3274 | bql | bql | Bdl | bql | 34 | bql | 3 | bql |
| LL_2_A | 766 | 44 | bdl | bdl | 21 | bdl | 7 | 29 | 3074 | 915 | 409 | bql | 6 | bdl | bdl | 40 | bql | 3 | bdl |
| LL_2_B | 502 | bdl | 525 | bql | 11 | 20 | 11 | 85 | 1007 | 308 | 408 | bql | 9 | 6 | bql | 51 | bdl | 7 | bdl |
| LL_2_C | 483 | bql | bdl | 15 | 27 | bdl | 10 | 81 | 3103 | 838 | 1262 | 30 | 14 | 5 | bdl | 22 | 182 | 8 | bdl |
| LL_2_D | 642 | bql | bdl | 42 | 45 | 11 | 39 | 43 | 2409 | 716 | 270 | 74 | 27 | bql | 10 | 28 | bdl | 7 | bdl |
| LL_2_E | 193 | bql | bdl | bql | 27 | 10 | 8 | 181 | 716 | 188 | 354 | 112 | 27 | 11 | bdl | 15 | bql | 10 | bdl |
| LL_2_F | 3377 | 80 | bdl | 47 | 140 | 8 | 172 | 47 | 3695 | 900 | 669 | 609 | 328 | 27 | bql | 88 | 355 | 34 | bdl |
| LL_2_G | 92 | bql | 429 | 18 | 15 | 15 | 15 | 21 | 233 | 53 | 503 | bql | bdl | 24 | bql | 4 | bdl | bql | bdl |
| LL_3_A | bdl | 59 | 420 | bql | 20 | bdl | 14 | 101 | 3535 | 804 | 482 | bql | 21 | 12 | bdl | 27 | 156 | 5 | bdl |
| LL_3_B | 2085 | bql | 380 | 11 | 7 | 10 | 10 | 52 | 385 | 730 | 413 | bql | 18 | bdl | bdl | 36 | bdl | 6 | bdl |
| LL_3_C | 647 | 46 | 704 | 13 | 22 | 7 | 18 | 52 | 1087 | 653 | 530 | 40 | 26 | 6 | bdl | 33 | 138 | 6 | bdl |
| LL_3_D | 1232 | 72 | 483 | 21 | 35 | 13 | 37 | 97 | 2381 | 894 | 909 | 65 | 127 | bql | bql | 85 | 437 | 10 | bdl |
| LL_3_E | 646 | 99 | 1648 | 20 | 45 | bql | 93 | 107 | 1727 | 898 | 1643 | 129 | 288 | 9 | bql | 190 | 1198 | 27 | bdl |
| LL_3_F | 494 | 106 | bdl | 28 | 92 | 8 | 105 | 241 | 4094 | 746 | 4777 | 301 | 220 | 25 | bql | 118 | 2040 | 51 | bdl |
| LL_3_G | 3198 | 47 | 260 | 16 | 43 | bql | 11 | 531 | 1076 | 226 | 1772 | 23 | 12 | bdl | bdl | 30 | 496 | 5 | bdl |
| BS_1_A | 82 | bql | bdl | bdl | bql | bql | 2 | bdl | bdl | 61 | bdl | bdl | bdl | bdl | bql | 29 | bql | 9 | bql |
| BS_1_B | 398 | bql | 520 | 51 | 93 | bql | 71 | 92 | 3615 | 424 | 318 | bql | bdl | bdl | 29 | 57 | bql | 21 | bql |
| BS_1_C | 309 | bql | 410 | 52 | 109 | 140 | 184 | 64 | 1336 | 232 | 67 | 28 | 6 | bdl | 57 | 27 | bql | 15 | bql |
| BS_1_D | 107 | bql | 629 | 76 | 102 | 71 | 160 | 102 | 1205 | 310 | 163 | 45 | 10 | bdl | 27 | 170 | bql | 13 | bql |
| BS_1_E | 303 | 108 | 1095 | 69 | 106 | 51 | 252 | 73 | 8273 | 2491 | 249 | 212 | 5 | bdl | 170 | 223 | bql | 11 | bql |
| BS_2_A | 24 | bdl | bql | bql | bdl | bdl | bdl | 53 | blq | bql | 61 | bdl | bdl | bdl | bdl | bdl | bql | bql | bdl |
| BS_2_B | 30 | bql | bdl | bql | 17 | bdl | 9 | 18 | 705 | 27 | 134 | 274 | 26 | 8 | 43 | 10 | 394 | 12 | bdl |
| BS_2_C | 13 | bql | bdl | bql | 12 | bql | 8 | 6 | 560 | 31 | 1080 | 112 | 20 | bdl | bdl | bdl | 140 | bdl | bdl |
| BS_2_D | 17 | bql | 178 | bql | 15 | bql | 19 | 7 | 314 | 34 | 62 | 199 | 31 | bdl | bdl | 13 | bdl | bdl | bdl |
| BS_2_E | 32 | bql | 349 | 14 | 24 | 6 | 41 | 17 | 795 | 142 | 139 | 267 | 147 | bdl | bdl | 5 | 209 | bdl | bdl |
| BS_3_A | 452 | bql | 3745 | 34 | 73 | bql | 90 | 12 | 2366 | 391 | 342 | 62 | 33 | bql | bql | 39 | 233 | 31 | bql |
| BS_3_B | 87 | bql | 3103 | 54 | 135 | 162 | 196 | 26 | 3110 | 234 | 197 | 665 | 137 | 6 | bql | 34 | 466 | 13 | bdl |
| BS_3_C | 100 | bql | 2859 | 73 | 122 | 77 | 220 | 13 | 3285 | 370 | 175 | 372 | 62 | bql | bql | 28 | 975 | 34 | bdl |
| BS_3_D | 107 | 76 | 2858 | 50 | 96 | 46 | 273 | 23 | 1925 | 3242 | 1150 | 334 | 244 | 15 | bql | 69 | 1289 | 35 | bdl |
| BS_3_E | 89 | 106 | 2132 | 60 | 99 | 35 | 334 | 25 | 1707 | 4576 | 380 | 417 | 349 | 7 | bql | 106 | 2032 | 33 | bdl |

Table SI 3. (cont). Concentrations of all pharmaceuticals in Llobregat and Besòs rivers of all sampling points and dates (ng L-1). Below detection limit (bdl). Below quantification limit (bql).

| Compound (PPT) | Pentoxifylline | Diazepam | Vildagliptin | Verapamil | Rosuvastatin | Clarithromycin | Oxolinic Acid | Gabapentin | Citalopram | Topiramate | Donepezil | Pantoprazole | Tiotropium | Fluticasone | Diflubenzuron | Doxycycline | Caffeine | Lidocaine | Sulfapyridine | Scopolamine |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATC Code | C04AD03 | N05BA01 | A10BH02 | C08DA01 | C10BA06 | J01FA09 | J01MB05 | N03AX12 | N06AB04 | N03AX11 | N06DA02 | A02BC02 | R03BB04 | R03BA05 | QP53BC02 | J01AA02 | N06BC01 | C01BB01 | J01EB04 | A04AD01 |
| LL_1_A | 4 | bdl | 18 | 6 | bdl | 4 | bql | 48 | 8 | 22 | 6 | bdl | bdl | 323 | bql | bdl | 214 | 6 | 939 | 2 |
| LL_1_B | bql | bdl | 5 | 2 | bdl | 1 | bql | 35 | 4 | bql | bdl | bdl | bdl | 331 | bql | bdl | 104 | 3 | 1967 | bql |
| LL_1_C | 5 | bdl | 18 | 1 | bdl | 2 | bql | 174 | 9 | 63 | 1 | bdl | bdl | 387 | bdl | bdl | 207 | 22 | 1614 | bql |
| LL_1_D | 7 | bdl | 27 | 61 | bdl | 18 | 4 | 250 | 48 | 93 | 26 | bdl | bdl | 389 | bql | bdl | 358 | 37 | 781 | 2 |
| LL_1_E | 9 | bql | 23 | 4 | bdl | 10 | 4 | 274 | 20 | 78 | 2 | bdl | bdl | 410 | bdl | bdl | 320 | 44 | 584 | bql |
| LL_1_F | 50 | 49 | 618 | 2 | 74 | 85 | 4 | 1110 | 57 | 315 | 1 | bdl | bdl | 373 | bdl | bdl | 555 | 504 | 298 | 2 |
| LL_1_G | 9 | bdl | 30 | 1 | bdl | 9 | 9 | 236 | 13 | 101 | bdl | bdl | bdl | 402 | bql | bdl | 319 | 66 | 3090 | bdl |
| LL_2_A | 5 | 4 | 22 | 1 | bql | 3 | bdl | 119 | 17 | 24 | 2 | 98 | bql | bql | bdl | bql | 279 | 8 | 22 | 2 |
| LL_2_B | 4 | 5 | 11 | 49 | bql | 33 | 15 | 66 | 24 | 960 | 68 | 232 | bql | bdl | bql | bql | 238 | 8 | 96 | 4 |
| LL_2_C | 3 | 5 | 26 | 2 | bql | 5 | 15 | 93 | 35 | 700 | 3 | 132 | bdl | bdl | bql | bql | 262 | 18 | 22 | bql |
| LL_2_D | 12 | 2 | 43 | 1 | bql | 5 | 22 | 158 | 20 | 317 | 4 | 147 | 7 | bdl | bql | 35 | 337 | 77 | 50 | 3 |
| LL_2_E | 5 | 10 | 20 | 4 | bql | 9 | 11 | 53 | 57 | 479 | 4 | 44 | bdl | bdl | 26 | bql | 140 | 30 | 21 | bql |
| LL_2_F | 56 | 114 | 154 | 2 | 11 | 31 | bdl | 282 | 141 | 101 | 2 | 187 | 9 | bdl | bql | bql | 550 | 562 | 81 | 2 |
| LL_2_G | 4 | 13 | 25 | bdl | bdl | 1 | bql | 34 | 6 | 37 | 1 | bdl | bdl | bdl | bql | bql | 36 | 44 | 7 | bdl |
| LL_3_A | 7 | 4 | 19 | 80 | bql | 87 | bdl | 114 | 24 | 87 | 118 | bdl | bdl | bql | bdl | bql | 373 | 10 | 28 | 2 |
| LL_3_B | 3 | 4 | 9 | 1 | bql | 5 | bql | 69 | 11 | 110 | 3 | 60 | bdl | bql | bdl | bdl | 487 | 10 | 17 | 2 |
| LL_3_C | 6 | 6 | 38 | 2 | bql | 9 | bdl | 146 | 46 | 100 | 3 | 120 | bdl | bql | bdl | bdl | 297 | 52 | 43 | bql |
| LL_3_D | 13 | 7 | 41 | 3 | bql | 16 | bql | 198 | 43 | 813 | 5 | 93 | bql | bql | bdl | bql | 750 | 82 | 31 | 2 |
| LL_3_E | 43 | 40 | 93 | 2 | bql | 18 | bql | 302 | 52 | 148 | 3 | 574 | 7 | bdl | bdl | bql | 1231 | 248 | 124 | 3 |
| LL_3_F | 38 | 59 | 101 | 3 | 9 | 26 | bql | 293 | 109 | 47 | 4 | 634 | 7 | bdl | bdl | 17 | 863 | 417 | 69 | 3 |
| LL_3_G | 5 | 9 | 37 | 1 | bql | 7 | 7 | 153 | 13 | 493 | 3 | 240 | bdl | bql | bdl | bql | 276 | 156 | 38 | 4 |
| BS_1_A | bql | bdl | bdl | bdl | bql | 17 | bdl | 5 | bdl | bdl | bdl | bdl | 268 | bdl | bdl | 32 | 5 | 203 | 5 | 14 |
| BS_1_B | 13 | 58 | bdl | 4 | 74 | 1 | 260 | 70 | 237 | 24 | 3 | bql | 198 | bdl | bql | 289 | 203 | 378 | 7 | 177 |
| BS_1_C | 5 | 56 | bdl | 8 | 46 | 2 | 255 | 79 | 225 | 57 | 4 | bql | 216 | bql | bql | 182 | 378 | 357 | bql | 281 |
| BS_1_D | 10 | 73 | bdl | 16 | 38 | 2 | 266 | 78 | 296 | 48 | 6 | bql | 135 | bql | bql | 269 | 357 | 335 | 7 | 90 |
| BS_1_E | 7 | 91 | bdl | 17 | 49 | 1 | 578 | 84 | 380 | 18 | 3 | 4 | 173 | bdl | bql | 1457 | 335 | 333 | 3 | 77 |
| BS_2_A | bql | bql | bdl | 7 | bdl | bdl | bdl | bdl | bql | 63 | 2 | bdl | bql | bdl | bdl | bdl | 18 | 2 | 6 | bdl |
| BS_2_B | 12 | 13 | 12 | 18 | 7 | 52 | 97 | 24 | 42 | 110 | 2 | bdl | bdl | bdl | 514 | 57 | 112 | 95 | 31 | bql |
| BS_2_C | 5 | 4 | bdl | 3 | bql | 2 | 9 | 12 | bdl | 31 | bql | bdl | bdl | bdl | 91 | bql | 32 | 5 | 19 | bdl |
| BS_2_D | 10 | 9 | bdl | bdl | bql | 1 | 18 | 9 | 3 | 482 | bql | bql | bdl | bdl | 203 | bql | 47 | 3 | 23 | bdl |
| BS_2_E | 165 | 17 | 2 | 6 | bql | 2 | bql | 22 | 2 | 94 | bql | bdl | bdl | bdl | bdl | bdl | 248 | 7 | 44 | bdl |
| BS_3_A | 15 | 12 | 51 | 11 | 17 | 75 | bql | 153 | 76 | 340 | 3 | bql | bql | bdl | bdl | bdl | 36 | 26 | 11 | 1 |
| BS_3_B | 88 | 23 | 40 | bdl | bdl | 71 | bql | 132 | 95 | 206 | 2 | bql | bdl | bdl | bdl | bdl | 187 | 808 | 40 | bql |
| BS_3_C | 74 | 17 | 68 | 1 | 31 | 58 | bql | 140 | 88 | 383 | 2 | 32 | bql | bdl | bdl | bdl | 130 | 779 | 63 | bql |
| BS_3_D | 161 | 21 | 73 | 1 | 69 | 47 | bql | 344 | 94 | 416 | 2 | 14 | bql | bql | bdl | bdl | 366 | 477 | 44 | bql |
| BS_3_E | 240 | 22 | 78 | 1 | 79 | 57 | bql | 487 | 108 | 387 | 3 | 24 | bql | bdl | bdl | bdl | 551 | 469 | 49 | bql |

Table SI 3. (cont). Concentrations of all pharmaceuticals in Llobregat and Besòs rivers of all sampling points and dates (ng L-1). Below detection limit (bdl). Below quantification limit (bql).

| Compound (PPT) | Norfloxacin | Ciprofloxacin | Amoxicillin | Levofloxacin | Enrofloxacin | Oxytetracycline | Trimethoprim | Sarafloxacin | Tylosin | Chlortetracycline | Memantine | 4-Aminoantipyrine | Fluoxetine | Megestrol | Losartan | Amiodarone | Antipyrine | Ifosfamide | Tramadol | Amitriptyline |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATC Code | S01AE02 | J01MA02 | J01CA04 | J01MA12 | QJ01MA90 | D06AA03 | J01EA01 | QJ01MA98 | QJ01FA90 | D06AA02 | N06DX01 | N02BB03 | N06AB03 | L02AB01 | C09CA01 | C01BD01 | N02BB01 | L01AA06 | N02AX02 | N06AA09 |
| LL_1_A | 867 | bdl | bdl | 49 | bdl | 53 | bdl | bdl | bql | bdl | bql | bql | 3 | 105 | bql | 181 | 22 | bql | 50 | 1220 |
| LL_1_B | 2792 | bdl | bdl | bql | bql | 56 | bdl | bdl | bdl | bql | bql | bql | 2 | 171 | 2 | 187 | 121 | bdl | 92 | 3397 |
| LL_1_C | 94 | bql | bdl | bql | bdl | 112 | bdl | bql | bdl | bdl | 4 | bql | 1 | 61 | bql | 181 | 607 | bql | 100 | 2107 |
| LL_1_D | bql | bql | bdl | 97 | bql | 76 | bdl | bdl | bdl | bql | 7 | 10 | 6 | 23 | 2 | 184 | 165 | bql | 195 | 2402 |
| LL_1_E | 173 | bql | bdl | 19 | bdl | 64 | bdl | bql | bdl | bdl | 6 | bql | 3 | 91 | bql | 190 | 221 | bdl | 198 | 2641 |
| LL_1_F | 119 | 96 | bdl | 39 | bdl | 104 | 12 | 31 | 20 | bdl | 37 | 52 | 1 | 341 | 48 | 156 | 505 | bql | 921 | 1483 |
| LL_1_G | 78 | bql | bdl | bql | bdl | 80 | bdl | bql | bdl | bql | 6 | 11 | 1 | 156 | bdl | 184 | 289 | bql | 212 | 2320 |
| LL_2_A | 31 | bql | bql | bql | 3 | bql | 8 | bdl | bdl | bdl | 7 | bql | 1 | bdl | 63 | bdl | bql | bql | 254 | 11 |
| LL_2_B | 168 | bql | bql | 86 | 4 | bql | 13 | bql | bql | bdl | 8 | bql | 66 | 29 | 30 | 46 | 36 | bql | 102 | 57 |
| LL_2_C | 1546 | bql | 14 | 45 | 5 | bql | 10 | bdl | bdl | bql | 7 | bql | 5 | 19 | 94 | bql | bql | 4 | 355 | 10 |
| LL_2_D | 173 | bql | bdl | 92 | 9 | bql | 28 | 67 | bdl | bql | 11 | 42 | 5 | bql | 159 | bql | 114 | 4 | 575 | 7 |
| LL_2_E | 56 | bql | bdl | bql | 5 | bql | bql | bdl | bdl | bdl | 5 | bql | 11 | bql | 374 | bql | 38 | bql | 206 | 222 |
| LL_2_F | 81 | bql | 31 | 57 | 23 | bql | 275 | bdl | bql | bdl | 33 | 228 | 9 | 61 | 1171 | bql | 228 | 4 | 1456 | 31 |
| LL_2_G | 20 | bql | bdl | bql | 3 | bql | 14 | bdl | bql | bdl | 10 | bql | 1 | bql | 234 | bql | 70 | bql | 277 | 2 |
| LL_3_A | 45 | bdl | bdl | bql | bql | bql | bql | bql | bql | bdl | 4 | bql | 58 | 106 | 65 | bql | 20 | 3 | 172 | 27 |
| LL_3_B | 243 | bql | 16 | 55 | 7 | 43 | 9 | bdl | bdl | bdl | 7 | bql | 2 | 19 | 34 | bdl | bdl | bdl | 93 | bdl |
| LL_3_C | 119 | bdl | 20 | bql | 3 | 47 | bql | bdl | bdl | bdl | 9 | 12 | 7 | 16 | 124 | 34 | 38 | 3 | 220 | 15 |
| LL_3_D | 127 | bql | 42 | 63 | 5 | 68 | 13 | bql | bql | bdl | 11 | 32 | 7 | 19 | 341 | bql | 58 | 3 | 289 | bdl |
| LL_3_E | 128 | bql | 55 | 83 | 9 | 106 | 30 | bdl | bql | bdl | 23 | 106 | 5 | 18 | 733 | bql | 97 | 3 | 570 | 169 |
| LL_3_F | 247 | bql | 27 | 118 | 11 | 118 | 49 | bql | bql | bdl | 30 | 177 | 18 | 18 | 960 | bql | 129 | bql | 640 | 58 |
| LL_3_G | 198 | bql | 12 | 54 | 3 | bdl | bql | bdl | bdl | bdl | 7 | 482 | 6 | 22 | 238 | bql | 83 | 3 | 343 | 5 |
| BS_1_A | 177 | bdl | bql | bdl | bdl | bql | bdl | bdl | 29 | bql | bdl | bql | bdl | bql | 83 | bql | bql | bdl | bdl | bdl |
| BS_1_B | 281 | bql | 29 | bql | 8 | 41 | bql | bql | bql | bql | 73 | bql | 441 | 228 | 64 | 62 | bql | 909 | 33 | 311 |
| BS_1_C | 90 | bql | 38 | bql | 4 | bql | bql | bql | bql | bql | 196 | 10 | 416 | 349 | 73 | 104 | bql | 653 | 29 | 349 |
| BS_1_D | 77 | bql | 42 | bql | 3 | 48 | bql | bql | bql | bql | 434 | 13 | 338 | 376 | 59 | 88 | bql | 697 | 32 | 499 |
| BS_1_E | 73 | bql | 56 | bql | bdl | 47 | bql | bql | bql | bql | 97 | bdl | 431 | 580 | 62 | 87 | bql | 802 | 28 | 517 |
| BS_2_A | 82 | bdl | bdl | bql | bdl | bdl | bdl | bdl | bdl | bdl | bql | bdl | bdl | bdl | bdl | bdl | bdl | bdl | 6 | 4 |
| BS_2_B | 111 | 95 | bdl | bql | 72 | 46 | 14 | 25 | bql | bql | 16 | bql | 4 | bdl | 367 | 29 | 63 | 17 | 195 | 12 |
| BS_2_C | 39 | 106 | bdl | bdl | bdl | bdl | bql | bdl | bdl | bql | 51 | bql | bdl | bql | 74 | bql | 36 | bql | 11 | 4 |
| BS_2_D | 58 | 98 | bdl | bdl | bdl | bdl | bdl | bdl | bdl | bql | 36 | bql | bdl | bdl | 72 | bdl | 38 | bql | 17 | 3 |
| BS_2_E | 77 | 97 | bdl | bql | 4 | bdl | bql | bdl | bdl | bdl | 33 | bql | bdl | bdl | 125 | 14 | 36 | bdl | 13 | 5 |
| BS_3_A | 144 | bql | bdl | 49 | 39 | bql | 42 | bql | bql | bql | 39 | 91 | 5 | bdl | 163 | bdl | 122 | bql | 448 | 14 |
| BS_3_B | 356 | bql | 45 | 56 | 10 | bql | 52 | bql | bql | bql | 1705 | 234 | 20 | 21 | 734 | bql | 165 | bql | 969 | 42 |
| BS_3_C | 679 | bql | 35 | 68 | 9 | bql | 45 | bql | bql | bql | 1643 | 257 | 21 | bql | 576 | 65 | 153 | bql | 1114 | 46 |
| BS_3_D | 658 | bql | 11 | 46 | 4 | 50 | 34 | bql | bql | bql | 952 | 146 | 22 | bql | 664 | bql | 165 | 3 | 972 | 54 |
| BS_3_E | 1069 | bql | 22 | 102 | 10 | 88 | 43 | bql | bql | bql | 935 | 130 | 23 | bdl | 767 | bql | 182 | 4 | 1001 | 54 |

Table SI 3. (cont). Concentrations of all pharmaceuticals in Llobregat and Besòs rivers of all sampling points and dates (ng L-1). Below detection limit (bdl). Below quantification limit (bql).

| Compound (PPT) | Venlafaxine | Prednisone | Trazodone | Manidipine | Flumequine | Erythromycin | Naproxen | Gemfibrozil | Chloroquine | Hydroxichloroquine | Capecitabine | Fenofibrate | Tamoxifen | Quetiapine | Dexomethasone | Atorvastatin | Remedesivir | Lopinivir | Ritonavir |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ATC Code | N06AX16 | S02BA03 | N06AX05 | C08CA11 | J01MB07 | J01FA01 | M01AE02 | C10AB04 | P01BA01 | P01BA02 | L01BC06 | C10BA03 | L02BA01 | N05AH04 | H02AB02 | C10AA05 | J05AB16 | J05AR10 | J05AE03 |
| LL_1_A | 47 | 117 | 1 | bdl | bql | bdl | bql | 192 | 17 | bql | bdl | 41 | bdl | 5 | bdl | bdl | bdl | bdl | bdl |
| LL_1_B | 22 | bql | 1 | bdl | bdl | bdl | bdl | 174 | 35 | 15 | bdl | 42 | bdl | bdl | bdl | bdl | bdl | bdl | bdl |
| LL_1_C | 79 | 92 | 4 | bdl | bdl | bdl | bdl | 250 | 39 | 9 | bdl | 43 | bdl | bql | bdl | bdl | bdl | bdl | bdl |
| LL_1_D | 151 | 47 | 7 | bdl | bdl | bdl | bdl | 308 | 17 | bql | 1 | 39 | bdl | bql | bdl | bdl | bdl | bdl | bdl |
| LL_1_E | 149 | 96 | 5 | bdl | bdl | bdl | 12 | bdl | 11 | bql | 1 | 33 | bdl | 2 | bdl | bdl | bdl | bdl | bdl |
| LL_1_F | 457 | 187 | 21 | bql | bdl | 548 | 144 | 233 | 1015 | bql | 8 | 34 | bdl | 15 | bdl | bdl | bdl | bdl | bdl |
| LL_1_G | 144 | 134 | 5 | bdl | bdl | bdl | 13 | 121 | 8 | bql | bdl | 37 | bdl | 2 | bdl | bdl | bdl | bdl | bdl |
| LL_2_A | 67 | bdl | 5 | bdl | 5 | bdl | 126 | 156 | bdl | bql | 9 | 13 | bdl | 4 | 189 | bdl | 2 | bdl | bql |
| LL_2_B | 32 | bdl | 5 | 5 | 19 | bql | 42 | 250 | 44 | 96 | bdl | 13 | bdl | bdl | 155 | bql | 28 | 16 | 17 |
| LL_2_C | 120 | bdl | 9 | bql | bdl | bql | 80 | 279 | bql | 10 | bdl | 13 | bdl | 3 | 102 | 3 | bql | 7 | 7 |
| LL_2_D | 196 | bdl | 17 | bql | 23 | bql | 75 | bdl | 8 | bql | 1 | bdl | bdl | 3 | 67 | 10 | 2 | bql | bdl |
| LL_2_E | 78 | bdl | 22 | bql | 10 | bql | 144 | 244 | bql | 13 | 1 | 14 | bql | 13 | 116 | 21 | 4 | 2 | 3 |
| LL_2_F | 247 | bdl | 33 | bql | 18 | 289 | 341 | 519 | 4 | bdl | 10 | 4 | bdl | 18 | 363 | 72 | 2 | bql | bql |
| LL_2_G | 44 | bdl | 1 | bdl | 8 | bql | bql | 220 | bdl | bdl | 1 | 7 | bdl | 2 | 60 | bdl | bdl | 2 | bql |
| LL_3_A | 79 | bql | 4 | bql | bdl | bql | 165 | bdl | 97 | 30 | bdl | 14 | bdl | 5 | 168 | bql | 89 | 92 | 92 |
| LL_3_B | 51 | 135 | 6 | bdl | bdl | bql | 113 | 157 | 35 | 13 | bdl | 12 | bdl | 4 | 550 | bql | bql | 6 | bdl |
| LL_3_C | 173 | bdl | 13 | bql | bdl | bql | 140 | 596 | 14 | 9 | bdl | 12 | bql | 3 | 482 | 6 | 3 | 11 | 4 |
| LL_3_D | 201 | bdl | 13 | bdl | bdl | bql | 257 | 432 | 78 | bql | 4 | 19 | bql | 8 | 530 | 15 | 5 | 14 | 3 |
| LL_3_E | 283 | 267 | 24 | bdl | bdl | 204 | 716 | 1431 | 63 | bdl | 5 | 14 | bql | 11 | 478 | 39 | 2 | 13 | bdl |
| LL_3_F | 275 | bdl | 55 | bql | bdl | 285 | 819 | 1968 | 28 | bdl | 5 | 23 | bql | 46 | 658 | 68 | 5 | 47 | 8 |
| LL_3_G | 71 | bdl | 8 | bql | bdl | bql | 187 | 669 | 36 | bql | 1 | 11 | bql | 5 | 469 | bql | 3 | 34 | 3 |
| BS_1_A | bdl | bql | bdl | 19 | bdl | bdl | 214 | 407 | 28 | 9 | 10 | 19 | bdl | 2 | 4 | 10 | 8 | 11 | 4 |
| BS_1_B | 171 | bql | 4 | bql | 549 | bdl | 112 | 458 | 15 | bql | 6 | 11 | bdl | bql | bql | 35 | bdl | 5 | bdl |
| BS_1_C | 142 | bql | 5 | 5 | 447 | bdl | 191 | 584 | 30 | bql | 4 | 9 | bdl | bql | 11 | 43 | bql | 6 | bql |
| BS_1_D | 121 | bql | 4 | bql | 432 | bdl | 610 | 604 | 20 | 11 | 7 | 8 | bdl | 2 | 17 | 56 | bdl | 3 | bdl |
| BS_1_E | 134 | 48 | 6 | bql | 499 | bdl | 512 | 348 | 7 | bql | 7 | 10 | bdl | 2 | bql | 23 | bdl | 4 | bdl |
| BS_2_A | bql | bdl | 1 | bdl | bdl | bdl | bdl | bdl | 28 | 15 | 2 | bdl | bdl | bdl | bdl | bdl | bdl | bdl | bdl |
| BS_2_B | 156 | 30 | 14 | bdl | 95 | bdl | 56 | 196 | 24 | 36 | 4 | bql | 18 | bdl | 26 | bdl | 4 | bdl | 34 |
| BS_2_C | 6 | bdl | 3 | bdl | 11 | bdl | 50 | 421 | 13 | 19 | 2 | bql | 83 | bdl | 14 | bdl | 30 | bdl | 31 |
| BS_2_D | 6 | bdl | 2 | bdl | 18 | bdl | 76 | 415 | 5 | 14 | 1 | 5 | 14 | bdl | 33 | bdl | 21 | bdl | 16 |
| BS_2_E | 9 | bdl | 5 | bdl | bdl | bql | 641 | 508 | 5 | 9 | 1 | 7 | bql | bdl | 156 | bdl | 108 | bdl | 42 |
| BS_3_A | 358 | bdl | 39 | bdl | 7 | 429 | 125 | 388 | 26 | 13 | 1 | 17 | 5 | bdl | 42 | 3 | 16 | bdl | 15 |
| BS_3_B | 653 | bdl | 47 | bdl | 9 | 223 | 182 | 2862 | 12 | 10 | 1 | 20 | 5 | bdl | 34 | 5 | 194 | bql | 19 |
| BS_3_C | 734 | 54 | 114 | bdl | bql | 277 | 1197 | 1661 | 23 | 15 | 1 | 13 | 10 | bdl | 13 | 6 | 188 | bdl | 12 |
| BS_3_D | 698 | 89 | 46 | bdl | bql | 132 | 776 | 1632 | 24 | 15 | 1 | 13 | 108 | 3 | 87 | bql | 220 | bdl | 16 |
| BS_3_E | 765 | bdl | 64 | bdl | bql | 177 | 1174 | 1393 | 20 | 13 | 1 | 16 | bql | 5 | 105 | 4 | 225 | bql | 32 |

Table SI 4. List of compounds by cluster. The center columns indicate whether the median concentration exceeds 10 ng L-1; red means this limit is exceeded in both rivers, green that is only exceeded in Besòs, and blue, only in Llobregat.

|  | Besòs |  |  |  | Llobregat |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLUSTER 1 | Median (ng L-1) | p value |  |  | Median (ng L-1) | p value |
| Acetaminophen | 99 | <0.001 |  |  | 564 | <0.001 |
| Amylmetacresol | 220 | 0.001 |  |  | 94 | 0.002 |
| Caffeine | 193 | <0.001 |  |  | 329 | <0.001 |
| Gabapentin | 78 | 0.002 |  |  | 163 | <0.001 |
| Gemfibrozil | 526 | <0.001 |  |  | 265 | <0.001 |
| Guanylurea | 1640 | <0.001 |  |  | 1644 | <0.001 |
| Ibuprofen | 205 | <0.001 |  |  | 1658 | <0.001 |
| Lidocaine | 245 | 0.002 |  |  | 52 | 0.001 |
| Metformin | 272 | <0.001 |  |  | 478 | <0.001 |
| Norfloxacin | 180 | <0.001 |  |  | 144 | <0.001 |
| Rasagiline | 1198 | 0.001 |  |  | 310 | 0.001 |
| Topiramate | 194 | 0.001 |  |  | 189 | <0.001 |
| Tramadol | 235 | 0.002 |  |  | 272 | <0.001 |
| Venlafaxine | 212 | 0.006 |  |  | 126 | <0.001 |
| CLUSTER 2 | Median (ng L-1) | p value |  |  | Median (ng L-1) | p value |
| Atenolol | 122 | 0.003 |  |  | 16 | 0.002 |
| Ciprofloxacin | 53 | 0.001 |  |  | 18 | 0.149 |
| Dexamethasone | 24 | 0.008 |  |  | 235 | 0.001 |
| Diclofenac | 188 | 0.001 |  |  | 27 | 0.077 |
| Losartan | 220 | <0.001 |  |  | 132 | 0.001 |
| Memantine | 235 | 0.001 |  |  | 8 | 0.867 |
| Mycophenolic acid | 35 | 0.012 |  |  | 18 | 0.044 |
| Naproxen | 355 | <0.001 |  |  | 109 | 0.001 |
| Sulfamethoxazole | 62 | 0.002 |  |  | 26 | <0.001 |
| CLUSTER 3 | Median (ng L-1) | p value |  |  | Median (ng L-1) | p value |
| Amiodarone | 32 | 0.174 |  |  | 83 | 0.082 |
| Amitriptyline | 48 | 0.025 |  |  | 638 | 0.001 |
| Antipyrine | 64 | 0.014 |  |  | 101 | <0.001 |
| Citalopram | 94 | 0.006 |  |  | 30 | <0.001 |
| Cloperastine | 33 | 0.004 |  |  | 181 | <0.001 |
| Fluticasone | <LOQ | n.a. |  |  | 166 | 0.351 |
| Levetiracetam | 36 | 0.003 |  |  | 49 | <0.001 |
| Levofloxacin | 28 | 0.012 |  |  | 27 | <0.001 |
| Megestrol | <LOQ | n.a. |  |  | 45 | <0.001 |
| Oxytetracycline | 27 | 0.007 |  |  | 54 | <0.001 |
| Pregabalin | <LOQ | n.a. |  |  | <LOQ | n.a. |
| Sulfadiazine | 37 | 0.011 |  |  | 51 | 0.001 |
| Sulfapyridine | 23 | 0.032 |  |  | 183 | <0.001 |

|  | Besòs |  |  |  | Llobregat |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLUSTER 4 | Median (ng L-1) | p value |  |  | Median (ng L-1) | p value |
| Aminoantipyrine | 49 | 0.295 |  |  | 21 | 0.266 |
| Chloroquine | 19 | 0.003 |  |  | 25 | 0.01 |
| Chlorpheniramine | <LOQ | n.a. |  |  | <LOQ | n.a. |
| Chlortetracycline | 14 | 0.205 |  |  | <LOQ | n.a. |
| Clarithromycin | 27 | 0.189 |  |  | 12 | 0.289 |
| Erithromycin | 69 | 0.399 |  |  | <LOQ | n.a. |
| Fenofibrate | 10 | 0.421 |  |  | 21 | 0.002 |
| Hydroxychloroquine | 12 | 0.091 |  |  | <LOQ | n.a. |
| Pantoprazole | <LOQ | n.a. |  |  | 82 | 0.007 |
| Pentoxifylline | 41 | 0.122 |  |  | 8 | 0.851 |
| Prednisone | <LOQ | n.a. |  |  | 48 | 0.044 |
| Propanolol | 15 | 0.082 |  |  | 7 | 0.888 |
| Trazodone | 22 | 0.356 |  |  | 10 | 0.5 |
| Vildagliptin | 20 | 0.377 |  |  | 30 | <0.001 |
| CLUSTER 5 | Median (ng L-1) | p value |  |  | Median (ng L-1) | p value |
| Amoxicillin | 20 | 0.082 |  |  | <LOQ | n.a. |
| Atorvastatin | 6 | 0.623 |  |  | 4 | 0.881 |
| Diazepam | 20 | 0.012 |  |  | 6 | 0.881 |
| Doxycycline | 30 | 0.205 |  |  | <LOQ | n.a. |
| Flumequine | 48 | 0.275 |  |  | <LOQ | n.a. |
| Fluoxetine | 21 | 0.037 |  |  | 5 | 0.983 |
| Gemcitabine | 32 | 0.091 |  |  | <LOQ | n.a. |
| Ifosfamide | 9 | 0.579 |  |  | <LOQ | n.a. |
| Oxolinic acid | 50 | 0.295 |  |  | <LOQ | n.a. |
| Rosuvastatin | 25 | 0.074 |  |  | <LOQ | n.a. |
| Scopolamine | 8 | 0.623 |  |  | <LOQ | n.a. |
| Tetracycline | 14 | 0.399 |  |  | <LOQ | n.a. |
| Tiotropium | 68 | 0.399 |  |  | <LOQ | n.a. |

Table SI 4 (cont). List of compounds by cluster. The center columns indicate whether the median concentration exceeds 10 ng L-1; red means this limit is exceeded in both rivers, green that is only exceeded in Besòs, and blue, only in Llobregat.

|  | Besòs |  |  |  | LLobregat |  |
| --- | --- | --- | --- | --- | --- | --- |
| CLUSTER 6 | Median (ng L-1) | p value |  |  | Median (ng L-1) | p value |
| Bicalutamide | <LOQ | n.a. |  |  | <LOQ | n.a. |
| Capecitabine | 3 | 1.000 |  |  | 1 | 1.000 |
| Diflubenzuron | <LOQ | n.a. |  |  | <LOQ | n.a. |
| Donepezil | 2 | 1 |  |  | 3 | 0.974 |
| Enrofloxacin | 5 | 0.953 |  |  | 4 | 0.999 |
| Lopinavir | 2 | 1.000 |  |  | 7 | 0.928 |
| Manidipine | <LOQ | n.a. |  |  | <LOQ | n.a. |
| Quetiapine | <LOQ | n.a. |  |  | 5 | 0.994 |
| Remdesivir | 55 | 0.066 |  |  | <LOQ | n.a. |
| Ritonavir | 16 | 0.239 |  |  | <LOQ | n.a. |
| Sarafloxacin | <LOQ | n.a. |  |  | <LOQ | n.a. |
| Tamoxifen | 5 | 0.889 |  |  | <LOQ | n.a. |
| Trimethoprim | 18 | 0.377 |  |  | 8 | 0.711 |
| Tylosin | <LOQ | n.a. |  |  | <LOQ | n.a. |
| Verapamil | 5 | 0.983 |  |  | 2 | 0.974 |

Table SI 5. Risk quotient (RQ) of each pharmaceutical by sampling point and date. Non-data available (n.d) and not quantifiable because result was below MDL (n.q). Results between MDL and LOQ were considered for RQ calculations.

|  | Acetaminophen | Rasagiline | Sulfadiazina | Sulfamethoxazole | Atenolol | Cloperastine | Guanylurea | Metformin | Ibuprofen | Diclofenac | Mycophenolic acid | Levetiracetam | Amylmetacresol | Diazepam | Vildagliptin | Gabapentin | Citalopram | Topiramate | Pantoprazole | Caffeine |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LL_1_A | 0.0054 | n.d | 0.0015 | 0.0003 | 0.00005 | n.d | n.d | 0.0047 | 0.0729 | 0.00001 | 0.00001 | 0.0002 | 0.0094 | n.q | n.d | 0.0005 | 0.0003 | n.d | n.d | 0.0013 |
| LL_1_B | 0.0010 | n.d | 0.0014 | 0.00003 | 0.00001 | n.d | n.d | 0.0017 | 0.0677 | 0.00001 | 0.000005 | 0.0001 | 0.0129 | n.q | n.d | 0.0004 | 0.0001 | n.d | n.d | 0.0006 |
| LL_1_C | 0.0048 | n.d | 0.0008 | 0.0007 | 0.00003 | n.d | n.d | 0.0013 | 0.0755 | 0.000003 | 0.00001 | 0.0005 | 0.0087 | n.q | n.d | 0.0017 | 0.0003 | n.d | n.d | 0.0013 |
| LL_1_D | 0.0046 | n.d | 0.0007 | 0.0006 | 0.0001 | n.d | n.d | 0.0016 | 0.0746 | 0.00002 | 0.00002 | 0.0007 | 0.0187 | n.q | n.d | 0.0025 | 0.0016 | n.d | n.d | 0.0022 |
| LL_1_E | 0.0052 | n.d | 0.0006 | 0.0009 | 0.00004 | n.d | n.d | 0.0014 | 0.0836 | 0.00001 | 0.00003 | 0.0007 | 0.0084 | 0.00004 | n.d | 0.0027 | 0.0007 | n.d | n.d | 0.0020 |
| LL_1_F | 0.0014 | n.d | 0.0004 | 0.0031 | 0.0004 | n.d | n.d | 0.0027 | 0.0683 | 0.00003 | 0.0009 | 0.0015 | 0.0190 | 0.0035 | n.d | 0.0111 | 0.0020 | n.d | n.d | 0.0034 |
| LL_1_G | 0.0058 | n.d | 0.0005 | 0.0008 | 0.0000 | n.d | n.d | 0.0020 | 0.0839 | 0.00003 | 0.00001 | 0.0003 | 0.0145 | 0.00002 | n.d | 0.0024 | 0.0004 | n.d | n.d | 0.0020 |
| LL_2_A | 0.0077 | n.d | n.q | 0.0008 | 0.00002 | n.d | n.d | 0.0143 | 0.0105 | 0.0001 | 0.0001 | 0.0004 | 0.0563 | 0.0003 | n.d | 0.0012 | 0.0006 | n.d | n.d | 0.0017 |
| LL_2_B | 0.0050 | n.d | 0.0000 | 0.0004 | 0.00004 | n.d | n.d | 0.0048 | 0.0105 | 0.0001 | 0.0001 | 0.0005 | n.q | 0.0004 | n.d | 0.0007 | 0.0008 | n.d | n.d | 0.0015 |
| LL_2_C | 0.0048 | n.d | 0.0001 | 0.0011 | 0.00003 | n.d | n.d | 0.0131 | 0.0323 | 0.0002 | 0.0001 | 0.0002 | 0.1823 | 0.0003 | n.d | 0.0009 | 0.0012 | n.d | n.d | 0.0016 |
| LL_2_D | 0.0064 | n.d | 0.0002 | 0.0018 | 0.0001 | n.d | n.d | 0.0112 | 0.0069 | 0.0006 | 0.0003 | 0.0003 | n.q | 0.0001 | n.d | 0.0016 | 0.0007 | n.d | n.d | 0.0021 |
| LL_2_E | 0.0019 | n.d | 0.0000 | 0.0011 | 0.00003 | n.d | n.d | 0.0029 | 0.0091 | 0.0009 | 0.0003 | 0.0001 | 0.0622 | 0.0007 | n.d | 0.0005 | 0.0020 | n.d | n.d | 0.0009 |
| LL_2_F | 0.0338 | n.d | 0.0003 | 0.0055 | 0.0006 | n.d | n.d | 0.0141 | 0.0172 | 0.0049 | 0.0033 | 0.0009 | 0.3552 | 0.0082 | n.d | 0.0028 | 0.0049 | n.d | n.d | 0.0034 |
| LL_2_G | 0.0009 | n.d | 0.0001 | 0.0006 | 0.00005 | n.d | n.d | 0.0008 | 0.0129 | 0.0001 | n.q | 0.00004 | n.q | 0.0009 | n.d | 0.0003 | 0.0002 | n.d | n.d | 0.0002 |
| LL_3_A | 0.0000 | n.d | 0.00002 | 0.0008 | 0.00005 | n.d | n.d | 0.0126 | 0.0124 | 0.0001 | 0.0002 | 0.0003 | 0.1564 | 0.0003 | n.d | 0.0011 | 0.0008 | n.d | n.d | 0.0023 |
| LL_3_B | 0.0209 | n.d | 0.0001 | 0.0003 | 0.00003 | n.d | n.d | 0.0114 | 0.0106 | 0.00005 | 0.0002 | 0.0004 | n.q | 0.0003 | n.d | 0.0007 | 0.0004 | n.d | n.d | 0.0030 |
| LL_3_C | 0.0065 | n.d | 0.0001 | 0.0009 | 0.0001 | n.d | n.d | 0.0102 | 0.0136 | 0.0003 | 0.0003 | 0.0003 | 0.1382 | 0.0004 | n.d | 0.0015 | 0.0016 | n.d | n.d | 0.0018 |
| LL_3_D | 0.0123 | n.d | 0.0001 | 0.0014 | 0.0001 | n.d | n.d | 0.0140 | 0.0233 | 0.0005 | 0.0013 | 0.0008 | 0.4371 | 0.0005 | n.d | 0.0020 | 0.0015 | n.d | n.d | 0.0047 |
| LL_3_E | 0.0065 | n.d | 0.0001 | 0.0018 | 0.0003 | n.d | n.d | 0.0140 | 0.0421 | 0.0010 | 0.0029 | 0.0019 | 1.1976 | 0.0028 | n.d | 0.0030 | 0.0018 | n.d | n.d | 0.0076 |
| LL_3_F | 0.0049 | n.d | 0.0001 | 0.0036 | 0.0003 | n.d | n.d | 0.0117 | 0.1225 | 0.0024 | 0.0022 | 0.0012 | 2.0397 | 0.0042 | n.d | 0.0029 | 0.0038 | n.d | n.d | 0.0054 |
| LL_3_G | 0.0320 | n.d | 0.0001 | 0.0017 | 0.00003 | n.d | n.d | 0.0035 | 0.0454 | 0.0002 | 0.0001 | 0.0003 | 0.4961 | 0.0007 | n.d | 0.0015 | 0.0004 | n.d | n.d | 0.0017 |
| BS_1_A | 0.0008 | n.d | n.q | 0.0000 | 0.00001 | n.d | n.d | 0.0010 | n.q | n.q | n.q | 0.0003 | 0.0034 | n.q | n.d | 0.0000 | n.q | n.d | n.d | 0.00003 |
| BS_1_B | 0.0040 | n.d | 0.0003 | 0.0037 | 0.0002 | n.d | n.d | 0.0066 | 0.0081 | 0.0001 | n.q | 0.0006 | 0.0228 | 0.0041 | n.d | 0.0007 | 0.0082 | n.d | n.d | 0.0013 |
| BS_1_C | 0.0031 | n.d | 0.0003 | 0.0043 | 0.0006 | n.d | n.d | 0.0036 | 0.0017 | 0.0002 | 0.0001 | 0.0003 | 0.0208 | 0.0040 | n.d | 0.0008 | 0.0078 | n.d | n.d | 0.0023 |
| BS_1_D | 0.0011 | n.d | 0.0004 | 0.0040 | 0.0005 | n.d | n.d | 0.0048 | 0.0042 | 0.0004 | 0.0001 | 0.0017 | 0.0221 | 0.0052 | n.d | 0.0008 | 0.0102 | n.d | n.d | 0.0022 |
| BS_1_E | 0.0030 | n.d | 0.0004 | 0.0042 | 0.0008 | n.d | n.d | 0.0389 | 0.0064 | 0.0017 | 0.00005 | 0.0022 | 0.0203 | 0.0065 | n.d | 0.0008 | 0.0131 | n.d | n.d | 0.0021 |
| BS_2_A | 0.0002 | n.d | 0.00002 | 0.000002 | 0.000001 | n.d | n.d | 0.0002 | 0.0016 | 0.000002 | 0.000002 | n.q | 0.0462 | 0.00004 | n.d | 0.00000 | 0.0000 | n.d | n.d | 0.0001 |
| BS_2_B | 0.0003 | n.d | 0.00003 | 0.0007 | 0.00003 | n.d | n.d | 0.0004 | 0.0034 | 0.0022 | 0.0003 | 0.0001 | 0.3937 | 0.0010 | n.d | 0.0002 | 0.0014 | n.d | n.d | 0.0007 |
| BS_2_C | 0.0001 | n.d | 0.00001 | 0.0005 | 0.00003 | n.d | n.d | 0.0005 | 0.0277 | 0.0009 | 0.0002 | n.q | 0.1404 | 0.0003 | n.d | 0.0001 | n.q | n.d | n.d | 0.0002 |
| BS_2_D | 0.0002 | n.d | 0.00004 | 0.0006 | 0.0001 | n.d | n.d | 0.0005 | 0.0016 | 0.0016 | 0.0003 | 0.0001 | n.q | 0.0007 | n.d | 0.0001 | 0.0001 | n.d | n.d | 0.0003 |
| BS_2_E | 0.0003 | n.d | 0.0001 | 0.0010 | 0.0001 | n.d | n.d | 0.0022 | 0.0036 | 0.0022 | 0.0015 | 0.00005 | 0.2086 | 0.0012 | n.d | 0.0002 | 0.0001 | n.d | n.d | 0.0015 |
| BS_3_A | 0.0045 | n.d | 0.0002 | 0.0029 | 0.0003 | n.d | n.d | 0.0061 | 0.0088 | 0.0005 | 0.0003 | 0.0004 | 0.2335 | 0.0009 | n.d | 0.0015 | 0.0026 | n.d | n.d | 0.0002 |
| BS_3_B | 0.0009 | n.d | 0.0003 | 0.0053 | 0.0006 | n.d | n.d | 0.0037 | 0.0051 | 0.0054 | 0.0014 | 0.0003 | 0.4657 | 0.0016 | n.d | 0.0013 | 0.0033 | n.d | n.d | 0.0012 |
| BS_3_C | 0.0010 | n.d | 0.0004 | 0.0049 | 0.0007 | n.d | n.d | 0.0058 | 0.0045 | 0.0030 | 0.0006 | 0.0003 | 0.9746 | 0.0012 | n.d | 0.0014 | 0.0030 | n.d | n.d | 0.0008 |
| BS_3_D | 0.0011 | n.d | 0.0003 | 0.0038 | 0.0009 | n.d | n.d | 0.0507 | 0.0295 | 0.0027 | 0.0024 | 0.0007 | 1.2886 | 0.0015 | n.d | 0.0034 | 0.0032 | n.d | n.d | 0.0023 |
| BS_3_E | 0.0009 | n.d | 0.0003 | 0.0039 | 0.0011 | n.d | n.d | 0.0715 | 0.0098 | 0.0034 | 0.0035 | 0.0011 | 2.0319 | 0.0016 | n.d | 0.0049 | 0.0037 | n.d | n.d | 0.0034 |

Table SI 5. (cont). Risk quotient (RQ) of each pharmaceutical by sampling point and date. Non-data available (n.d) and not quantifiable because result was below MDL (n.q). Results between MDL and LOQ were considered for RQ calculations.

|  | Lidocaine | Norfloxacin | Ciprofloxacin | Levofloxacin | Oxytetracycline | Memantine | Fluoxetine | Megestrol | Losartan | Antipyrine | Tramadol | Amitriptyline | Venlafaxine | Prednisone | Sulfapyridine | Naproxen | Gemfibrozil | Chloroquine | Fenofibrate | Dexomethasone |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LL_1_A | 0.00002 | n.d | n.q | n.d | 0.0023 | n.d | 0.0006 | 0.0210 | 0.000004 | 0.0032 | 0.0007 | 0.0002 | 0.0003 | 0.00003 | n.d | 0.00003 | 0.0012 | 0.0044 | 0.0008 | n.q |
| LL_1_B | 0.00001 | n.d | n.q | n.d | 0.0025 | n.d | 0.0003 | 0.0341 | 0.00001 | 0.0178 | 0.0013 | 0.0007 | 0.0001 | 0.00001 | n.d | n.q | 0.0011 | 0.0093 | 0.0008 | n.q |
| LL_1_C | 0.0001 | n.d | 0.0123 | n.d | 0.0050 | n.d | 0.0003 | 0.0122 | 0.000002 | 0.0892 | 0.0014 | 0.0004 | 0.0005 | 0.00002 | n.d | n.q | 0.0016 | 0.0103 | 0.0009 | n.q |
| LL_1_D | 0.0001 | n.d | 0.0049 | n.d | 0.0034 | n.d | 0.0014 | 0.0046 | 0.00001 | 0.0243 | 0.0027 | 0.0005 | 0.0010 | 0.00001 | n.d | n.q | 0.0019 | 0.0045 | 0.0008 | n.q |
| LL_1_E | 0.0001 | n.d | 0.0039 | n.d | 0.0028 | n.d | 0.0006 | 0.0181 | 0.000003 | 0.0324 | 0.0027 | 0.0005 | 0.0010 | 0.00003 | n.d | 0.0001 | 0.0000 | 0.0028 | 0.0007 | n.q |
| LL_1_F | 0.0016 | n.d | 0.0798 | n.d | 0.0046 | n.d | 0.0003 | 0.0682 | 0.0002 | 0.0742 | 0.0126 | 0.0003 | 0.0031 | 0.00005 | n.d | 0.0009 | 0.0014 | 0.2670 | 0.0007 | n.q |
| LL_1_G | 0.0002 | n.d | 0.0401 | n.d | 0.0035 | n.d | 0.0002 | 0.0311 | 0.000001 | 0.0425 | 0.0029 | 0.0005 | 0.0010 | 0.00004 | n.d | 0.0001 | 0.0007 | 0.0021 | 0.0007 | n.q |
| LL_2_A | 0.00003 | n.d | 0.0022 | n.d | 0.0015 | n.d | 0.0002 | n.q | 0.0002 | 0.0014 | 0.0035 | 0.000002 | 0.0005 | n.q | n.d | 0.0008 | 0.0010 | 0.0001 | 0.0003 | 0.0138 |
| LL_2_B | 0.00003 | n.d | 0.0148 | n.d | 0.0012 | n.d | 0.0138 | 0.0058 | 0.0001 | 0.0053 | 0.0014 | 0.00001 | 0.0002 | n.q | n.d | 0.0003 | 0.0016 | 0.0116 | 0.0003 | 0.0113 |
| LL_2_C | 0.0001 | n.d | 0.0230 | n.d | 0.0017 | n.d | 0.0011 | 0.0039 | 0.0003 | 0.0010 | 0.0049 | 0.000002 | 0.0008 | n.q | n.d | 0.0005 | 0.0017 | 0.0002 | 0.0003 | 0.0074 |
| LL_2_D | 0.0002 | n.d | 0.0290 | n.d | 0.0007 | n.d | 0.0010 | 0.0009 | 0.0005 | 0.0168 | 0.0079 | 0.00000 | 0.0013 | n.q | n.d | 0.0005 | n.q | 0.0020 | n.q | 0.0049 |
| LL_2_E | 0.0001 | n.d | 0.0066 | n.d | 0.0007 | n.d | 0.0023 | 0.0008 | 0.0012 | 0.0055 | 0.0028 | 0.00004 | 0.0005 | n.q | n.d | 0.0009 | 0.0015 | 0.0005 | 0.0003 | 0.0084 |
| LL_2_F | 0.0018 | n.d | 0.0723 | n.d | 0.0017 | n.d | 0.0019 | 0.0122 | 0.0039 | 0.0335 | 0.0199 | 0.00001 | 0.0017 | n.q | n.d | 0.0021 | 0.0032 | 0.0011 | 0.0001 | 0.0265 |
| LL_2_G | 0.0001 | n.d | 0.0038 | n.d | 0.0001 | n.d | 0.0002 | 0.0009 | 0.0008 | 0.0103 | 0.0038 | 0.0000005 | 0.0003 | n.q | n.d | 0.0000 | 0.0014 | 0.0001 | 0.0001 | 0.0044 |
| LL_3_A | 0.00003 | n.d | 0.0000 | n.d | 0.0017 | n.d | 0.0120 | 0.0211 | 0.0002 | 0.0030 | 0.0024 | 0.00001 | 0.0005 | 0.00001 | n.d | 0.0010 | n.q | 0.0254 | 0.0003 | 0.0123 |
| LL_3_B | 0.00003 | n.d | 0.0045 | n.d | 0.0019 | n.d | 0.0004 | 0.0037 | 0.0001 | n.q | 0.0013 | n.q | 0.0003 | 0.00004 | n.d | 0.0007 | 0.0010 | 0.0093 | 0.0002 | 0.0402 |
| LL_3_C | 0.0002 | n.d | 0.0000 | n.d | 0.0021 | n.d | 0.0015 | 0.0032 | 0.0004 | 0.0055 | 0.0030 | 0.0000 | 0.0012 | n.q | n.d | 0.0009 | 0.0037 | 0.0037 | 0.0002 | 0.0352 |
| LL_3_D | 0.0003 | n.d | 0.0085 | n.d | 0.0030 | n.d | 0.0016 | 0.0037 | 0.0011 | 0.0085 | 0.0040 | n.q | 0.0014 | n.q | n.d | 0.0016 | 0.0027 | 0.0207 | 0.0004 | 0.0387 |
| LL_3_E | 0.0008 | n.d | 0.0286 | n.d | 0.0047 | n.d | 0.0010 | 0.0036 | 0.0024 | 0.0143 | 0.0078 | 0.0000 | 0.0019 | 0.0001 | n.d | 0.0044 | 0.0089 | 0.0165 | 0.0003 | 0.0349 |
| LL_3_F | 0.0013 | n.d | 0.0282 | n.d | 0.0052 | n.d | 0.0038 | 0.0036 | 0.0032 | 0.0190 | 0.0088 | 0.0000 | 0.0019 | n.q | n.d | 0.0050 | 0.0122 | 0.0075 | 0.0005 | 0.0480 |
| LL_3_G | 0.0005 | n.d | 0.0118 | n.d | n.q | n.d | 0.0012 | 0.0045 | 0.0008 | 0.0121 | 0.0047 | 0.0000 | 0.0005 | n.q | n.d | 0.0011 | 0.0042 | 0.0093 | 0.0002 | 0.0342 |
| BS_1_A | 0.0007 | n.d | n.q | n.d | 0.00003 | n.d | 0.0000 | 0.0008 | 0.0003 | 0.0001 | n.q | n.q | n.q | 0.000002 | n.d | 0.0013 | 0.0025 | 0.0074 | 0.0004 | 0.0003 |
| BS_1_B | 0.0012 | n.d | 0.0279 | n.d | 0.0018 | n.d | 0.0918 | 0.0456 | 0.0002 | 0.0009 | 0.0005 | 0.0001 | 0.0012 | 0.00001 | n.d | 0.0007 | 0.0028 | 0.0041 | 0.0002 | 0.0007 |
| BS_1_C | 0.0012 | n.d | 0.0301 | n.d | 0.0018 | n.d | 0.0866 | 0.0698 | 0.0002 | 0.0003 | 0.0004 | 0.0001 | 0.0010 | 0.00001 | n.d | 0.0012 | 0.0036 | 0.0078 | 0.0002 | 0.0008 |
| BS_1_D | 0.0011 | n.d | 0.0605 | n.d | 0.0021 | n.d | 0.0704 | 0.0752 | 0.0002 | 0.0011 | 0.0004 | 0.0001 | 0.0008 | 0.00001 | n.d | 0.0037 | 0.0038 | 0.0053 | 0.0002 | 0.0012 |
| BS_1_E | 0.0011 | n.d | 0.0650 | n.d | 0.0021 | n.d | 0.0897 | 0.1159 | 0.0002 | 0.0003 | 0.0004 | 0.0001 | 0.0009 | 0.00001 | n.d | 0.0031 | 0.0022 | 0.0019 | 0.0002 | 0.0007 |
| BS_2_A | 0.00001 | n.d | n.q | n.d | n.q | n.d | 0.0001 | n.q | n.q | n.q | 0.0001 | 0.0000 | 0.0000 | n.q | n.d | n.q | n.q | 0.0075 | n.q | n.q |
| BS_2_B | 0.0003 | n.d | 0.0794 | n.d | 0.0020 | n.d | 0.0008 | n.q | 0.0012 | 0.0092 | 0.0027 | 0.0000 | 0.0011 | 0.00001 | n.d | 0.0003 | 0.0012 | 0.0064 | 0.0001 | 0.0019 |
| BS_2_C | 0.00002 | n.d | 0.0880 | n.d | n.q | n.d | n.q | 0.0002 | 0.0002 | 0.0052 | 0.0002 | 0.0000 | 0.0000 | n.q | n.d | 0.0003 | 0.0026 | 0.0034 | 0.0001 | 0.0010 |
| BS_2_D | 0.00001 | n.d | 0.0820 | n.d | n.q | n.d | n.q | n.q | 0.0002 | 0.0055 | 0.0002 | 0.0000 | 0.0000 | n.q | n.d | 0.0005 | 0.0026 | 0.0013 | 0.0001 | 0.0024 |
| BS_2_E | 0.00002 | n.d | 0.0805 | n.d | n.q | n.d | 0.0000 | n.q | 0.0004 | 0.0053 | 0.0002 | 0.0000 | 0.0001 | n.q | n.d | 0.0039 | 0.0032 | 0.0012 | 0.0001 | 0.0114 |
| BS_3_A | 0.0001 | n.d | 0.0213 | n.d | 0.0012 | n.d | 0.0010 | n.q | 0.0005 | 0.0179 | 0.0061 | 0.0000 | 0.0024 | n.q | n.d | 0.0008 | 0.0024 | 0.0069 | 0.0003 | 0.0030 |
| BS_3_B | 0.0026 | n.d | 0.0229 | n.d | 0.0007 | n.d | 0.0042 | 0.0043 | 0.0024 | 0.0243 | 0.0133 | 0.0000 | 0.0044 | n.q | n.d | 0.0011 | 0.0178 | 0.0030 | 0.0004 | 0.0024 |
| BS_3_C | 0.0025 | n.d | 0.0303 | n.d | 0.0013 | n.d | 0.0043 | 0.0012 | 0.0019 | 0.0225 | 0.0153 | 0.0000 | 0.0049 | 0.00001 | n.d | 0.0073 | 0.0103 | 0.0061 | 0.0003 | 0.0009 |
| BS_3_D | 0.0015 | n.d | 0.0424 | n.d | 0.0022 | n.d | 0.0045 | 0.0021 | 0.0022 | 0.0242 | 0.0133 | 0.0000 | 0.0047 | 0.00002 | n.d | 0.0048 | 0.0101 | 0.0062 | 0.0003 | 0.0063 |
| BS_3_E | 0.0015 | n.d | 0.0433 | n.d | 0.0039 | n.d | 0.0049 | n.q | 0.0025 | 0.0268 | 0.0137 | 0.0000 | 0.0052 | n.q | n.d | 0.0072 | 0.0086 | 0.0052 | 0.0003 | 0.0077 |

Table SI 6. Average Risk Quotient (RQ) of each pharmaceutical by sampling point.

|  | Acetaminophen | Rasagiline | Sulfadiazina | Sulfamethoxazole | Atenolol | Cloperastine | Guanylurea | Metformin | Ibuprofen | Diclofenac | Mycophenolic acid | Levetiracetam | Amylmetacresol | Diazepam | Vildagliptin | Gabapentin | Citalopram | Topiramate | Pantoprazole | Caffeine |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LL_A (1-3) | 0.0044 | n.d | 0.0005 | 0.0007 | 0.0000 | n.d | n.d | 0.0105 | 0.0319 | 0.0001 | 0.0001 | 0.0003 | 0.0740 | 0.0002 | n.d | 0.0009 | n.d | n.d | n.d | 0.0018 |
| LL_B (1-3) | 0.0090 | n.d | 0.0005 | 0.0003 | 0.0000 | n.d | n.d | 0.0060 | 0.0296 | 0.0000 | 0.0001 | 0.0003 | 0.0043 | 0.0002 | n.d | 0.0006 | n.d | n.d | n.d | 0.0017 |
| LL_C (1-3) | 0.0054 | n.d | 0.0003 | 0.0009 | 0.0000 | n.d | n.d | 0.0082 | 0.0405 | 0.0002 | 0.0001 | 0.0004 | 0.1097 | 0.0003 | n.d | 0.0014 | n.d | n.d | n.d | 0.0016 |
| LL_D (1-3) | 0.0078 | n.d | 0.0004 | 0.0013 | 0.0001 | n.d | n.d | 0.0089 | 0.0349 | 0.0004 | 0.0005 | 0.0006 | 0.1519 | 0.0002 | n.d | 0.0020 | n.d | n.d | n.d | 0.0030 |
| LL_E (1-3) | 0.0045 | n.d | 0.0002 | 0.0012 | 0.0001 | n.d | n.d | 0.0061 | 0.0450 | 0.0007 | 0.0011 | 0.0009 | 0.4227 | 0.0012 | n.d | 0.0021 | n.d | n.d | n.d | 0.0035 |
| LL_F (1-3) | 0.0134 | n.d | 0.0003 | 0.0041 | 0.0004 | n.d | n.d | 0.0095 | 0.0693 | 0.0025 | 0.0021 | 0.0012 | 0.8046 | 0.0053 | n.d | 0.0056 | n.d | n.d | n.d | 0.0041 |
| LL_G (1-3) | 0.0129 | n.d | 0.0002 | 0.0011 | 0.0000 | n.d | n.d | 0.0021 | 0.0474 | 0.0001 | 0.0000 | 0.0002 | 0.1702 | 0.0005 | n.d | 0.0014 | n.d | n.d | n.d | 0.0013 |
| BS_A (1-3) | 0.0019 | n.d | 6.7366 | 0.0010 | 0.0001 | n.d | n.d | 0.0024 | 0.0035 | 0.0002 | 0.0001 | 0.0002 | 0.0943 | 0.0003 | n.d | 0.0005 | n.d | n.d | n.d | 0.0001 |
| BS_B (1-3) | 0.0017 | n.d | 0.0002 | 0.0033 | 0.0003 | n.d | n.d | 0.0036 | 0.0055 | 0.0026 | 0.0005 | 0.0003 | 0.2940 | 0.0022 | n.d | 0.0008 | n.d | n.d | n.d | 0.0010 |
| BS_C (1-3) | 0.0014 | n.d | 0.0002 | 0.0032 | 0.0004 | n.d | n.d | 0.0033 | 0.0113 | 0.0014 | 0.0003 | 0.0002 | 0.3786 | 0.0018 | n.d | 0.0008 | n.d | n.d | n.d | 0.0011 |
| BS_D (1-3) | 0.0008 | n.d | 0.0002 | 0.0028 | 0.0005 | n.d | n.d | 0.0187 | 0.0118 | 0.0016 | 0.0010 | 0.0008 | 0.4369 | 0.0025 | n.d | 0.0014 | n.d | n.d | n.d | 0.0016 |
| BS_E (1-3) | 0.0014 | n.d | 0.0003 | 0.0030 | 0.0007 | n.d | n.d | 0.0376 | 0.0066 | 0.0024 | 0.0017 | 0.0011 | 0.7536 | 0.0031 | n.d | 0.0020 | n.d | n.d | n.d | 0.0024 |

Table SI 6. (cont). Average Risk Quotient (RQ) of each pharmaceutical by sampling point.

|  | Lidocaine | Norfloxacin | Ciprofloxacin | Levofloxacin | Oxytetracycline | Memantine | Fluoxetine | Megestrol | Losartan | Antipyrine | Tramadol | Amitriptyline | Venlafaxine | Prednisone | Sulfapyridine | Naproxen | Gemfibrozil | Chloroquine | Fenofibrate | Dexomethasone |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LLA (1-3) | 0.00003 | n.d | 0.0007 | n.d | 0.0018 | n.d | 0.0043 | 0.0140 | 0.0001 | 0.0025 | 0.0022 | 0.0001 | 0.0004 | 0.00001 | n.d | 0.0006 | 0.0007 | 0.0100 | 0.0005 | 0.0087 |
| LLB (1-3) | 0.00002 | n.d | 0.0064 | n.d | 0.0019 | n.d | 0.0048 | 0.0145 | 0.0001 | 0.0077 | 0.0013 | 0.0002 | 0.0002 | 0.00002 | n.d | 0.0003 | 0.0012 | 0.0100 | 0.0004 | 0.0172 |
| LLC (1-3) | 0.0001 | n.d | 0.0118 | n.d | 0.0029 | n.d | 0.0010 | 0.0064 | 0.0002 | 0.0319 | 0.0031 | 0.0001 | 0.0008 | 0.00001 | n.d | 0.0004 | 0.0023 | 0.0048 | 0.0005 | 0.0142 |
| LLD (1-3) | 0.0002 | n.d | 0.0141 | n.d | 0.0024 | n.d | 0.0013 | 0.0031 | 0.0006 | 0.0165 | 0.0048 | 0.0002 | 0.0012 | 0.000004 | n.d | 0.0007 | 0.0015 | 0.0091 | 0.0004 | 0.0145 |
| LLE (1-3) | 0.0003 | n.d | 0.0130 | n.d | 0.0027 | n.d | 0.0013 | 0.0075 | 0.0012 | 0.0174 | 0.0045 | 0.0002 | 0.0011 | 0.00003 | n.d | 0.0018 | 0.0035 | 0.0066 | 0.0004 | 0.0144 |
| LLF (1-3) | 0.0016 | n.d | 0.0601 | n.d | 0.0038 | n.d | 0.0020 | 0.0280 | 0.0024 | 0.0422 | 0.0138 | 0.0001 | 0.0022 | 0.00002 | n.d | 0.0027 | 0.0056 | 0.0919 | 0.0004 | 0.0248 |
| LLG (1-3) | 0.0003 | n.d | 0.0186 | n.d | 0.0012 | n.d | 0.0005 | 0.0122 | 0.0005 | 0.0217 | 0.0038 | 0.0002 | 0.0006 | 0.00001 | n.d | 0.0004 | 0.0021 | 0.0039 | 0.0004 | 0.0129 |
| BSA (1-3) | 0.0002 | n.d | 0.0071 | n.d | 0.0004 | n.d | 0.0004 | 0.0003 | 0.0003 | 0.0060 | 0.0021 | 0.0000 | 0.0008 | 0.000001 | n.d | 0.0007 | 0.0016 | 0.0072 | 0.0002 | 0.0011 |
| BSB (1-3) | 0.0014 | n.d | 0.0434 | n.d | 0.0015 | n.d | 0.0323 | 0.0166 | 0.0013 | 0.0115 | 0.0055 | 0.0000 | 0.0022 | 0.000005 | n.d | 0.0007 | 0.0073 | 0.0045 | 0.0002 | 0.0017 |
| BSC (1-3) | 0.0012 | n.d | 0.0495 | n.d | 0.0010 | n.d | 0.0303 | 0.0237 | 0.0008 | 0.0094 | 0.0053 | 0.0000 | 0.0020 | 0.00001 | n.d | 0.0029 | 0.0055 | 0.0058 | 0.0002 | 0.0009 |
| BSD (1-3) | 0.0009 | n.d | 0.0616 | n.d | 0.0014 | n.d | 0.0250 | 0.0258 | 0.0009 | 0.0103 | 0.0047 | 0.0000 | 0.0019 | 0.00001 | n.d | 0.0030 | 0.0055 | 0.0043 | 0.0002 | 0.0033 |
| BSE (1-3) | 0.0009 | n.d | 0.0629 | n.d | 0.0020 | n.d | 0.0315 | 0.0386 | 0.0010 | 0.0108 | 0.0048 | 0.0000 | 0.0020 | 0.00000 | n.d | 0.0047 | 0.0047 | 0.0027 | 0.0002 | 0.0066 |

References

Gómez-Canela C, Edo S, Rodríguez N, et al (2021) Comprehensive characterization of 76 pharmaceuticals and metabolites in wastewater by lc-ms/ms. Chemosensors 9:1–19. https://doi.org/10.3390/chemosensors9100273