Supporting information

A simple and rapid diagnostic method for 13 types of High risk human papillomavirus (HR-HPVs) detection using CRISPR-Cas12a technology

Jiaojiao Gong1#, Guanghui Zhang2#, Wangguo Wang3, Liping Liang2, Qianyun Li4, Liang Xue1*, Guanghui Tang1*

1 Yaneng Biotech, Co., Ltd, Fosun Pharma, Shenzhen, China.

2 Clinical laboratory, Shen zhen hengsheng hospital, Shenzhen, China.

3 Department of infectious diseases, the Second People's Hospital of Shangrao, Jiangxi Province, Shangrao, China.

4 Department of Neurology, Hwa Mei Hospital, University of Chinese Academy of Sciences, Ningbo, China.

# These authors contributed equally to this work.

* Corresponding Authors: * tangguanghui@yanengbio.com (GT);

* xueliang@yanengbio.com (LX)

Materials and methods

Figure S1. Detection of 13 types of HR-HPVs using conventinal RPA primer pool

Figure S2. Evaluation of SPF primer pool

Figure S3. Evaluation of the GP5/GP6 primer pool

Figure S4. Primer titration for the detection of HPV16

Figure S5. Evaluation of the RPA-only method for HPV 16 detection

Figure S6. Evaluation of the Cas12a-only method

Table S1. Conventional RPA primer pool

Table S2. SPF primer pool

Table S3. Enhanced PGMY/GP6+ primer pool

Table S4. crRNA pool and reporter used in this study

Table S5. Probes used for RPA-only detection

Materials and methods

Nucleic acid preparation

The plasmid DNA containing full length HPV was extracted with a commercial kit (Tiangen, Wuxi, China) and the concentration was quantified using a spectrophotometer (Thermo Fisher, NJ, USA). The copy number of the plasmid was calculated by the following equation: DNA copy number = (M × 6.022 × 1023)/(n ×1x109 x 650), where M is the amount of DNA in nanograms, n is the length of the plasmid in base pair, and the average weight of a base pair is assumed to be 650 Daltons.

Primer pools

The conventional RPA primer pool contained 26 pirmers in equimolar quantity (2M for each, the sequences are shown in Table S1). The SPF primer pool is comprised of 3 primers (SPF1A, SPF1B, and SPF2D, shown in Table S2). As with the primer pool of PGMY/GP6+, a total of 6 primers were mixed at the concentration of 5 M for each. The enhanced PGMY/GP6+ primer pool were made by supplementing additional 4 primers into the PGMY/GP6+ primer pool (Table S3).

RPA reactions

RPA reactions were performed using a commercially available kit (Amp-Future, Weifang, China) according to the manufacturer’s protocol. Briefly, the reactions were performed at 37°C for 30 minutes in a total volume of 12.5 µL comprising RPA enzymes, 1 µL of DNA input containing the indicated copy number of HPV and 100 ng of genomic DNA from C33A cells, 1× rehydration buffer, 14 mM magnesium acetate and 0.5 µL of each primer (10 M) for the singleplex amplification, or 1 µL of the mixed primers (each at 5 M) for the multiplex detection. As with the RPA-only detection, additional 120 nM probe specific for HPV16 was supplemented into the reactions.

Cas12a detection reactions

The RPA product (10 µL) was transfered to 40 µL of the CRISPR-Cas12a reaction mixture containing 100 nM crRNA (Sangon Biotech, Shanghai, China), 50 nM Cas12a (NEB, Ipswich, UK) and 250 nM ssDNA reporter (Sangon Biotech, Shanghai, China). Then, the reactions (50 µL in a PCR tube) were incubated in a fluorescence plate reader (Molecular Devices, California, USA) or a Real Time PCR Detection System (Bio-Rad, Watford, UK) for up to 60 minutes at 37°C with fluorescent signals collected every 30 s (ssDNA FQ substrates = λex: 485 nm; λem: 535 nm).

crRNAs validation

A total of 11 crRNAs targeting the L1 region of HPVs were mixed in equimolar quantity each with the concentration of 50 nM, and this mixture was supplemented with 200 nM of the Cas12a enzyme. The sequences of all crRNAs were shown in Table S4. The solution was tested using 5 g of the HPV plasmid in a reaction containing 20 L of the solution and 5 L of the plasmid.

Analytical specificity analysis

The specificity of the assay was evaluated by testing DNAs from other HPV types (HPV6, 11, 26, 44, 54, 55, 61, 67, 70), and other common vaginal pathogens (chlamydia trachomatis, mycoplasma hominis, trichomonas vaginalis, treponema pallidum, Streptococcus pyogenes, herpes simplex virus). For each reaction, 10000 copies of the sythetic DNA were used.

Conflict of interest

I have read the journal's policy and the authors of this manuscript have the following competing interests: GT and LX are technical directors of the department of R&D in Yaneng Biotech, Co., Ltd, and receive research funding from this company. JG is an employee of Yaneng Biotech, Co., Ltd.

Figure S1. Detection of 13 types of HR-HPVs using conventinal RPA primer pool

Representative plot of fluorescence intensity versus time for Cas12a detection of the HPVs. The RPA reaction was performed at 37°C for 20 min using the conventinal RPA primer pool, and followed by the Cas12a cleavage assay at 37°C in a reaction containing 10 μL of the RPA amplicon and 40 μL of the Cas12a solution.

Figure S2. Evaluation of SPF primer pool

The SPF primer pool was tested using 10 ng of genomic DNA extracted from Siha cells which are positive for HPV16. The RPA reaction was conducted at 37°C for 20 min and followed by Cas12a detection at 37°C for up to 60 minutes. The positive Cas12a reaction was performed using 5 g of the HPV16 plasmid. ABD: SPF1A, SPF1B and SPF2D; PC, positive control; NTC, no-template control.

Figure S3. Evaluation of the GP5/GP6 primer pool

Six types of HR-HPVs were amplified using 10000 copies of plasmid for each RPA reaction. The RPA reaction was conducted at 37°C for 20 min and followed by Cas12a detection at 37°C for up to 60 minutes.

Figure S4. Primer titration for the detection of HPV16

The RPA was performed in a reaction with the indicated concentration of the enhanced PGMY/GP6+ primer set. Each reaction contained 10000 copies of plasmid for HPV16 detection. NTC, no-template control.

Figure S5. Evaluation of the RPA-only method for HPV 16 detection

The RPA-only detection was performed in a reaction with the indicated copy number of HPV16 plasmid. The primer pool of enhanced PGMY/GP6+ was used for the evaluation. NTC, no-template control.

Figure S6. Evaluation of the Cas12a-only method

The fluorecence kinetics displaying the only Cas12a detection using the indicated amount of plasmid for HPV16. A reaction in a total volume of 25 L containing 5 L plasmid and 20 L Cas12a solution was performed at 37°C for up to 60 minutes. NTC, no-template control.

Table S1. Conventional RPA primer pool

| Oligo name | Sequence(5'-3') |
| --- | --- |
| RPApri-H16L1-F | GGTTACAACGAGCACAGGGCCACAATAATGGCA |
| RPApri-H16L1-R | CCCATGTCGTAGGTACTCCTTAAAGTTAGTATTTT |
| RPApri-H18L1-F | AATTATTTGTTACTGTGGTAGATACCACTCGCAG |
| RPApri-H18L1-R | CACAACTGAAAAATAAACTGCAAATCATATTCCTC |
| RPApri-H31L1-F | TTTCCTACACCTAGCGGCTCCATGGTTACT |
| RPApri-H31L1-R | GCAGCACACACAGACATATTGGTACTACGTGT |
| RPApri-H33L1-F | ACATTGCAGGCTAATAAAAGTGATGTTCCTAT |
| RPApri-H33L1-R | CCCTATTAAAAAAGTGTCTTACAAACATTTG |
| RPApri-H35L1-F | TTTCCTACTCCTAGTGGCTCTATGGTAACC |
| RPApri-H35L1-R | GCAGAACACACAGACATATTTGTACTACGGGT |
| RPApri-H39L1-F | AGGATGGTGATATGATTGATACTGGCTATGG |
| RPApri-H39L1-R | TGTTCCCTACGTAAACAGAAGAACATACTG |
| RPApri-H45L1-F | TAAACAGGCTGTTCCTAAGGTATCCGCATATCA |
| RPApri-H45L1-R | TCATCCAATTTATTATAAAATGGATGGCCACT |
| RPApri-H51L1-F | TGCTACTCCCAGTGGGTCTATGATAACATC |
| RPApri-H51L1-R | AAAAAGCTGATTGTTCCAGCAAATGCCATT |
| RPApri-H52L1-F | TCAGGAAATCCTGGGGATTGTCCTCCCCTACAAC |
| RPApri-H52L1-R | CATATGGCTCGCTAGCCATTTGCAAATAATCTG |
| RPApri-H56L1-F | CCTCCTAGTTCTGTATATGTTGCTACGCCTAGTG |
| RPApri-H56L1-R | ACTACAGTAACAAATAATTGATTACCCCAGCA |
| RPApri-H58L1-F | ACATTGCAGGCTAATAAAAGTGATGTGCCTAT |
| RPApri-H58L1-R | CCCTATTAAAAAAGTGTCTAACAAACATTTG |
| RPApri-H59L1-F | TAGACAGGATGTTCCTAAGGTGTCTGCATATCA |
| RPApri-H59L1-R | TCATCCAATTTATTATAGAATGGATGACCACT |
| RPApri-H66L1-F | CCTCCCAGTTCTGTATATGTTGCTACTCCTAGTG |
| RPApri-H66L1-R | ACAACAGTAACAAATACCTGATTACCCCAGCA |

Table S2. SPF primer pool

| Oligo name | Sequence(5'-3') |
| --- | --- |
| SPF1A | GCiCAGGGiCACAATAATGG |
| SPF1B | GCiCAGGGiCATAACAATGG |
| SPF2D | GTiGTATCiACTACAGTAACAAA |

i, inosine

Table S3. Enhanced PGMY/GP6+ primer pool

| Oligo name | Sequence(5'-3') |
| --- | --- |
| PGMY11-A | GCACAGGGACATAACAATGG |
| PGMY11-B | GCGCAGGGCCACAATAATGG |
| Modified PGMY11-C | GCACAAGGCCATAATAATGG |
| PGMY11-D | GCCCAGGGCCACAACAATGG |
| PGMY11-E | GCTCAGGGTTTAAACAATGG |
| GP6+ | GAAAAATAAACTGTAAATCATATTC |
| Modified PG6+ for H31, H39 | GAAATATAAATTGTAAATCAAACTC |
| Modified PG6+ for H51 | GAAAAATAAATTGCAATTCATACTC |
| Modified PG6+ for H56 | GAAAAACAAATTGTAATTCATATTC |
| Modified PG6+ for H59, H68 | GAAATATAAACTGCAAATCATATTC |

Table S4. crRNA pool and reporter used in this study

| Oligo name | Sequence(5'-3') |
| --- | --- |
| H16-L1-crRNA7 | UAAUUUCUACUAAGUGUAGAUuuacuguuguugauacu |
| H18/31/33-L1-crRNA | UAAUUUCUACUAAGUGUAGAUuuacugugguagauacc |
| H35-L1-crRNA2 | UAAUUUCUACUAAGUGUAGAUuuacuguaguugauaca |
| H39-L1-crRNA5 | UAAUUUCUACUAAGUGUAGAUaggaauauaccaggcacgugg |
| H45-L1-crRNA3 | UAAUUUCUACUAAGUGUAGAUagcaguauaguagacaugugg |
| H51-L1-crRNA3 | UAAUUUCUACUAAGUGUAGAUuuaccuguguugauacuaccag |
| H52-L1-crRNA4 | UAAUUUCUACUAAGUGUAGAUaggaauaccuucgucauggcg |
| H56-L1-crRNA5 | UAAUUUCUACUAAGUGUAGAUgugcaucauauuuacuuaacug |
| H58-L1-crRNA3 | UAAUUUCUACUAAGUGUAGAUaggaauauguacgucauguug |
| H59-L1-crRNA3 | UAAUUUCUACUAAGUGUAGAUacaguuguagauacuac |
| H68-L1-crRNA4 | UAAUUUCUACUAAGUGUAGAUaggaauauguuaggcauguuga |
| ssDNA FQ reporter | FAM-CCCCCC-BHQ1 |

Table S5. Probes used for RPA-only detection

| Oligo name | Sequence(5'-3') | Description |
| --- | --- | --- |
| HPV16-Probe | GCAGTACAAATATGTCATTATGTGCTGCCAdT-FAM A H C dT-BHQ1ACTTCAGAAACTACA-C3 spacer | H, tetrahydrofuran |