Additional File 4

Laboratory Tests to be done in the study

Heavy metal analysis from filter papers: Energy-dispersive X-ray fluorescence (EDXRF)--based analysis of trace elements will be done on a subset of filter papers which will be outsourced. The concentration of relevant heavy metals identified through EDXRF analysis will then be assessed in the filter papers collected from both study cities as per the hot-acid digestion method given by the United States Environmental Protection Agency (USEPA). [1] Briefly, the filter papers will be digested using 15 mL hydrogen chloride and nitric acid mixture (3:1). The digested samples will be cooled and diluted as per protocol and then analysis of the concentration of the heavy metals will be carried out on Inductively Coupled Plasma Optical Emission Spectroscopy (ICP-OES) (iCAP® 7400 Duo ICP-OES, ThermoFisher Scientific® Pvt Ltd) system as per established protocols.

Blood heavy metal analysis: Blood samples will be acid-digested in a microwave oven (Anton Paar) using a mixture of concentrated trace metal grade nitric acid and hydrogen peroxide in a ratio of 2:1 (v/v). Digested samples will be cooled to room temperature and diluted to 30 mL with distilled water. Analysis of metals in the digested blood samples will be carried out on the ICP-OES system available in the institute as per established protocols.

Reference:

1. USEPA. Compendium of methods for the determination of inorganic compounds in ambient air. Compendium of Method IO-3.2, EPA/625/R-96/010a. 1999.