Table 1

| Author | Study population | Device | Length of intervention | Outcomes | Key findings |
| --- | --- | --- | --- | --- | --- |
| Howell et al. (2005) | 19 medical students, 17 non-medical students | PHANToM Haptic Device | Experiment 1 (E1): 5 times over 2 years Experiment 2 (E2): 3 times over 1 year | E1A: Time to task completion: stiffness (medium difficulty) E1B: Time to task completion: position (medium difficulty) E2A: Time to task completion: stiffness (3 levels of difficulty) E2B: Time to task completion: position (3 levels of difficulty) Subjective questionnaire for realism, ease of use and usefulness | Users completed stiffness task faster over time (approx. 50% reduction in time to completion) No convincing improvement in time to completion for position for medium difficulty Learning/improvement evident for medium task difficulty, not for low/high stiffness No convincing improvement in time to completion for position for three difficulties Experiment 2 rated more highly in realism than ex 1, medical students rated it lower in realism. Experiment 2 rated more highly in ease of use Majority of participants vote “Yes” for usefulness of both experiments |
| Howell et al. (2008a) | 21 Osteopathic medical students | PHANToM Haptic Device | 8 sessions over 2 weeks | Palpation stiffness Palpation speed | Significant improvement in detection of abnormal region at levels 7, 8 and 9 (Weber fractions of 0.21, 0.10 and 0.06 respectively) Significant reduction in time to task completion at levels 5-9.5. |
| Howell et al. (2008b) | 89 Osteopathic medical students | PHANToM Haptic Device | 6 sessions over 2 weeks | Palpation stiffness Palpation speed | Mean reduction in detection of abnormal region by a Weber fraction of 0.14 (reduced from 0.28 to 0.14) Mean time to locate abnormality reduced by 22s (reduced from 39s to 17s) |
| Karadogan et al. (2010) | 13 Osteopathic medical students | PHANToM Haptic Device | 4 sessions over 2 weeks | Palpation stiffness Palpation speed | Participants identified four standard stiffness values: 0.25, 0.5, 1.0 and 1.25 N/mm at Weber fractions of 0.2, 0.27, 0.26 and 0.3. Users with device experience showed smaller mean Weber fractions. Positive correlation (r=0.65) between palpation speed and higher Weber fractions |
| Karadogan et al. (2013) | 22 Osteopathic medical students | PHANToM Haptic Device | 1 session | User evaluation questionnaire | 90.9% of participants answered “Yes” or “Maybe” when asked if they would use the modules in the future. |
| Kim et al. (2007) | 20 subjects | PHANToM Haptic Device | 1 session | Palpatory detection of tumour (accuracy) | 100% of users located 3 of 4 tumours. 80% of users located 4 out 4 tumours |
| Kim et al. (2015) | 16 subjects | PHANToM Haptic Device | 1 session | User evaluation questionnaire | Pooled mean score of 8.3 (SD 0.74) out of 10 on evaluation of stable and realistic palpation simulation. |
| Kuroda et al. (2005) | 15 medical students | PHANToM Haptic Device | 1 session | Palpation accuracy | 71.6% of medical students correctly identified the harder prostate simulation. |
| William et al. (2004) | 20 subjects | PHANToM Haptic Device | 7 trials over 1 session | Palpation errors | Repeat exposure to haptic palpation module reduced palpation errors of participants. |