Supplementary Material – Narrative summary of keratoconus (KC) definitions used, AI algorithm details and key findings.

| Study | KC progression definition | Details of AI algorithm used | Key findings |
| --- | --- | --- | --- |
| Jimenez-Garcia 2021 | 6 parameters: age, average keratometry in 3mm area around max keratometry, steepest radius, best fit sphere over area 8mm of front surface (BFSF), average radius of back surface, LOGIK “Suspect progression”= If any of 5 parameters (excluding age) outside of 95% CI of baseline value in direction of progression. “Stable”= within 95% CI of baseline value | - Uses 6 parameters. - Triplets of examinations where baseline and 1st follow-up data used to predict 2nd follow-up. | - Insufficient findings to decide surgical procedure indicated (e.g. CXL) but model may help to customise timing of patient next follow-up. - Modest sensitivity and specificity but insufficient to decide if surgical procedure e.g. CXL indicated - PPV 71.4% and NPV 80.2%, may be useful to personalise follow-up visits including earlier visits for suspect progression and delayed timing for those predicted as stable. - Limited ability to predict due to insufficient high-quality data |
| Kamiya 2021 | >1.0 Diopter (D) increase in. maximum anterior curvature on corneal tomography or worsened corrected VA AND >1D increase in astigmatism - output 0.00 = non progressive, 1.00 = progressive. Value of 0.50+ = "Progressive" - age adjusted = 4 age groups <20, 20-30, 30-40, 40+) | - 218 AS-OCT image sets split into k-fold cross validation - Uses Xception architecture for neural network model - Learning model made of each of 6 image types = 6 classifiers, rated from 0 (non-progressive) to 1 (progressive). - Algorithm adjusted by classifier output and age. | - Can effectively discriminate presence or absence of disease progression at 85% accuracy. - External validation with another KC population necessary to assure authenticity |
| Kato 2020 | >1.0 Diopter in steepest keratometry measurement ≥1D increase in manifest cylinder ≥ 0.50D increase in manifest refraction spherical equivalent in 12 months | - K1 subsample used for training after data augmentation - Used Visual Geometry Group-16 (VGG-16) architecture for neural network - 5 convolutional blocks. Pooling layer passed then compressed - Final connected layer connected with activation function Softmax to evaluate probability of each class - Optimisation momentum stochastic gradient descent algorithm as optimiser | - Neural networks can predict need for CXL for KC progression from corneal tomography maps, combined with age in, approximately 80% |
| Reddy 2022 | >1.0 diopter change in flatness or steepness (labelled "KP = keratoplastic progression") between FIRST visit and any q3monthly visits | - Data prepared with noise reduction using computer vision techniques - One AI model for each of 4 overall maps of Sagittal Curvature (SG), posterior elevation (PE), anterior elevation (AE), and corneal thickness (CT). - Two models where one greater than 6 months, and one lesser than 6 months = 8 models total - Added convolution filter - LP prediction model is the combination of prediction models for each SG, PE, AE, and CT. | - CNN can avoid biased feature selection from tomography images when predicting KC progression - KC progression can be predicted using single shiempflug tomographer - Progression can be detected earlier than changes in keratometry - Future comparisons between DL-CNN and other parameters for progression (e.g. KMax and ABCD grading system) needed |
| Shetty 2021 | increase in Kmax by A = 0.75 diopters [D], B = 1.00 D, and C = 1.25 D | - Pentacam parameters exported from each measurement - Any magnitude increase in the specified parameters suggest progression. - 3 different groups of progression and non-progression based on Kmax values ranging 0.75 -1.25D - Top 10 parameters from each model were evaluated | - AI can differentiate local vs global cornea changes where global may be preferential for CXL based on corneal tomography - Limitations include: Asian-Indian population, repeatability of Kmax in KC eyes, no inclusion of measures of inflammation change as parameter in model |
| Yousefi 2020 | Likelihood of future keratoplasty = (no. of eyes w post-op KP)/ (total no. eyes) per cluster Individualised for PKP, LKP, DSAEK, DMEK | - Principal Component Analysis (PCA) to linear transform data analysis to low-dimensional space - t-distributed stochastic neighbour embedded for non-linear transformation, to reduce number of features - Mapped tSNE on a 2D map - 2D map input into unsupervised machine learning classifier - Density-based clustering (identify neighbours of every sample, samples with greater than X number of neighbours were marked) - Pairs of clusters examined for statistically significant parameters - Baseline parameters mapped on 2D map | - AI can help identify pts at higher risk of future keratoplasty using comprehensive corneal shape, thickness, elevation parameters. - Future need for independent datasets for external validation |