supplementary materials

Table S1. The operating parameters for ICP-MS

| ICP-MS conditions |  |
| --- | --- |
| Plasma RF power | 1550 W |
| Plasma gas flow rate | 15.0 L/min |
| Carrier gas flow rate | 1.05 L/min |
| Auxiliary gas flow rate | 0.90 L/min |
| Collision cell gas and flow rate | He, 3.9 mL/min |
| Monitored ion (Dwell time) | 7Li, 24Mg, 27Al, 44Ca, 47Ti, 51V, 53Cr, 55Mn, 56Fe, 59Co, 60Ni, 63Cu, 66Zn, 75As, 78Se, 88Sr, 111Cd, 118Sn, 121Sb 137Ba, 207Pb |
| Dwell time | 0.3 s (As 0.5 s, Pb 0.1 s) |

Table S2. The VIP values of each element in OPLS-DA model.

| elements | VIP values |
| --- | --- |
| Li | 2.508 |
| Pb | 1.872 |
| Ba | 1.564 |
| Ni | 1.509 |
| Fe | 1.365 |
| Al | 1.082 |
| Sb | 1.043 |
| B | 0.702 |
| Zn | 0.610 |
| Sn | 0.570 |
| Ti | 0.528 |
| Mn | 0.509 |
| Se | 0.409 |
| Sr | 0.341 |
| Cd | 0.321 |
| Cr | 0.276 |
| V | 0.273 |
| As | 0.251 |
| Ca | 0.115 |
| Cu | 0.106 |
| Co | 0.106 |

Note: The variables with a VIP ≥ 1 were considered to be more relevant for sample classification.

Figure S1. (A) Correlation coefficient matrix of the healthy group; (B) Correlation coefficient matrix of the CAD group. Spearman’s rank correlation analysis was implemented to explore correlations between each ion pair.