Supplementary Material

Flexible electrochemical paper-based device for detection of breast cancer-derived exosome using nickel nanofoam 3D nanocomposite

Nafiseh Sahraeia,b, Mohammad Mazloum-Ardakani a,*, Alireza Moradib, Farzaneh Hoseynidokht a

a Department of Chemistry, Faculty of Science, Yazd University, Yazd, Iran

b Pharmaceutical Science Research Center and Faculty of Pharmacy, Shahid Sadoughi University of Medical Sciences, Yazd, Iran

E-Mail: mazloum@yazd.ac.ir

Figure S1:  The cyclic voltammograms  of carbon ink at different scan rates,  Variation of Ipa and Ipc vs. ʋ1/2 (insert), in solution of 5.0 mM [Fe(CN)6]3- /4- .

Figure S2: The cyclic voltammograms of Exo-sensing paper with modifier of AuNPs@rGO/Nickel nanofoam at different scan rates and variation of Ipa and Ipc vs. ʋ1/2(insert), in solution of 5.0 mM [Fe(CN)6]3- /4- .

Figure S3: Effect of different concentration of modifier on DPV responses of Exo-sensing paper. The error bars show the standard deviation for n = 3.

Figure S4: Effect of different time immobilization of antibody on surface Exo-sensing paper. The error bars show the standard deviation for n = 3.

Figure S5: Effect of different antibody concentration on DPV responses of Exo-sensing paper. The error bars show the standard deviation for n = 3.

Figure S6: The obtained results from human serum without exosome (red line) and phosphate buffer solution (black line) by Exo-sensing paper.

Figure S7: Stability of Exo-sensing paper ater 14 days.

Figure S1

Figure S2

Figure S3

Figure S4

Figure S5

Figure S6

Figure S7